## Slide 1
Defining Solar Regions
In ERCOT
ROS
Sean Chang
Sandip Sharma
Operations Planning
March 7, 2019

## Slide 2: Objective
Similar to how ERCOT has defined wind regions, seek to understand solar irradiance and variability in Texas
ERCOT worked with solar forecasting vendor to group regions in Texas by similar irradiance and variability patterns
Define solar regions

## Slide 3: Utility Scale Solar Generation Capacity – January 2019
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Cumulative MW Installed | 15 | 42 | 82 | 121 | 193 | 287.7 | 556 | 1000 | 1719 | 1719 | 1719 | 1719
IA Signed-Financial Security Posted | 1232 | 2162 | 2657
IA Signed-No Financial Security | 794 | 2441 | 2441
Cumulative Installed and Planned | 15 | 42 | 82 | 121 | 193 | 287.7 | 556 | 1000 | 1719 | 3745 | 6322 | 6817
The data presented here is based upon the latest registration data provided to ERCOT by the resource owners and can change without notice. Any capacity changes will be reflected in current and subsequent years' totals. Scheduling delays will also be reflected in the planned projects as that information is received. This chart reflects planned units in the calendar year of submission rather than installations by peak of year shown.
As of January 31, 2019

## Slide 4: Proposed Solar Regions
Zone 1
Zone 2
Zone 3
Zone 4
Zone 5
Zone 6
Notes: Includes only installed capacity

## Slide 5: Proposed Solar Regions – Current Installed Capacity
Notes: Includes only installed capacity

## Slide 6: Proposed Solar Regions – IA Signed through 2021
Notes: Includes both installed capacity and resource with a signed IA