Initial List of Discussion Topics for an Energy Storage Workshop

This is not meant to be an exhaustive list, but rather a starting point to show the range of energy storage issues and to foster discussion

Resource/Technology Definitions

- New resource category

  - What technologies are included

- How to address hybrid units

  - AC-coupled

  - DC-coupled

Operations

- Communication of Resource Status and Resource Owner’s desired Operational Constraints

  - Non-physical operational resource limitations

- Reliability Requirements

  - Frequency and Low/High-voltage Ride Through

  - Reactive Support (during charging, discharging, or no activity)

  - Frequency Response

  - Limitations on recharging

  - AS qualification and testing (consideration of state of charge)

  - Compliance metrics

- PRC contribution (consideration of state of charge)

- Outage evaluation studies and Study Network Apps (consideration of state of charge)

- State Estimator

Market

- Overview of proposed Storage Resource model for providing energy and Ancillary Services in Day-Ahead and Real-Time Markets considering device limits (Min and Max State of Charge)

- AS provision from Storage Resource (consideration of state of charge)

- ORDC Reserve contribution from Storage Resource (Online and Off-line)

- Storage Resource bids and offers

  - Maintaining a monotonically non-decreasing curve from charging (bid to buy) to discharging (offer to sell)

  - Offer mitigation

- Storage Resource modeling in RUC process (how to manage State of Charge over the RUC study period)

- Should ERCOT management of State of Charge be an option

- Storage Resource submission time-lines for bids/offers

- COP Changes to support new data items related to State of Charge for Storage Resource

Initial List of Discussion Topics for an Energy Storage Workshop (Page 2)

ERCOT Systems

- RIOO/Registration

- NMMS (include modeling changes)

- EMS

- MMS

Settlements

- Wholesale Storage Load treatment

- Price settlement for charging and discharging

- Metering requirements

Planning

- Assumptions for capacity reporting

- Modeling requirements and assumptions for Transmission Planning Studies

  - Reliability Studies

  - Economic Studies

Reporting