## Slide 1
Reporting on Statistics for
EPS Meter Activity
March 13, 2019

## Slide 2: Notices issued August through November 2018
 | August | September | October | November
Total Notices Issued | 181 | 213 | 337 | 291
Total 6 Hours issued | 9 | 52 | 79 | 109
Total 12 Hours issued | 109 | 83 | 154 | 91
Total 5 days issued | 63 | 78 | 104 | 91
Total Notices Issued for IP | 42 | 2 | 18 | 18
Total Notices Issued for Phone Line | 139 | 211 | 319 | 273
*Indicates sorted by this column in lowest to highest order
TDSP | % of Meters on PHONE LINE | % of Meters on TCP/IP | % of Total Notices Issued for August | % of Total Notices Issued for September | % of Total Notices Issued for October | % of Total Notices Issued for November*
TDSP O | 0% | 100% | 0.00% | 0.00% | 0.30% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP K | 73% | 27% | 0.00% | 1.88% | 3.26% | 0.00%
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.00% | 0.30% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP G | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP D | 53% | 47% | 0.00% | 0.47% | 1.48% | 0.00%
TDSP F | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP L | 100% | 0% | 0.55% | 0.00% | 0.30% | 0.34%
TDSP B | 0% | 100% | 3.31% | 0.00% | 0.89% | 0.34%
TDSP I | 61% | 39% | 1.66% | 1.41% | 2.37% | 0.34%
TDSP C | 0% | 100% | 0.00% | 0.00% | 1.19% | 1.03%
TDSP H | 100% | 0% | 4.97% | 2.82% | 0.30% | 1.72%
TDSP Q | 100% | 0% | 7.18% | 6.10% | 8.01% | 2.41%
TDSP M | 100% | 0% | 2.21% | 6.10% | 4.15% | 3.09%
TDSP R | 88% | 12% | 6.08% | 14.08% | 11.87% | 5.84%
TDSP N | 75% | 25% | 2.76% | 12.21% | 10.09% | 8.59%
TDSP E | 100% | 0% | 8.84% | 11.27% | 8.01% | 36.77%
TDSP P | 76% | 24% | 62.43% | 43.66% | 47.48% | 39.52%

## Slide 3: Notices issued December 2018 through February 2019
 | December | January | February
Total Notices Issued | 278 | 270 | 225
Total 6 Hours issued | 40 | 32 | 66
Total 12 Hours issued | 116 | 144 | 97
Total 5 days issued | 122 | 94 | 62
Total Notices Issued for IP | 4 | 9 | 40
Total Notices Issued for Phone Line | 274 | 261 | 185
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % of Total Notices Issued for December | % of Total Notices Issued for January | % of Total Notices Issued for February*
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP F | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP K | 73% | 27% | 0.00% | 0.00% | 0.00%
TDSP O | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP L | 100% | 0% | 0.37% | 0.00% | 0.00%
TDSP B | 0% | 100% | 0.75% | 0.00% | 0.00%
TDSP V | 0% | 100% | 14.93% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.35% | 0.00%
TDSP C | 0% | 100% | 0.00% | 2.80% | 0.00%
TDSP D | 53% | 47% | 0.00% | 0.00% | 0.60%
TDSP G | 0% | 100% | 0.00% | 0.00% | 1.19%
TDSP Q | 100% | 0% | 3.36% | 0.70% | 2.98%
TDSP M | 100% | 0% | 14.55% | 2.45% | 3.57%
TDSP I | 61% | 39% | 0.00% | 3.15% | 4.17%
TDSP H | 100% | 0% | 10.82% | 4.90% | 5.36%
TDSP R | 88% | 12% | 10.82% | 6.29% | 10.71%
TDSP N | 75% | 25% | 10.82% | 5.94% | 12.50%
TDSP E | 100% | 0% | 7.84% | 45.45% | 19.05%
TDSP P | 76% | 24% | 25.75% | 27.97% | 39.88%

## Slide 4: 2018 Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 268 | 50 | 18.66%
 | 12-hour | 383 | 75 | 19.58%
 | 5-day | 257 | 15 | 5.84%
 | Total | 908 | 140 | 15.42%
February | 6-hour | 78 | 16 | 20.51%
 | 12-hour | 219 | 36 | 16.44%
 | 5-day | 243 | 16 | 6.58%
 | Total | 540 | 68 | 12.59%
March | 6-hour | 54 | 9 | 16.67%
 | 12-hour | 134 | 21 | 15.67%
 | 5-day | 196 | 5 | 2.55%
 | Total | 384 | 35 | 9.11%
April | 6-hour | 75 | 12 | 16.00%
 | 12-hour | 61 | 11 | 18.03%
 | 5-day | 98 | 3 | 3.06%
 | Total | 234 | 26 | 11.11%
May | 6-hour | 40 | 21 | 52.50%
 | 12-hour | 116 | 25 | 21.55%
 | 5-day | 122 | 8 | 6.56%
 | Total | 278 | 54 | 19.42%
June | 6-hour | 32 | 16 | 50.00%
 | 12-hour | 144 | 24 | 16.67%
 | 5-day | 94 | 5 | 5.32%
 | Total | 270 | 45 | 16.67%
July | 6-hour | 66 | 52 | 78.79%
 | 12-hour | 97 | 20 | 20.62%
 | 5-day | 62 | 4 | 6.45%
 | Total | 225 | 76 | 33.78%
 |  | Issued | Overdue | % Overdue
August | 6-hour | 9 | 2 | 22.22%
 | 12-hour | 109 | 18 | 16.51%
 | 5-day | 63 | 1 | 1.59%
 | Total | 181 | 21 | 11.60%
September | 6-hour | 52 | 37 | 71.15%
 | 12-hour | 83 | 26 | 31.33%
 | 5-day | 78 | 0 | 0.00%
 | Total | 213 | 63 | 29.58%
October | 6-hour | 79 | 61 | 77.22%
 | 12-hour | 154 | 65 | 42.21%
 | 5-day | 104 | 8 | 7.69%
 | Total | 337 | 134 | 39.76%
November | 6-hour | 109 | 75 | 68.81%
 | 12-hour | 91 | 25 | 27.47%
 | 5-day | 91 | 16 | 17.58%
 | Total | 291 | 116 | 39.86%
December | 6-hour | 35 | 24 | 68.57%
 | 12-hour | 89 | 31 | 34.83%
 | 5-day | 144 | 7 | 4.86%
 | Total | 268 | 62 | 23.13%
2018 Total | 6-hour | 914 | 684 | 74.84%
 | 12-hour | 1680 | 551 | 32.80%
 | 5-day | 1557 | 103 | 6.62%
 | Total | 4151 | 1338 | 32.23%

## Slide 5: 2019 Year to Date Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 44 | 37 | 84.09%
 | 12-hour | 149 | 76 | 51.01%
 | 5-day | 93 | 16 | 17.20%
 | Total | 286 | 129 | 45.10%
February | 6-hour | 40 | 27 | 67.50%
 | 12-hour | 86 | 15 | 17.44%
 | 5-day | 42 | 5 | 11.90%
 | Total | 168 | 47 | 27.98%
2019 Total | 6-hour | 84 | 64 | 76.19%
 | 12-hour | 235 | 91 | 38.72%
 | 5-day | 135 | 21 | 15.56%
 | Total | 454 | 176 | 38.77%
2018 Monthly Average | 6-hour | 77 | 57 | 74.03%
 | 12-hour | 140 | 46 | 32.86%
 | 5-day | 130 | 9 | 6.92%
 | Total | 346 | 112 | 32.37%
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | January | February | 2018 Monthly Average
Issued | 44 | 149 | 93 | 286 | 40 | 86 | 42 | 168 | 77 | 140 | 130 | 346
Overdue | 37 | 76 | 16 | 129 | 27 | 15 | 5 | 47 | 57 | 46 | 9 | 112

## Slide 6: Temporary Exemptions Received 2015 through 2018
Count of Average Exemption Duration from problem identified through resolution (months) (Does not include exemptions for delayed cutovers) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015 |  |  |  |  | 2016 |  |  |  |  | 2017 |  |  |  |  | 2018 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12* | >12
TDSP L | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0
TDSP V | 6 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 48 | 7 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0
TDSP R | 3 | 5 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
TDSP C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
TDSP F | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP G | 1 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP Q | 6 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
TDSP J | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP E | 6 | 0 | 6 | 0 | 0 | 23 | 9 | 1 | 0 | 1 | 7 | 13 | 0 | 0 | 0 | 12 | 9 | 0 | 0 | 0
TDSP D | 6 | 1 | 0 | 0 | 3 | 9 | 15 | 0 | 0 | 1 | 16 | 0 | 0 | 0 | 0 | 9 | 7 | 0 | 0 | 0
TDSP M | 3 | 1 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | 0
TDSP O | 9 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 1 | 0
TDSP P | 11 | 2 | 1 | 0 | 0 | 8 | 3 | 0 | 0 | 0 | 17 | 4 | 0 | 4 | 2 | 16 | 1 | 0 | 1 | 0
TDSP H | 3 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 1 | 10 | 17 | 0
TDSP I | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 5 | 0 | 3 | 26 | 0
TDSP N | 1 | 0 | 0 | 0 | 0 | 9 | 1 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 11 | 24 | 4 | 58 | 0
Totals | 65 | 9 | 7 | 0 | 4 | 110 | 30 | 2 | 0 | 8 | 79 | 20 | 0 | 4 | 5 | 186 | 55 | 17 | 103 | 0
*Indicates sorted by this column in lowest to highest order

## Slide 7: Temporary Exemption Currently Open as of 2/25/2019
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24-36*
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
TDSP E | 2 | 0 | 0 | 0 | 0 | 0
TDSP P | 3 | 0 | 0 | 0 | 0 | 0
TDSP O | 0 | 1 | 0 | 0 | 0 | 0
TDSP H | 0 | 0 | 0 | 16 | 0 | 0
TDSP I | 0 | 0 | 0 | 25 | 0 | 0
TDSP N | 4 | 0 | 0 | 54 | 1 | 0
TDSP M | 0 | 0 | 0 | 0 | 0 | 6
Totals | 9 | 1 | 0 | 95 | 1 | 6
*Indicates sorted by this column in lowest to highest order

## Slide 8: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  |  |  | 
 |  |  |  |  | 2015 |  | 2016 |  | 2017 |  | 2018 | 
TDSP | 2015 | 2016 | 2017 | 2018 | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days*
TDSP C | 7 | 6 | 6 | 1 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP S | 3 | 1 | 0 | 1 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 2 | 1 | 1 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | N/A | 4 | 2 | 1 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP V | 8 | 14 | 1 | 1 | 90.9% | 9.1% | 50.0% | 50.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 15 | 27 | 3 | 3 | 71.4% | 28.6% | 35.0% | 65.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP U | 24 | 15 | 6 | 9 | 0.0% | 100.0% | 16.7% | 83.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 3 | 77 | 4 | 7 | 100.0% | 0.0% | 0.0% | 100.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP O | 4 | 4 | 4 | 3 | 97.1% | 2.9% | 91.7% | 8.3% | 88.9% | 11.1% | 100.0% | 0.0%
TDSP F | 22 | 17 | 20 | 9 | 0.0% | 100.0% | 57.1% | 42.9% | 42.9% | 57.1% | 100.0% | 0.0%
TDSP H | 39 | 27 | 26 | 2 | 11.8% | 88.2% | 5.9% | 94.1% | 17.6% | 82.4% | 100.0% | 0.0%
TDSP P | 17 | 27 | 11 | 6 | 53.8% | 46.2% | 23.4% | 76.6% | 78.8% | 21.2% | 96.7% | 3.3%
TDSP I | 5 | 10 | 23 | 5 | 100.0% | 0.0% | 91.3% | 8.7% | 75.0% | 25.0% | 96.7% | 3.3%
TDSP N | 2 | 2 | 4 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 95.1% | 4.9% | 96.3% | 3.8%
TDSP L | 2 | 3 | 2 | 2 | 100.0% | 0.0% | 96.3% | 3.7% | 100.0% | 0.0% | 95.7% | 4.3%
TDSP R | 7 | 12 | 5 | 8 | 90.6% | 9.4% | 94.7% | 5.3% | 98.4% | 1.6% | 93.4% | 6.6%
Average | 13 | 19 | 11 | 7 | 68.4% | 31.6% | 55.8% | 44.2% | 77.9% | 22.1% | 88.5% | 11.5%
TDSP M | 11 | 10 | 10 | 9 | 74.1% | 25.9% | 77.6% | 22.4% | 87.1% | 12.9% | 83.3% | 16.7%
TDSP G | 10 | 37 | 8 | 13 | 100.0% | 0.0% | 0.0% | 100.0% | 78.6% | 21.4% | 75.0% | 25.0%
TDSP D | 35 | 40 | 31 | 14 | 10.7% | 89.3% | 7.7% | 92.3% | 42.1% | 57.9% | 66.7% | 33.3%
TDSP T | 11 | 20 | 11 | 13 | 81.3% | 18.8% | 33.3% | 66.7% | 80.0% | 20.0% | 64.0% | 36.0%
TDSP K | 32 | 28 | 37 | 13 | 20.0% | 80.0% | 22.2% | 77.8% | 0.0% | 100.0% | 61.1% | 38.9%
TDSP E | 23 | 27 | 22 | 28 | 34.2% | 65.8% | 25.0% | 75.0% | 28.8% | 71.2% | 17.4% | 82.6%
*Indicates sorted by this column in lowest to highest order

## Slide 9: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  |  | Percentage of document resubmittals within a 14 day timeline |  |  |  |  |  |  | 
 |  |  |  |  | 2015 |  | 2016 |  | 2017 |  | 2018 | 
TDSP | 2015 | 2016 | 2017 | 2018 | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days*
TDSP U | 4 | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A | N/A | N/A
TDSP A | 0 | 1 | 1 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP H | 68 | 18 | 78 | N/A | 0.0% | 100.0% | 50.0% | 50.0% | 0.0% | 100.0% | N/A | N/A
TDSP J | N/A | N/A | N/A | 5 | N/A | N/A | N/A | N/A | N/A | N/A | 100.0% | 0.0%
TDSP K | N/A | 0 | N/A | 7 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP M | 3 | 6 | N/A | 2 | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP O | 18 | 2 | N/A | 1 | 50.0% | 50.0% | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP G | 1 | 3 | 1 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 32 | 19 | 0 | 2 | 85.7% | 14.3% | 85.7% | 14.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP C | 20 | 5 | 10 | 1 | 66.7% | 33.3% | 100.0% | 0.0% | 85.7% | 14.3% | 100.0% | 0.0%
TDSP Q | N/A | 39 | 23 | 6 | N/A | N/A | 71.4% | 28.6% | 57.1% | 42.9% | 100.0% | 0.0%
TDSP V | 19 | 37 | 10 | 7 | 33.3% | 66.7% | 0.0% | 100.0% | 82.4% | 17.6% | 90.9% | 9.1%
TDSP N | 35 | 38 | 11 | 13 | 50.0% | 50.0% | 69.2% | 30.8% | 75.0% | 25.0% | 83.3% | 16.7%
TDSP P | 8 | 39 | 10 | 5 | 100.0% | 0.0% | 25.0% | 75.0% | 100.0% | 0.0% | 80.0% | 20.0%
Average | 27 | 21 | 23 | 17 | 62.8% | 37.2% | 68.3% | 31.7% | 68.2% | 31.8% | 66.8% | 33.2%
TDSP D | 76 | 18 | 27 | 23 | 15.4% | 84.6% | 60.0% | 40.0% | 50.0% | 50.0% | 66.7% | 33.3%
TDSP I | 42 | 73 | 83 | 28 | 50.0% | 50.0% | 0.0% | 100.0% | 14.3% | 85.7% | 62.5% | 37.5%
TDSP R | 6 | 21 | 12 | 30 | 85.7% | 14.3% | 85.7% | 14.3% | 81.8% | 18.2% | 52.6% | 47.4%
TDSP T | 0 | 0 | 24 | 47 | 100.0% | 0.0% | 100.0% | 0.0% | 66.7% | 33.3% | 25.0% | 75.0%
TDSP E | 41 | 45 | 38 | 41 | 30.4% | 69.6% | 13.8% | 86.2% | 41.7% | 58.3% | 8.7% | 91.3%
TDSP S | N/A | N/A | N/A | 18 | N/A | N/A | N/A | N/A | N/A | N/A | 0.0% | 100.0%
TDSP B | N/A | N/A | N/A | 16 | N/A | N/A | N/A | N/A | N/A | N/A | 0.0% | 100.0%
TDSP F | 89 | N/A | N/A | 73 | 0.0% | 100.0% | N/A | N/A | N/A | N/A | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  |  |  | 
 |  |  |  |  | 2015 |  | 2016 |  | 2017 |  | 2018 | 
TDSP | 2015 | 2016 | 2017 | 2018 | Received in ≤ 60 Days | Received in > 60 Days | Received in ≤ 60 Days | Received in > 60 Days | Received in ≤ 60 Days | Received in > 60 Days | Received in ≤ 60 Days | Received in > 60 Days
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP J | 105 | N/A | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | N/A | 6 | N/A | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP F | 57 | 12 | N/A | N/A | 50.0% | 50.0% | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP A | N/A | 111 | N/A | 6 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | 100.0% | 0.0%
TDSP T | 30 | 6 | 13 | 49 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 2 | 22 | 21 | 12 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP D | 50 | 39 | 27 | 15 | 66.7% | 33.3% | 66.7% | 33.3% | 84.6% | 15.4% | 100.0% | 0.0%
TDSP Q | 84 | 21 | 126 | 4 | 0.0% | 100.0% | 100.0% | 0.0% | 40.0% | 60.0% | 100.0% | 0.0%
TDSP P | 46 | 62 | 44 | 25 | 77.5% | 22.5% | 70.0% | 30.0% | 70.3% | 29.7% | 96.9% | 3.1%
TDSP N | 87 | 71 | 14 | 17 | 28.6% | 71.4% | 61.1% | 38.9% | 100.0% | 0.0% | 93.3% | 6.7%
TDSP E | 33 | 30 | 61 | 34 | 89.1% | 10.9% | 88.7% | 11.3% | 78.8% | 21.2% | 88.2% | 11.8%
TDSP V | 58 | 31 | 53 | 19 | 45.5% | 54.5% | 75.0% | 25.0% | 75.0% | 25.0% | 87.0% | 13.0%
Average | 44 | 39 | 59 | 35 | 79.4% | 20.6% | 77.5% | 22.5% | 79.9% | 20.1% | 84.3% | 15.7%
TDSP C | N/A | 15 | 6 | 17 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 83.3% | 16.7%
TDSP O | 8 | 15 | 15 | 35 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 80.0% | 20.0%
TDSP H | 95 | 100 | 84 | 43 | 60.0% | 40.0% | 25.0% | 75.0% | 50.0% | 50.0% | 76.9% | 23.1%
TDSP R | 8 | 54 | 99 | 85 | 100.0% | 0.0% | 85.7% | 14.3% | 66.7% | 33.3% | 73.7% | 26.3%
TDSP G | 12 | 14 | 19 | 27 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 66.7% | 33.3%
TDSP M | 38 | 20 | 61 | 33 | 100.0% | 0.0% | 92.3% | 7.7% | 83.3% | 16.7% | 66.7% | 33.3%
TDSP L | 27 | 15 | 4 | 46 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP I | 10 | 95 | 63 | 41 | 100.0% | 0.0% | 30.0% | 70.0% | 80.0% | 20.0% | 50.0% | 50.0%
TDSP K | 35 | 35 | 291 | 125 | 100.0% | 0.0% | 75.0% | 25.0% | 33.3% | 66.7% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 11: Site Certifications – Resubmittals
Average Days to Receive |  |  |  |  | Percentage of documents submitted within a 45 day timeline |  |  |  |  |  |  | 
 |  |  |  |  | 2015 |  | 2016 |  | 2017 |  | 2018 | 
TDSP | 2015 | 2016 | 2017 | 2018 | Received in ≤ 45 Days | Received in > 45 Days | Received in ≤ 45 Days | Received in > 45 Days | Received in ≤ 45 Days | Received in > 45 Days | Received in ≤ 45 Days | Received in > 45 Days
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP J | 40 | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A | N/A | N/A
TDSP F | 6 | 165 | N/A | N/A | 100.0% | 0.0% | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP T | 4 | 1 | 5 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP A | N/A | 40 | N/A | 2 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP P | 96 | 29 | 10 | 10 | 70.0% | 30.0% | 75.0% | 25.0% | 92.9% | 7.1% | 100.0% | 0.0%
TDSP I | 226 | 150 | 17 | 0 | 50.0% | 50.0% | 41.7% | 58.3% | 85.7% | 14.3% | 100.0% | 0.0%
TDSP D | 25 | 24 | 49 | 14 | 66.7% | 33.3% | 75.0% | 25.0% | 60.0% | 40.0% | 100.0% | 0.0%
TDSP M | 12 | 36 | 104 | 4 | 100.0% | 0.0% | 75.0% | 25.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP Q | 64 | 23 | 10 | 7 | 0.0% | 100.0% | 85.7% | 14.3% | 100.0% | 0.0% | 92.9% | 7.1%
TDSP C | N/A | 6 | 3 | 13 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0% | 90.0% | 10.0%
TDSP O | 3 | 57 | 16 | 10 | 100.0% | 0.0% | 80.0% | 20.0% | 80.0% | 20.0% | 85.7% | 14.3%
TDSP N | 46 | 32 | 10 | 17 | 75.0% | 25.0% | 64.3% | 35.7% | 85.7% | 14.3% | 84.6% | 15.4%
TDSP H | 50 | 47 | 24 | 32 | 60.0% | 40.0% | 66.7% | 33.3% | 75.0% | 25.0% | 83.3% | 16.7%
Average | 42 | 41 | 24 | 19 | 72.7% | 27.3% | 73.5% | 26.5% | 76.6% | 23.4% | 80.1% | 19.9%
TDSP K | 46 | 4 | 6 | 20 | 66.7% | 33.3% | 100.0% | 0.0% | 100.0% | 0.0% | 80.0% | 20.0%
TDSP R | 4 | 31 | 27 | 30 | 100.0% | 0.0% | 70.0% | 30.0% | 66.7% | 33.3% | 80.0% | 20.0%
TDSP L | 20 | 3 | 3 | 30 | 66.7% | 33.3% | 100.0% | 0.0% | 100.0% | 0.0% | 75.0% | 25.0%
TDSP E | 55 | 60 | 46 | 44 | 63.6% | 36.4% | 73.5% | 26.5% | 57.1% | 42.9% | 70.4% | 29.6%
TDSP B | 6 | 35 | 54 | 25 | 100.0% | 0.0% | 75.0% | 25.0% | 66.7% | 33.3% | 66.7% | 33.3%
TDSP V | 43 | 36 | 23 | 33 | 71.4% | 28.6% | 73.3% | 26.7% | 100.0% | 0.0% | 60.0% | 40.0%
TDSP G | 9 | 9 | 2 | 39 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 50.0% | 50.0%
*Indicates sorted by this column in lowest to highest order