## Slide 1: Supply Analysis Working Group Report to WMS
March 6, 2019

## Slide 2
NPRR891 Removal of NOIE Capacity Reporting Threshold for the Unregistered DG Report
SAWG language from 12-12 passed at WMS 1-9; No WMS action needed now but we continued discussions in January & February to address further comments
  NOIEs with an aggregate amount of unregistered DG capacity above 50kW will continue to submit information regarding this capacity to ERCOT quarterly
  NOIEs would annually report to ERCOT all known DG capacities on their systems, including those less than 50kW, by March 1 for the previous calendar year
  NOIEs that do not have the required data can request a one-year exemption from the requirement from ERCOT, and ERCOT may grant the exemption at their discretion
New consensus language From SAWG 2-8 passed at PRS 2-14:
  For quarterly reporting, each NOIE with aggregate unregistered capacity greater than two MW for sites that are less than 50 kW would report all capacity. However, NOIEs with aggregate capacity less than or equal to two MW for sites that are less than 50 kW would continue to report only capacity for sites greater than or equal to 50 kW
  Language added to require biennial review of the quarterly reporting MW threshold for sites less than 50 kW

## Slide 3
NPRR 922 Modifications to DC Tie Import Forecast Method
PRS passed on 2-14; no WMS action needed
NPRR 922 filed after 1-18 SAWG endorsement:
  Based on aggregate net imports divided by existing DC tie capacity for just those SCED intervals during which the latest summer EEA events occurred (August 2-5, 2011)
  Addresses both existing DC Ties and planned DC Tie projects that qualify to be included in the ERCOT transmission planning models

## Slide 4
SAWG Meeting 2-8 Other Discussions
Wind Capacity Contribution – further presentations from ERCOT
  Potential new regions
  Potential new calculations
Gap in Notice of Suspension of Operations
  Possible stakeholder-sponsored NPRR in the future
PUCT decision on Real-time Co-optimization Project 48540

## Slide 5
SAWG Proposed 2019 Discussion Topics
CDR Review
  Supplement tab
  DG/DR contribution
  Energy storage contribution
  Solar capacity contribution
  Wind capacity contribution
  Load forecast
SARA Review
  Discuss formalizing management of the SARA
  DG/DR contribution
  Energy storage contribution
  Solar capacity contribution
  Wind capacity contribution
  Load forecast
DG Review
  DG/DR contribution
    Differentiate contribution/behavior by technology types
  Split out DG/DR from the Load forecast