## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2019-03-07 | 8:56

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2018
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2018 Demand, MW | 65914.6978 | 55163.3408 | 46812.4691 | 47898.7 | 67265.1165 | 69122.8213 | 73473.0281 | 69918.5302 | 64630.2459 | 60827.2713 | 56316.5379 | 51955.9447 | 73473.0281
Date | 01/17/2018 | 02/12/2018 | 03/26/2018 | 04/24/2018 | 05/29/2018 | 06/27/2018 | 07/19/2018 | 08/23/2018 | 09/18/2018 | 10/04/2018 | 11/14/2018 | 12/10/2018
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 08:00 | 08:00
Day of the week | Wednesday | Monday | Monday | Tuesday | Tuesday | Wednesday | Thursday | Thursday | Tuesday | Thursday | Wednesday | Monday
Forecasted Demand, MW | 56143.1082 | 54681.4942 | 46908.9674 | 53115.0509 | 59600.8648 | 68019.3575 | 70029.6001 | 72973.9703 | 66447.6547 | 58836.9682 | 47172.7432 | 54389.1443 | 72973.9703
Difference, percent | 17.4% | 0.8812% | -0.2057% | -9.821% | 12.86% | 1.622% | 4.917% | -4.187% | -2.735% | 3.383% | 19.38% | -4.474% | 0.6839%
2017 Demand, MW | 59649.9652 | 42743.1155 | 47116.0625 | 53486.2844 | 59263.6452 | 67632.9948 | 69512.1546 | 67889.1391 | 63648.7889 | 62332.8822 | 50734.5688 | 54431.8531 | 69512.1546
Date | 01/06/2017 | 02/16/2017 | 03/20/2017 | 04/28/2017 | 05/26/2017 | 06/23/2017 | 07/28/2017 | 08/16/2017 | 09/20/2017 | 10/09/2017 | 11/05/2017 | 12/31/2017
Hour ending | 19:00 | 08:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 19:00
Day of the week | Friday | Thursday | Monday | Friday | Friday | Friday | Friday | Wednesday | Wednesday | Monday | Sunday | Sunday
Increase, MW | 6264.7326 | 12420.2253 | -303.5934 | -5587.5844 | 8001.4713 | 1489.8266 | 3960.8735 | 2029.3911 | 981.457 | -1505.611 | 5581.9691 | -2475.9084
Increase, percent | 10.5% | 29.06% | -0.6444% | -10.45% | 13.5% | 2.203% | 5.698% | 2.989% | 1.542% | -2.415% | 11% | -4.549%
Max All Time, MW | 65914.6978 | 57265 | 54587.4097 | 53486.2844 | 67265.1165 | 69122.8213 | 73473.0281 | 71110.1039 | 66948.5662 | 62332.8822 | 56316.5379 | 57932.4325
Date | 01/17/2018 at 08:00 | 02/10/2011 at 08:00 | 03/03/2014 at 08:00 | 04/28/2017 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/19/2018 at 17:00 | 08/11/2016 at 17:00 | 09/19/2016 at 17:00 | 10/09/2017 at 17:00 | 11/14/2018 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2018 Demand, MW | 66068.475 | 55674.8535 | 46887.0199 | 47964.591 | 67435.4482 | 69254.6172 | 73538.7 | 69990.0131 | 64692.5238 | 60877.9617 | 57039.3063 | 52353.2862 | 73538.7
Date | 01/17/2018 | 02/12/2018 | 03/26/2018 | 04/24/2018 | 05/29/2018 | 06/27/2018 | 07/19/2018 | 08/23/2018 | 09/19/2018 | 10/04/2018 | 11/14/2018 | 12/10/2018
Interval ending | 07:15 | 07:15 | 17:00 | 17:30 | 17:00 | 17:00 | 17:00 | 16:45 | 16:30 | 16:45 | 07:00 | 07:15
Day of the week | Wednesday | Monday | Monday | Tuesday | Tuesday | Wednesday | Thursday | Thursday | Wednesday | Thursday | Wednesday | Monday
Max All Time, MW | 66068.475 | 57971 | 54660.2529 | 53594.8638 | 67435.4482 | 69254.6172 | 73538.7 | 71150.3145 | 67070.857 | 62474.4737 | 57039.3063 | 58048.2808
Date | 01/17/2018 at 07:15 | 02/10/2011 at 07:15 | 03/03/2014 at 07:30 | 04/28/2017 at 17:00 | 05/29/2018 at 17:00 | 06/27/2018 at 17:00 | 07/19/2018 at 17:00 | 08/11/2016 at 16:30 | 09/19/2016 at 16:00 | 10/09/2017 at 16:30 | 11/14/2018 at 07:00 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2018 Demand, MW | 27880.7929 | 28141.5225 | 27443.4236 | 27143.1285 | 28003.8264 | 36263.6568 | 35202.0859 | 35846.631 | 30733.6364 | 27603.2398 | 27886.8981 | 27816.8551
Date | 01/21/2018 | 02/19/2018 | 03/31/2018 | 04/23/2018 | 05/06/2018 | 06/04/2018 | 07/08/2018 | 08/12/2018 | 09/28/2018 | 10/28/2018 | 11/04/2018 | 12/26/2018
Interval ending | 04:15 | 03:30 | 03:45 | 03:30 | 05:00 | 04:15 | 07:00 | 04:30 | 04:00 | 04:45 | 03:30 | 03:00
Day of the week | Sunday | Monday | Saturday | Monday | Sunday | Monday | Sunday | Sunday | Friday | Sunday | Sunday | Wednesday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2018
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2018 Energy, MWh | 31282293.2077 | 25761057.5174 | 26169922.0072 | 25748649.2681 | 33733260.6315 | 37383554.7771 | 39628861.8554 | 39204901.927 | 32481363.8011 | 29136475.1918 | 27128335.0042 | 28725175.0741 | 376383850.2627
2018 YTD Energy, MWh | 31282293.2077 | 57043350.7252 | 83213272.7324 | 108961922.0005 | 142695182.6319 | 180078737.409 | 219707599.2645 | 258912501.1915 | 291393864.9926 | 320530340.1845 | 347658675.1887 | 376383850.2627
Forecasted Energy, MWh | 29317775.9 | 25576841.368 | 26530469.994 | 26567074.038 | 30956243.016 | 35434405.92 | 38264275.972 | 39639974.937 | 33334706.56 | 29526238.994 | 26339967.686 | 29131550.759 | 370619525.144
Difference, percent | 6.701% | 0.7202% | -1.359% | -3.081% | 8.971% | 5.501% | 3.566% | -1.098% | -2.56% | -1.32% | 2.993% | -1.395% | 1.555%
YTD Forecasted Energy, MWh | 29317775.9 | 54894617.268 | 81425087.262 | 107992161.3 | 138948404.316 | 174382810.236 | 212647086.208 | 252287061.145 | 285621767.705 | 315148006.699 | 341487974.385 | 370619525.144
YTD Difference, percent | 6.701% | 3.914% | 2.196% | 0.898% | 2.696% | 3.266% | 3.32% | 2.626% | 2.021% | 1.708% | 1.807% | 1.555%
2017 Energy, MWh | 27326927.613 | 22997836.39 | 25973797.2339 | 26062928.5983 | 30104291.5164 | 33937727.5031 | 38336145.4761 | 36360996.5434 | 32106126.9843 | 28994671.5572 | 25999144.1346 | 29207722.6195 | 357408316.1698
Increase, MWh | 3955365.5947 | 2763221.1274 | 196124.7733 | -314279.3302 | 3628969.1151 | 3445827.274 | 1292716.3794 | 2843905.3837 | 375236.8168 | 141803.6346 | 1129190.8696 | -482547.5454 | 18975534.093
Increase, percent | 14.47% | 12.02% | 0.7551% | -1.206% | 12.05% | 10.15% | 3.372% | 7.821% | 1.169% | 0.4891% | 4.343% | -1.652% | 5.309%
2017 YTD Energy, MWh | 27326927.613 | 50324764.003 | 76298561.2369 | 102361489.8352 | 132465781.3515 | 166403508.8546 | 204739654.3307 | 241100650.8741 | 273206777.8584 | 302201449.4157 | 328200593.5503 | 357408316.1698
Increase, MWh | 3955365.5947 | 6718586.7221 | 6914711.4955 | 6600432.1653 | 10229401.2804 | 13675228.5544 | 14967944.9338 | 17811850.3174 | 18187087.1342 | 18328890.7688 | 19458081.6384 | 18975534.093
Increase, percent | 14.47% | 13.35% | 9.063% | 6.448% | 7.722% | 8.218% | 7.311% | 7.388% | 6.657% | 6.065% | 5.929% | 5.309%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2018 | 63.79% | 69.49% | 75.24% | 74.66% | 67.41% | 75.11% | 72.5% | 75.37% | 69.8% | 64.38% | 66.81% | 74.31% | 58.48%
Demand Factors 2017 | 61.58% | 80.07% | 74.2% | 67.68% | 68.28% | 69.69% | 74.13% | 71.99% | 70.06% | 62.52% | 71.08% | 72.12% | 58.69%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2018 | 63.64% | 68.86% | 75.12% | 74.56% | 67.24% | 74.97% | 72.43% | 75.29% | 69.73% | 64.33% | 65.96% | 73.75% | 58.43%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2018
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2373.7127 | 2027.3603 | 1832.3487 | 1847.3888 | 2493.4003 | 2550.4165 | 2648.1006 | 2663.9441 | 2320.5207 | 2229.0085 | 2042.491 | 1889.3155
LZ_CPS | 4293.8965 | 3816.0678 | 3325.3576 | 3358.1341 | 4743.7911 | 4684.188 | 4790.1746 | 4818.7559 | 4103.6568 | 4061.5361 | 4015.0907 | 3494.9822
LZ_HOUSTON | 14409.4883 | 12631.3462 | 12664.5132 | 13300.667 | 18170.8226 | 17801.3851 | 18696.0414 | 18367.2668 | 17727.8772 | 16506.9538 | 12987.5971 | 11976.8064
LZ_LCRA | 3120.1736 | 2472.8001 | 1565.0232 | 1625.7911 | 2436.1544 | 2535.0811 | 2693.5239 | 2658.4756 | 2211.2516 | 2068.8521 | 2572.185 | 2266.9699
LZ_NORTH | 26161.8097 | 21425.2579 | 15834.5681 | 15681.8217 | 24339.8881 | 26327.7642 | 28651.1618 | 25687.2409 | 24381.6843 | 21871.5992 | 21269.6428 | 19489.7117
LZ_RAYBN | 1059.9585 | 812.6575 | 391.5576 | 401.504 | 756.9186 | 837.7084 | 942.7046 | 807.5813 | 779.1586 | 669.0835 | 822.8065 | 749.3591
LZ_SOUTH | 9466.862 | 7730.9182 | 6912.5382 | 7004.5468 | 8819.8358 | 8636.7602 | 9033.1191 | 9143.4531 | 7741.253 | 7978.8657 | 8159.8351 | 7217.6171
LZ_WEST | 5182.5736 | 4758.4454 | 4361.1133 | 4744.7375 | 5674.6373 | 5881.3136 | 6083.874 | 5843.2954 | 5427.1215 | 5492.0628 | 5169.658 | 5268.5244
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2411.0219 | 2032.7377 | 1833.6346 | 1851.9845 | 2551.4412 | 2575.2563 | 2892.2704 | 2751.96 | 2417.9416 | 2237.7543 | 2052.4853 | 1895.8014
Date and Time | 17 @ 08:00 | 12 @ 07:30 | 26 @ 17:45 | 24 @ 17:45 | 31 @ 17:45 | 6 @ 18:15 | 23 @ 18:30 | 21 @ 17:45 | 1 @ 17:30 | 3 @ 17:00 | 14 @ 07:15 | 10 @ 07:30
LZ_CPS | 4395.1726 | 3816.0678 | 3335.5945 | 3562.6754 | 4820.8073 | 4965.3495 | 5169.1457 | 5050.1932 | 4514.8187 | 4074.3316 | 4015.0907 | 3494.9822
Date and Time | 3 @ 07:30 | 12 @ 07:15 | 26 @ 17:45 | 13 @ 18:00 | 31 @ 18:00 | 5 @ 18:00 | 23 @ 18:00 | 22 @ 18:00 | 2 @ 17:00 | 4 @ 17:00 | 14 @ 07:00 | 10 @ 07:15
LZ_HOUSTON | 14879.135 | 12692.1707 | 12766.6325 | 13996.8906 | 18175.0414 | 18504.792 | 18887.732 | 19315.3427 | 17977.7596 | 16712.9263 | 14991.5189 | 12542.1551
Date and Time | 16 @ 19:00 | 12 @ 10:15 | 19 @ 16:30 | 25 @ 16:00 | 29 @ 16:45 | 13 @ 16:00 | 23 @ 17:45 | 21 @ 16:45 | 18 @ 16:30 | 5 @ 16:00 | 7 @ 14:45 | 11 @ 07:15
LZ_LCRA | 3165.3859 | 2472.8001 | 1576.1612 | 1631.3137 | 2481.285 | 2574.8119 | 2943.7889 | 2730.7652 | 2498.4123 | 2084.0787 | 2572.185 | 2266.9699
Date and Time | 17 @ 08:00 | 12 @ 07:15 | 26 @ 17:30 | 24 @ 17:45 | 31 @ 17:45 | 6 @ 18:00 | 23 @ 18:00 | 21 @ 17:45 | 1 @ 17:30 | 4 @ 17:30 | 14 @ 07:00 | 10 @ 07:15
LZ_NORTH | 26161.8097 | 21425.2579 | 15834.5681 | 16086.3534 | 24673.3472 | 26368.3889 | 28666.0715 | 26368.154 | 24381.6843 | 21871.5992 | 21312.9809 | 19493.3262
Date and Time | 17 @ 07:15 | 12 @ 07:15 | 26 @ 17:00 | 13 @ 16:30 | 30 @ 17:00 | 27 @ 17:45 | 19 @ 16:30 | 7 @ 17:30 | 19 @ 16:30 | 4 @ 16:45 | 14 @ 07:30 | 10 @ 07:30
LZ_RAYBN | 1062.3672 | 846.1638 | 572.0059 | 563.9047 | 766.3544 | 847.3491 | 979.5323 | 889.7712 | 797.5814 | 669.0835 | 822.8065 | 750.0702
Date and Time | 17 @ 07:00 | 11 @ 09:15 | 8 @ 07:00 | 7 @ 12:30 | 29 @ 18:00 | 27 @ 18:30 | 22 @ 17:45 | 18 @ 17:00 | 19 @ 18:00 | 4 @ 16:45 | 14 @ 07:00 | 10 @ 07:00
LZ_SOUTH | 9485.821 | 7730.9182 | 6912.5382 | 7304.2775 | 8836.4605 | 9038.7741 | 9458.3726 | 9358.5057 | 8645.2897 | 8001.5594 | 8159.8351 | 7263.2068
Date and Time | 17 @ 07:30 | 12 @ 07:15 | 26 @ 17:00 | 13 @ 16:45 | 29 @ 16:45 | 5 @ 16:45 | 23 @ 17:45 | 21 @ 16:00 | 1 @ 16:00 | 4 @ 17:00 | 14 @ 07:00 | 11 @ 07:15
LZ_WEST | 5182.5736 | 4939.5774 | 4475.6707 | 4851.5288 | 5839.6842 | 5894.7694 | 6098.0634 | 6013.3488 | 5663.9642 | 5492.0628 | 5200.0192 | 5324.9243
Date and Time | 17 @ 07:15 | 22 @ 09:15 | 25 @ 17:00 | 12 @ 17:45 | 31 @ 16:30 | 27 @ 16:30 | 19 @ 16:30 | 29 @ 16:30 | 1 @ 16:30 | 4 @ 16:45 | 26 @ 07:30 | 14 @ 07:15
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1112568.8106 | 934085.7567 | 975617.3371 | 961075.9112 | 1268166.3878 | 1392338.625 | 1479905.9237 | 1502887.1603 | 1222863.1292 | 1097512.0298 | 987383.5515 | 1032325.1736
LZ_CPS | 1967548.6507 | 1572074.5252 | 1623004.7444 | 1625717.0036 | 2239308.82 | 2495027.0643 | 2606131.6726 | 2641781.1999 | 2114354.1766 | 1877659.6109 | 1675940.1005 | 1756543.0022
LZ_HOUSTON | 7724483.4077 | 6560104.9503 | 7240126.2825 | 7031356.9031 | 9240461.5469 | 9899836.5313 | 10452746.9345 | 10479895.6207 | 8902376.7606 | 8124055.1283 | 7021769.7474 | 7143102.6216
LZ_LCRA | 1162961.9449 | 862259.7688 | 786949.8278 | 776500.8035 | 1092522.2333 | 1265957.4255 | 1356096.3346 | 1367280.2217 | 1039802.1834 | 915557.6369 | 908132.2159 | 1006068.397
LZ_NORTH | 11595853.1259 | 9496556.1928 | 8688140.3159 | 8568691.4488 | 11615171.1106 | 13526478.6972 | 14537009.9505 | 13870828.6242 | 11255422.8174 | 9699930.437 | 9397273.4324 | 10218951.8448
LZ_RAYBN | 404397.0825 | 309493.9629 | 234531.8595 | 228833.2306 | 313895.1731 | 389289.5411 | 430279.7813 | 407132.8969 | 318236.6025 | 264754.7853 | 300421.1901 | 342577.162
LZ_SOUTH | 4214336.0893 | 3312109.0489 | 3711378.5322 | 3662670.7669 | 4611858.6882 | 4909420.1453 | 5129655.114 | 5250872.6806 | 4364864.004 | 3933308.0505 | 3630117.4841 | 3746047.425
LZ_WEST | 3100144.0961 | 2714373.3117 | 2910173.1079 | 2893803.2004 | 3351876.6717 | 3505206.7474 | 3637036.1442 | 3684223.5228 | 3263444.1273 | 3223697.5132 | 3207297.2823 | 3479559.4479
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2018
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15423.5264 | 13635.5729 | 13461.8223 | 14127.7863 | 19155.5092 | 18730.0399 | 19685.8231 | 19374.3854 | 18643.9962 | 17432.1608 | 13941.0142 | 12898.7246
EAST | 2506.4215 | 2137.9799 | 1602.4022 | 1521.1308 | 2311.6524 | 2287.7902 | 2426.6321 | 2373.477 | 2284.201 | 2074.573 | 2041.7927 | 1901.8346
FWEST | 2786.4232 | 2773.5591 | 2825.8841 | 3022.5068 | 3492.915 | 3535.8007 | 3569.7654 | 3547.6964 | 3347.6244 | 3525.3689 | 3189.187 | 3354.6935
NCENT | 24363.0031 | 19809.2267 | 14442.0723 | 14378.0303 | 22423.1364 | 24477.4319 | 26713.7234 | 23728.0562 | 22474.1524 | 20110.9032 | 19771.2764 | 18053.9334
NORTH | 1413.3825 | 1182.7042 | 790.8584 | 833.4213 | 1272.2002 | 1424.1251 | 1532.2964 | 1380.4532 | 1314.2448 | 1178.2827 | 1157.5694 | 1099.6068
SCENT | 11533.9194 | 9847.145 | 7975.9405 | 8087.8416 | 11359.7414 | 11465.0375 | 11885.8318 | 11932.3436 | 10182.416 | 9869.8035 | 10163.4645 | 9011.7675
SOUTH | 5934.9844 | 4555.0275 | 4475.7813 | 4485.7413 | 5533.752 | 5373.0613 | 5600.9743 | 5711.2761 | 4748.2436 | 5042.165 | 4994.9345 | 4335.448
WEST | 2106.8146 | 1733.6381 | 1312.2588 | 1508.1326 | 1886.5415 | 1961.3306 | 2123.6534 | 1942.3251 | 1697.6454 | 1644.7045 | 1780.0676 | 1697.2778
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15858.6026 | 13666.3313 | 13534.2614 | 14829.0193 | 19160.8232 | 19492.2595 | 19893.5553 | 20364.3685 | 18881.1023 | 17604.067 | 15800.1744 | 13508.6254
Date and Time | 16 @ 19:00 | 12 @ 10:15 | 19 @ 16:30 | 25 @ 16:00 | 29 @ 16:45 | 13 @ 16:00 | 23 @ 17:45 | 21 @ 16:00 | 18 @ 16:30 | 5 @ 16:00 | 7 @ 14:45 | 11 @ 07:15
EAST | 2526.4495 | 2137.9799 | 1625.0924 | 1588.6535 | 2328.2155 | 2401.3883 | 2575.0671 | 2525.543 | 2345.8916 | 2137.0812 | 2092.6199 | 1961.1694
Date and Time | 18 @ 07:15 | 12 @ 07:15 | 26 @ 15:45 | 30 @ 16:45 | 30 @ 17:00 | 29 @ 16:30 | 23 @ 14:45 | 20 @ 16:00 | 18 @ 17:30 | 3 @ 16:15 | 15 @ 07:15 | 11 @ 07:00
FWEST | 2935.7485 | 2936.7525 | 2893.0626 | 3083.9306 | 3535.9697 | 3577.1393 | 3589.611 | 3655.9999 | 3498.0355 | 3533.8777 | 3316.6696 | 3496.4658
Date and Time | 16 @ 07:30 | 21 @ 20:30 | 23 @ 16:00 | 12 @ 16:45 | 30 @ 16:30 | 1 @ 16:45 | 23 @ 17:45 | 29 @ 17:00 | 25 @ 16:30 | 3 @ 17:15 | 26 @ 07:30 | 14 @ 07:15
NCENT | 24363.0031 | 19809.2267 | 14462.5019 | 14829.3158 | 22721.145 | 24477.4319 | 26713.7234 | 24486.6083 | 22474.755 | 20110.9032 | 19771.8396 | 18071.2509
Date and Time | 17 @ 07:15 | 12 @ 07:15 | 26 @ 16:30 | 13 @ 16:30 | 30 @ 17:00 | 27 @ 17:00 | 19 @ 17:00 | 29 @ 16:45 | 19 @ 16:45 | 4 @ 16:45 | 14 @ 07:15 | 10 @ 07:30
NORTH | 1413.3825 | 1182.7042 | 949.832 | 964.4759 | 1335.4033 | 1425.6863 | 1534.7784 | 1446.1416 | 1314.2448 | 1180.8087 | 1159.0604 | 1124.69
Date and Time | 17 @ 07:15 | 12 @ 07:15 | 7 @ 07:15 | 7 @ 11:00 | 31 @ 17:00 | 27 @ 16:45 | 19 @ 16:30 | 7 @ 16:45 | 19 @ 16:30 | 4 @ 16:30 | 14 @ 07:15 | 5 @ 07:15
SCENT | 11577.9386 | 9847.145 | 8004.6856 | 8239.6225 | 11612.1534 | 11894.7503 | 12957.0789 | 12436.0942 | 11107.5445 | 9940.0822 | 10163.4645 | 9011.7675
Date and Time | 17 @ 07:45 | 12 @ 07:15 | 26 @ 17:45 | 13 @ 17:45 | 31 @ 18:00 | 5 @ 18:00 | 23 @ 18:15 | 21 @ 18:00 | 1 @ 17:45 | 4 @ 17:15 | 14 @ 07:00 | 10 @ 07:15
SOUTH | 6073.3907 | 4555.0275 | 4475.7813 | 4868.8923 | 5552.476 | 5678.4648 | 5833.704 | 5808.1905 | 5447.0123 | 5065.5198 | 4994.9345 | 4375.7316
Date and Time | 16 @ 19:45 | 12 @ 07:15 | 26 @ 17:00 | 13 @ 16:45 | 29 @ 16:45 | 6 @ 15:30 | 30 @ 15:45 | 22 @ 16:30 | 2 @ 16:15 | 9 @ 16:30 | 14 @ 07:00 | 11 @ 07:00
WEST | 2106.8146 | 1733.6381 | 1347.8401 | 1511.0507 | 1974.4877 | 2003.4361 | 2128.5571 | 1987.7958 | 1870.6671 | 1644.7045 | 1790.0283 | 1698.3057
Date and Time | 17 @ 07:15 | 12 @ 07:15 | 7 @ 07:15 | 24 @ 17:00 | 30 @ 16:45 | 23 @ 17:15 | 20 @ 16:30 | 8 @ 17:00 | 1 @ 17:00 | 4 @ 16:45 | 14 @ 07:15 | 10 @ 07:30
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 8289649.444 | 7023439.9267 | 7733558.2135 | 7502790.8161 | 9805141.6755 | 10514247.3518 | 11080390.8073 | 11127941.1869 | 9439305.4729 | 8641204.8684 | 7518929.5903 | 7690074.7386
EAST | 1180909.227 | 918830.4544 | 901332.0561 | 875547.0171 | 1138933.9923 | 1251946.5782 | 1331102.1391 | 1343706.1931 | 1121820.307 | 993491.8085 | 962762.1644 | 984742.4263
FWEST | 1909919.9333 | 1706773.3301 | 1911881.1168 | 1898664.7108 | 2177667.269 | 2201995.7898 | 2269542.8598 | 2346863.9565 | 2158059.3155 | 2186973.6022 | 2162754.0666 | 2347801.7563
NCENT | 10663122.3951 | 8753948.9471 | 7907123.5162 | 7804082.3583 | 10629915.478 | 12472660.4883 | 13422127.4719 | 12733650.7098 | 10284394.3314 | 8830801.885 | 8596811.1717 | 9429060.4836
NORTH | 679348.6423 | 570225.5107 | 523807.7472 | 514055.6783 | 642932.8226 | 732652.6838 | 795556.1637 | 771111.1968 | 629769.6642 | 558733.2874 | 570224.5656 | 621389.7652
SCENT | 5024019.7411 | 4011055.5364 | 4037124.2858 | 4005533.2043 | 5454093.7974 | 6101433.9887 | 6432225.3791 | 6525914.7173 | 5192470.5967 | 4620816.4234 | 4252034.4764 | 4503183.4348
SOUTH | 2554446.7168 | 1986243.9622 | 2360907.9248 | 2341305.8984 | 2915753.8579 | 3022717.4089 | 3168875.0972 | 3259700.1895 | 2762093.3518 | 2454675.9959 | 2210356.2525 | 2216517.2214
WEST | 980877.1082 | 790539.8499 | 794187.1469 | 806669.5847 | 968821.7388 | 1085900.4876 | 1129041.9375 | 1096013.7773 | 893450.7616 | 849777.321 | 854462.7167 | 932405.2478
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2018
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 56448.5791 | 42525.8387 | 38382.5621 | 32740.8286 | 66453.1098 | 63260.9209 | 66876.8286 | 58339.3242 | 31498.5652 | 31960.1955 | 32200.5755 | 42225.5341 | 562912.8624
Coal | 8890868.7124 | 5898589.0591 | 4990091.7108 | 6132372.5212 | 7524255.7194 | 8757795.5821 | 9338760.5542 | 9491144.5331 | 8764548.1544 | 8199340.5842 | 7703575.7057 | 7558052.374 | 93249395.2106
Gas | 1411279.3764 | 660569.3523 | 884264.6638 | 951281.8481 | 2778603.8232 | 2557999.0226 | 4182664.6647 | 3661362.4304 | 2095784.5204 | 2014355.621 | 1325956.4323 | 962496.8896 | 23486618.6447
Gas-CC | 10689737.4328 | 10134298.0847 | 9922986.844 | 8801166.9867 | 12136275.2571 | 14854082.6621 | 17437876.1596 | 16201852.3002 | 13775449.2009 | 10404109.8618 | 8767479.7861 | 10593631.5578 | 143718946.134
Hydro | 31742.3031 | 32280.0912 | 53298.9884 | 61319.8119 | 60389.1279 | 49473.1833 | 44445.3726 | 55216.1683 | 38448.2212 | 139306.0227 | 132467.8361 | 112663.1092 | 811050.236
Net DC/BLT | -36362.8214 | -140973.0738 | -114922.0596 | -28827.2023 | 18387.9294 | 79731.8661 | 189048.4239 | 191276.8225 | 150418.3703 | -1200.214 | 23528.7822 | 34877.9514 | 364984.7747
Nuclear | 3809488.1095 | 3433186.943 | 3527967.6664 | 2782759.7425 | 3745906.1417 | 3592697.3053 | 3705531.9451 | 3622278.8003 | 3588739.5959 | 2908546.773 | 3297253.8461 | 3110564.0921 | 41124920.9609
Other | 2850.6177 | 1393.5468 | 1527.0223 | 1995.5545 | 2733.2393 | 1950.0163 | 4132.6216 | 1329.0495 | 2092.6785 | 3495.2852 | 3230.3261 | 2043.0131 | 28772.9708
Solar | 189655.1422 | 164879.0651 | 241476.6071 | 296516.6233 | 340353.6168 | 367867.8228 | 366731.6536 | 353513.7272 | 256563.3177 | 209074.2805 | 250302.8624 | 203294.6543 | 3240229.373
Wind | 6236585.756 | 5534308.6105 | 6624848.0018 | 6717322.5536 | 7059902.6669 | 7058696.3956 | 4292793.6315 | 5568588.7712 | 3777821.1765 | 5227486.7819 | 5592338.8516 | 6105325.8985 | 69796019.0957
Total | 31282293.2077 | 25761057.5174 | 26169922.0072 | 25748649.2681 | 33733260.6315 | 37383554.7771 | 39628861.8554 | 39204901.927 | 32481363.8011 | 29136475.1918 | 27128335.0042 | 28725175.0741 | 376383850.2627
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.1804% | 0.1651% | 0.1467% | 0.1272% | 0.197% | 0.1692% | 0.1688% | 0.1488% | 0.097% | 0.1097% | 0.1187% | 0.147% | 0.1496%
Coal | 28.42% | 22.9% | 19.07% | 23.82% | 22.31% | 23.43% | 23.57% | 24.21% | 26.98% | 28.14% | 28.4% | 26.31% | 24.78%
Gas | 4.511% | 2.564% | 3.379% | 3.694% | 8.237% | 6.843% | 10.55% | 9.339% | 6.452% | 6.913% | 4.888% | 3.351% | 6.24%
Gas-CC | 34.17% | 39.34% | 37.92% | 34.18% | 35.98% | 39.73% | 44% | 41.33% | 42.41% | 35.71% | 32.32% | 36.88% | 38.18%
Hydro | 0.1015% | 0.1253% | 0.2037% | 0.2381% | 0.179% | 0.1323% | 0.1122% | 0.1408% | 0.1184% | 0.4781% | 0.4883% | 0.3922% | 0.2155%
Net DC/BLT | -0.1162% | -0.5472% | -0.4391% | -0.112% | 0.0545% | 0.2133% | 0.477% | 0.4879% | 0.4631% | -0.0041% | 0.0867% | 0.1214% | 0.097%
Nuclear | 12.18% | 13.33% | 13.48% | 10.81% | 11.1% | 9.61% | 9.351% | 9.239% | 11.05% | 9.982% | 12.15% | 10.83% | 10.93%
Other | 0.0091% | 0.0054% | 0.0058% | 0.0078% | 0.0081% | 0.0052% | 0.0104% | 0.0034% | 0.0064% | 0.012% | 0.0119% | 0.0071% | 0.0076%
Solar | 0.6063% | 0.64% | 0.9227% | 1.152% | 1.009% | 0.984% | 0.9254% | 0.9017% | 0.7899% | 0.7176% | 0.9227% | 0.7077% | 0.8609%
Wind | 19.94% | 21.48% | 25.31% | 26.09% | 20.93% | 18.88% | 10.83% | 14.2% | 11.63% | 17.94% | 20.61% | 21.25% | 18.54%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 56.4486 | 42.5258 | 38.3826 | 32.7408 | 66.4531 | 63.2609 | 66.8768 | 58.3393 | 31.4986 | 31.9602 | 32.2006 | 42.2255
Coal | 8890.8687 | 5898.5891 | 4990.0917 | 6132.3725 | 7524.2557 | 8757.7956 | 9338.7606 | 9491.1445 | 8764.5482 | 8199.3406 | 7703.5757 | 7558.0524
Gas | 1411.2794 | 660.5694 | 884.2647 | 951.2818 | 2778.6038 | 2557.999 | 4182.6647 | 3661.3624 | 2095.7845 | 2014.3556 | 1325.9564 | 962.4969
Gas-CC | 10689.7374 | 10134.2981 | 9922.9868 | 8801.167 | 12136.2753 | 14854.0827 | 17437.8762 | 16201.8523 | 13775.4492 | 10404.1099 | 8767.4798 | 10593.6316
Hydro | 31.7423 | 32.2801 | 53.299 | 61.3198 | 60.3891 | 49.4732 | 44.4454 | 55.2162 | 38.4482 | 139.306 | 132.4678 | 112.6631
Net DC/BLT | -36.3628 | -140.9731 | -114.9221 | -28.8272 | 18.3879 | 79.7319 | 189.0484 | 191.2768 | 150.4184 | -1.2002 | 23.5288 | 34.878
Nuclear | 3809.4881 | 3433.1869 | 3527.9677 | 2782.7597 | 3745.9061 | 3592.6973 | 3705.5319 | 3622.2788 | 3588.7396 | 2908.5468 | 3297.2538 | 3110.5641
Other | 2.8506 | 1.3935 | 1.527 | 1.9956 | 2.7332 | 1.95 | 4.1326 | 1.3291 | 2.0927 | 3.4953 | 3.2303 | 2.043
Solar | 189.6551 | 164.8791 | 241.4766 | 296.5166 | 340.3536 | 367.8678 | 366.7317 | 353.5137 | 256.5633 | 209.0743 | 250.3029 | 203.2947
Wind | 6236.5858 | 5534.3086 | 6624.848 | 6717.3226 | 7059.9027 | 7058.6964 | 4292.7936 | 5568.5888 | 3777.8212 | 5227.4868 | 5592.3389 | 6105.3259
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3809 | 8891 | 6237 | 190 | 32 | 56 | 3 | -36 | 10690 | 1411
Feb* | 3433 | 5899 | 5534 | 165 | 32 | 43 | 1 | -141 | 10134 | 661
Mar* | 3528 | 4990 | 6625 | 241 | 53 | 38 | 2 | -115 | 9923 | 884
Apr* | 2783 | 6132 | 6717 | 297 | 61 | 33 | 2 | -29 | 8801 | 951
May* | 3746 | 7524 | 7060 | 340 | 60 | 66 | 3 | 18 | 12136 | 2779
Jun* | 3593 | 8758 | 7059 | 368 | 49 | 63 | 2 | 80 | 14854 | 2558
Jul* | 3706 | 9339 | 4293 | 367 | 44 | 67 | 4 | 189 | 17438 | 4183
Aug* | 3622 | 9491 | 5569 | 354 | 55 | 58 | 1 | 191 | 16202 | 3661
Sep* | 3589 | 8765 | 3778 | 257 | 38 | 31 | 2 | 150 | 13775 | 2096
Oct* | 2909 | 8199 | 5227 | 209 | 139 | 32 | 3 | -1 | 10404 | 2014
Nov* | 3297 | 7704 | 5592 | 250 | 132 | 32 | 3 | 24 | 8767 | 1326
Dec* | 3111 | 7558 | 6105 | 203 | 113 | 42 | 2 | 35 | 10594 | 962

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2017 Actual | 2018 Actual
Jan* | 27327 | 31282
Feb* | 22998 | 25761
Mar* | 25974 | 26170
Apr* | 26063 | 25749
May* | 30104 | 33733
Jun* | 33938 | 37384
Jul* | 38336 | 39629
Aug* | 36361 | 39205
Sep* | 32106 | 32481
Oct* | 28995 | 29136
Nov* | 25999 | 27128
Dec* | 29208 | 28725

## data_Energy Comparisons_2 (hidden)
| 2018 Forecast | 2018 Actual
Jan* | 29318 | 31282
Feb* | 25577 | 25761
Mar* | 26530 | 26170
Apr* | 26567 | 25749
May* | 30956 | 33733
Jun* | 35434 | 37384
Jul* | 38264 | 39629
Aug* | 39640 | 39205
Sep* | 33335 | 32481
Oct* | 29526 | 29136
Nov* | 26340 | 27128
Dec* | 29132 | 28725

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2017 Actual | 2018 Actual
Jan* | 59650 | 65915
Feb* | 42743 | 55163
Mar* | 47116 | 46812
Apr* | 53486 | 47899
May* | 59264 | 67265
Jun* | 67633 | 69123
Jul* | 69512 | 73473
Aug* | 67889 | 69919
Sep* | 63649 | 64630
Oct* | 62333 | 60827
Nov* | 50735 | 56317
Dec* | 54432 | 51956

## data_Demand Comparisons_2 (hidden)
| 2018 Forecast | 2018 Actual
Jan* | 56143 | 65915
Feb* | 54681 | 55163
Mar* | 46909 | 46812
Apr* | 53115 | 47899
May* | 59601 | 67265
Jun* | 68019 | 69123
Jul* | 70030 | 73473
Aug* | 72974 | 69919
Sep* | 66448 | 64630
Oct* | 58837 | 60827
Nov* | 47173 | 56317
Dec* | 54389 | 51956