## Slide 1: PLWG report to ROS March 7, 2019
Report based on PLWG February 20, 2019 meeting

## Slide 2: NPRR896
NPRR896 RMR Determination and MRA Evaluation Process
  ERCOT presented the details of the RMR/MRA evaluation process and walked through the NPRR language
  PLWG discussed but had no edits to the NPRR
  PLWG was in consensus that the NPRR did not need further revisions and recommends that ROS endorse it

## Slide 3: NPRR913
NPRR913 Generator Interconnection Neutral Project Classification
  ROS requested that PLWG review the NPRR language from a technical perspective (how does a TSP perform this analysis)
  PLWG has determined that some TSPs may not have the proper software to identify generators with a greater than 2% shift factor
  PLWG is considering if the 2% shift factor language can be removed from the NPRR
  PLWG plans to take the NPRR up again at the next meeting

## Slide 4: pgrr069
PGRR069 Related to NPRR921, RTF-2 Elimination of the Terms All-Inclusive Generation Resource and All-Inclusive Resource
  PLWG reviewed the changes to the Planning Guide, Sections 5 & 6
  PLWG was in consensus to recommend approval of the PGRR by ROS

## Slide 5: pgrr070
PGRR070 Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments
  PLWG briefly reviewed the language that aligns the Planning Guide with NERC Standard TPL-007-2.
  PLWG request to review the PGRR at the next meeting after PGDTF has reviewed it.

## Slide 6: NOGRR183
NOGRR183 Remedial Action Scheme (RAS) Submittal and Review
  ERCOT requested it be tabled to allow for comments.