## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
March 7, 2019
Aster Amahatsion
2019 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on February 26th
Discussed Federal and State activities regarding GMD
Update to the PGDTF Scope
  The PGDTF scope was finalized and submitted to ROS for vote
GIC System Model Procedure Manual update
PGDTF reviewed the GIC System Model Procedure Manual developed by ERCOT and submitted for ROS vote
GIC Modeling Expectations Review
  ERCOT presented the GIC Model Expectations draft and the Task Force reviewed the draft
<number>
3/07/2019 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
  Impacts of NERC TPL-007-2
  Task force reviewed and commented to PGRR070 by ERCOT to address new requirements and the comments are submitted to ERCOT.
Final GIC Flows posted by ERCOT
  ERCOT to present the results at the March ROS meeting
Discussed Vulnerability Assessment Event Descriptions
  PGDTF shared experiences on handling the ERCOT Market notice
  PGDTF asked for extension on dead line to the market notice to ERCOT.
2022 SSWG summer peak/min case building
  Pending updated 18SSWG 2022 cases in March, 2019 and ROS approval of the GIC Procedure Manual
    Next PGDTF meeting: March 07 at the Met Center (WebEx available)
<number>
3/07/2019 ROS Meeting
Notes: <number>

## Slide 4: Questions
<number>
3/07/2019 ROS Meeting
Notes: <number>