## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2019

## Slide 2: Non-IRR GREDP < 85% – February 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 197 | 264 | 324 | 4.19 | 81.48
Unit 237 | 60 | 73 | 1.77 | 82.19
Unit 243 | 36 | 51 | 1.58 | 70.59
Unit 256 | 4 | 13 | 0.78 | 30.77
Unit 258 | 3 | 4 | 0.57 | 75.00
Unit 261 | 0 | 1 | 8.82 | 0.00
Unit 262 | 0 | 1 | 2.91 | 0.00

## Slide 3: IRR Summary – February 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 79.16 | 66.03 | 86.14
GREDP Median (%) | 93.08 | 78.57 | 90.19
Average MW Error | 3.51 | 3.37 | 3.88
Median MW Error | 3.30 | 3.08 | 3.38
Total Intervals Scored | 29,741 | 13,779 | 12,943
100+ Intervals Scored | 47 | 147 | 28
Total Intervals Scored Average | 153.30 | 202.63 | 462.25

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,286 | 2,336 | 4.15 | 97.86
Unit 2 | 2,097 | 2,130 | 3.25 | 98.45
Unit 6 | 1,390 | 1,392 | 3.88 | 99.86
Unit 8 | 957 | 969 | 3.76 | 98.76
Unit 9 | 956 | 967 | 3.50 | 98.86
Unit 10 | 948 | 950 | 4.47 | 99.79
Unit 11 | 883 | 900 | 1.05 | 98.11
Unit 13 | 858 | 877 | 4.15 | 97.83
Unit 14 | 844 | 844 | 5.72 | 100.00
Unit 15 | 798 | 811 | 3.64 | 98.40
Unit 17 | 682 | 708 | 2.35 | 96.33
Unit 18 | 700 | 702 | 4.79 | 99.72
Unit 20 | 545 | 557 | 1.00 | 97.85

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 22 | 414 | 416 | 4.06 | 99.52
Unit 25 | 312 | 319 | 3.34 | 97.81
Unit 27 | 276 | 288 | 4.02 | 95.83
Unit 30 | 247 | 247 | 20.55 | 100.00
Unit 40 | 153 | 158 | 2.11 | 96.84
Unit 41 | 132 | 134 | 3.99 | 96.32

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,708 | 1,961 | 6.86 | 87.10
Unit 4 | 1,668 | 1,792 | 3.76 | 93.08
Unit 5 | 1,343 | 1,484 | 3.53 | 90.49
Unit 7 | 913 | 978 | 4.53 | 93.35
Unit 12 | 807 | 897 | 3.08 | 89.96
Unit 16 | 699 | 740 | 5.51 | 94.46
Unit 19 | 557 | 616 | 1.39 | 90.42
Unit 21 | 392 | 494 | 2.44 | 79.35
Unit 23 | 379 | 410 | 2.86 | 92.44
Unit 24 | 303 | 345 | 7.86 | 87.83
Unit 26 | 213 | 307 | 5.03 | 69.38
Unit 28 | 248 | 287 | 3.49 | 86.41

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 29 | 240 | 276 | 5.29 | 86.96
Unit 31 | 189 | 209 | 4.32 | 90.43
Unit 32 | 154 | 206 | 9.22 | 74.76
Unit 33 | 181 | 195 | 1.51 | 92.82
Unit 34 | 161 | 194 | 1.66 | 82.99
Unit 35 | 168 | 177 | 8.66 | 94.92
Unit 36 | 159 | 173 | 2.44 | 91.91
Unit 37 | 112 | 171 | 1.75 | 65.50
Unit 38 | 153 | 163 | 3.70 | 93.87
Unit 39 | 152 | 163 | 3.03 | 93.25
Unit 42 | 103 | 132 | 3.17 | 78.03
Unit 43 | 75 | 126 | 3.43 | 59.52

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 108 | 119 | 1.05 | 90.76
Unit 45 | 109 | 115 | 2.47 | 94.78
Unit 46 | 90 | 107 | 3.34 | 84.11
Unit 47 | 88 | 106 | 3.16 | 83.02