## Summary
Registered Entity
Date/Time of Survey | 5/09/2019, 11:00 AM
Size and location of customer load, or percentage of connected load to be interrupted. |  | Frequency set points | [5 empty] | Please note any other schemes that are part of or impact the UFLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, and Special Protection Systems below.
Frequency Thresholds
|  | 59.3 Hz |  | 58.9 Hz |  | 58.5 Hz
|  | At least 5% of TO Load |  | Total of at least 15% of TO Load |  | Total of at least 25% of TO Load
Load Area | Total Area Load (MW) | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Comments
Total | 0 | 0 | 0% | 0 | 0% | 0 | 0%
Total percentage
#DIV/0!
* Any relay data(i.e. buss information, location, and relay ID numbers) is being requested for this Survey.
See relay information tab for a sample of the information needed.

## Relay Information
|  |  |  | Block 1 | Block 2 | Block 3
|  |  |  | 59.3 Hz | 58.9 Hz | 58.5 Hz
Location/Load Area | PSSE Bus No | Circuit Designation | Load (MW) | Load Dropped for Block 1 (MW) | Load Dropped for Block 2 (MW) | Load Dropped for Block 3 (MW)
Example: | [6 empty] | This information will be needed to complete the 2019_UFLS_ERCOT_OG_2.6.1_Survey.
Substation #1 | 1001 | CKT #2a | 4.2 | 4.2
Substation #2 | 1002 | CKT #3b | 1.8 |  | 1.8
Substation #2 | 1002 | CKT #3c |  |  |  | 2.6
Total |  |  | 6 | 4.2 | 1.8 | 2.6