## Slide 1
Southern Cross Directive # 4
Chad Thompson
Senior Manager, Operations Support & Engineering
Operations Working Group Meeting
February 25, 2019

## Slide 2: Directive # 4
ERCOT shall develop and implement a methodology to reliably and cost-effectively coordinate outages following the interconnection of the Southern Cross DC tie and shall certify to the Commission when it has completed these actions.
Anticipated Start – Q1 2019
Target Completion – Q2 2020

## Slide 3: Directive # 4
Important market rules changes pertaining to DC Ties
NPRRs 818 and 825
  6.5.9.3.3: DC Tie Schedules curtailed in Watch, not Emergency (818)
  4.4.4: DC Tie Schedules curtailed via DC Tie Curtailment Notice and not in Watch (825)
  3.10.7.7: DC Tie Advisory Limits posted for rolling 48 hours (825)

## Slide 4: ERCOT Tentative Determination
With the implementation of market rules changes (NPRR 818 & 825):
  “…a methodology to reliably and cost-effectively coordinate outages…” is met by:
    Providing a means to manage DC Tie uncertainty
    Delivery of tools necessary to reliably assess Outages and communicate to the market the impact they may have on DC Ties
    Incorporation of these new tools into the current Outage Coordination practices

## Slide 5: Next Steps
ERCOT to prepare white paper for Directive # 4
Bring draft white paper to March OWG for review