Date:	March 27, 2019

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR recommended for approval by PRS: - NPRR891, Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report [ERCOT] - NPRR900, Clean-up Items Applicable to the State of Texas REC Trading Program [ERCOT] - NPRR906, Clarifying the Decision Making Entity Process [ERCOT] - NPRR908, Revisions to Mass Transition Processes [ERCOT] - NPRR909, Address Unavailability Gap for ERS and Other Minor Clarifications [ERCOT] - NPRR912, Settlement of Switchable Generation Resources (SWGRs) Instructed to Switch to ERCOT [ERCOT] - NPRR914, Addition of Controllable Load Resources to 60-Day Report [ERCOT] - NPRR916, Mitigated Offer Floor Revision [ERCOT] - NPRR920, Change to Ramp Rate Calculation in Resource Limit Calculator [ERCOT] - NPRR921, RTF-2 Elimination of the Terms All-Inclusive Generation Resource and All-Inclusive Resource [ERCOT] - NPRR922, Modifications to DC Tie Import Forecast Method [ERCOT] - NPRR925, Increasing Minimum Quantity for PTP Obligation Bids – URGENT [ERCOT] - SCR798, PTP Obligation Bid ID Limit [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR891, Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR removes the 50 kW threshold for Non-Opt-In Entities (NOIEs) to report unregistered Distributed Generation (DG) to ERCOT for the purpose of creating the Unregistered Distributed Generation Report. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR891 as amended by the 2/12/19 ERCOT comments as revised by PRS. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report and Impact Analysis for NPRR891. - NPRR900, Clean-up Items Applicable to the State of Texas REC Trading Program [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses language clean up and inconsistencies in the current Nodal Protocol language that is out of alignment with current processes, Public Utility Commission of Texas (PUCT) Substantive Rules, and system design. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR900 as amended by the 2/1/19 TXU Energy comments. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report and the Revised Impact Analysis for NPRR900. - NPRR906, Clarifying the Decision Making Entity Process [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR streamlines the Protocol language across all sections and removes any ambiguity that may exist as to how ERCOT systems handle the Decision Making Entity (DME) during mitigation. PRS Decision: On 2/14/19, PRS unanimously voted to endorse and forward to TAC the 11/15/18 PRS Report as amended by the 1/21/19 ERCOT comments and the Impact Analysis for NPRR906. - NPRR908, Revisions to Mass Transition Processes [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns Retail Market Guide references in Protocols as revised in RMGRR159. In addition, the NPRR updates Mass Transition notification requirements for Emergency Qualified Scheduling Entities (QSEs) to align with revisions in RMGRR159. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR908 as submitted. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report and Impact Analysis for NPRR908. Credit WG Review: See 2/20/19 Credit WG comments - NPRR909, Address Unavailability Gap for ERS and Other Minor Clarifications [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR resolves a gap in the Protocols that did not address scheduled unavailability of an Emergency Response Service (ERS) Resource that was either not timely provided (a least 3 calendar days) or properly noticed unavailability above the allowable 2% threshold, along with other clarifications. PRS Decision: On 1/17/19, PRS voted to recommend approval of NPRR909 as submitted. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 2/14/19, PRS voted to endorse and forward to TAC the 1/17/19 PRS Report and Impact Analysis for NPRR909. There was one opposing vote from the IPM (Morgan Stanley) Market Segment. - NPRR912, Settlement of Switchable Generation Resources (SWGRs) Instructed to Switch to ERCOT [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to CRM & Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses the Settlement of Switchable Generation Resources (SWGRs) that receive a Reliability Unit Commitment (RUC) instruction to switch from a non-ERCOT Control Area to the ERCOT Control Area. The NPRR provides a Make-Whole Payment for a SWGR when the SWGR’s Real-Time revenues in ERCOT are not sufficient to cover certain specified costs the SWGR may have incurred in complying with such a RUC instruction. PRS Decision: On 2/14/19, PRS voted to recommend approval of NPRR912 as amended by the 2/7/19 WMS comments. There was one abstention from the IPM (Tenaska) Market Segment. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report as revised by PRS and Impact Analysis for NPRR908. - NPRR914, Addition of Controllable Load Resources to 60-Day Reports [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2670 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds data points that are unique to a Controllable Load Resource that has a Resource Status of ONRGL or ONCLR to the existing 60-Day Security-Constrained Economic Dispatch (SCED) disclosure report for Load Resources. PRS Decision: On 1/17/19, PRS unanimously voted to recommend approval of NPRR914 as submitted. On 2/14/19, PRS unanimously voted to endorse and forward to TAC the 1/17/19 PRS Report and Impact Analysis for NPRR914 with a recommended priority of 2019 and rank of 2670. - NPRR916, Mitigated Offer Floor Revisions [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR sets the Mitigated Offer Floor for the “Combined Cycle” and “Gas/Oil Steam and Combustion Turbine” Resource Categories to $0/MWh, rather than a Fuel Index Price (FIP)-based calculation. This proposed language obviates grey-boxed language from NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events. As a result, the grey-boxed language from NPRR664 is deleted in Section 4.4.9.4.2, Mitigated Offer Floor. PRS Decision: On 1/17/19, PRS voted to recommend approval of NPRR916 as submitted. There was one abstention from the Independent Generator (Luminant) Market Segment. On 2/14/19, PRS unanimously voted to endorse and forward to TAC the 1/17/19 PRS Report and Impact Analysis for NPRR916. - NPRR920, Change to Ramp Rate Calculation in Resource Limit Calculator [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2690 ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS) and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the Resource ramp rate logic in Section 6.5.7.2, Resource Limit Calculator, to dynamically adjust the amount of ramp rate reserved for Regulation Service in Real-Time based on the percentage of Regulation Service being deployed in the opposite direction in Real-Time. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR920 as submitted. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report as amended by the 3/11/19 ERCOT comments and the Impact Analysis for NPRR920 with a recommended priority of 2019 and rank of 2690. - NPRR921, RTF-2 Elimination of the Terms All-Inclusive Generation Resource and All-Inclusive Resource [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR replaces all instances of the terms All-Inclusive Generation Resource and All-Inclusive Resource with appropriate terms from Section 2.1, Definitions. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR921 as submitted. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report as amended by the 3/12/19 ERCOT comments as revised by PRS and Impact Analysis for NPRR921. - NPRR922, Modifications to DC Tie Import Forecast Method [ERCOT] Proposed Effective Date: May 1, 2019 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns the Direct Current Tie (DC Tie) import forecast with forecasts of other Resources in the Report on Capacity, Demand and Reserves in the ERCOT Region (“CDR”) that are deployed during Energy Emergency Alert (EEA) events, such as ERS. This NPRR also addresses a reporting gap in the CDR by specifying an approach for forecasting expected capacity imports for planned DC Tie projects. PRS Decision: On 2/14/19, PRS unanimously voted to recommend approval of NPRR922 as revised by PRS. On 3/14/19, PRS unanimously voted to endorse and forward to TAC the 2/14/19 PRS Report and Impact Analysis for NPRR922. - NPRR925, Increasing Minimum Quantity for PTP Obligation Bids – URGENT [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Market Management Systems (MMS); No impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR increases the minimum quantity that can be submitted for Point-to-Point (PTP) Obligation bids to one MW, from one-tenth of one MW, matching the minimum quantity for Energy Only Offers and Energy Bids. PRS Decision: On 3/14/19, PRS unanimously voted to grant NPRR925 Urgent status. PRS then unanimously voted to recommend approval of NPRR925 as submitted, and to forward to TAC NPRR925 and the Impact Analysis. - SCR798, PTP Obligation Bid ID Limit [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2585 ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR introduces a limit on the total number of PTP Obligation bids that can be submitted into the Day-Ahead Market (DAM) per QSE and per Counter-Party. The limit will apply to the number of bid IDs per Operating Day. PRS Decision: On 1/17/19, PRS unanimously voted to recommend approval of SCR798 as submitted. On 2/14/19, PRS unanimously voted to endorse and forward to TAC the 1/17/19 PRS Report and Impact Analysis for SCR798 with a recommended priority of 2019 and a rank of 2585. There was one abstention from the Independent Generator (Luminant) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the April 11, 2019 PRS Meeting - NPRR885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service [ERCOT] - NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process [ERCOT] - NPRR923, Revision to Weather Responsiveness Determination Process [PWG] - NPRR924, Addition of Form to Section 23 – Independent Market Information System Registered Entity (IMRE) Application for Registration [ERCOT] - SCR799, ERCOT Outage Study Cases in the System Operations Test Environment (SOTE) [Oncor] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR872, Modifying the SASM Shadow Price Cap [LCRA] - NPRR902, ERCOT Critical Energy Infrastructure Information [ERCOT] - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties [Rainbow] - NPRR913, Generator Interconnection Neutral Project Classification [Wind Coalition] - NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs) [ERCOT] - NPRR918, Validation Clarification for PTP Obligations with Links to an Option [ERCOT] - NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks [Formosa] - NPRR926, Removal of 90-Day Period Between SSR Study Approval and Synchronization [ERCOT] New Revision Requests Scheduled for Consideration at the April 11, 2019 PRS Meeting None at this time These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr