## Slide 1: PLWG report to ROS April 4, 2019
Report based on PLWG March 12, 2019 meeting

## Slide 2: NPRR913
NPRR913 Generator Interconnection Neutral Project Classification
  ROS requested that PLWG review the NPRR language from a technical perspective
  PLWG recommends ROS votes to approve with removal of the 2% shift factor language

## Slide 3: NPRR913 (Continue)
NPRR913 – ERCOT Nodal Protocols 3.11.4.3(1)(e)(iv)
  Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that the Generation Resource can reliably generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements, other than a P1 or P7 contingency loss of a radial generator tie line, assuming other Generation Resources with a shift factor greater than 2% on an overloaded facility can be redispatched or have their commitment status changed in the study case;

## Slide 4: pgrr070
PGRR070 Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments
  NRG filed comments and they were discussed
  PLWG discussed the comments but could not reach consensus
  Since the PGRR was on the PGDTF’s agenda, it was decided that proposed changes to the PGRR would be submitted and discussed there to see if consensus could be reached before the ROS meeting

## Slide 5: NOGRR183
NOGRR183 Remedial Action Scheme (RAS) Submittal and Review
  ERCOT requested it be tabled to allow for more time for comments.