| NPRR Number | 891 | NPRR Title | Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report |
| --- | --- | --- | --- |
| Date of Decision |  | March 27, 2019 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | May 1, 2019 |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.2.5.1, Unregistered Distribution Generation Reporting Requirements for Non Opt-In Entities |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the 50 kW threshold for Non-Opt-In Entities (NOIEs) to report unregistered Distributed Generation (DG) to ERCOT for the purpose of creating the Unregistered Distributed Generation Report. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Currently, competitive area Transmission and/or Distribution Service Providers (TDSPs) report all unregistered DG in their service territory to ERCOT for the purpose of creating the quarterly Unregistered Distributed Generation Report. However, NOIEs only report unregistered DG that is over 50 kW in capacity. This restriction results in significant under-reporting of DG amounts. Based on ERCOT’s latest informal evaluation of non-ERCOT data sources, the unreported amount likely exceeds 200 MW. The Unregistered Distributed Generation Report is thus potentially capturing less than 50% of the total unregistered capacity amount based on the latest report released in April 2018. Among the implications of this underreporting is that ERCOT is forced to use unofficial and unreliable data in reporting distributed Photo Voltaic (PV) generation capacity to the North American Electric Reliability Corporation (NERC) as part of its annual Long-Term Reliability Assessment (LTRA) data request. To reduce this reporting gap and improve the accuracy of DG data reported to Market Participants, NERC, and other stakeholders, this NPRR would modify the reporting threshold so that each NOIE would be required to annually report to ERCOT all unregistered DG in their service territory unless they are reporting all unregistered DG capacity on a quarterly basis. For quarterly reporting, each NOIE with aggregate unregistered capacity greater than two MW for sites that are less than 50 kW would report all capacity. However, NOIEs with aggregate capacity less than or equal to two MW for sites that are less than 50 kW would continue to report only capacity for sites greater than or equal to 50 kW. Language is also added to clarify that all capacity used for self-serve Load needs to be reported. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR891 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 9/13/18, PRS voted unanimously to table NPRR891 and refer the issue to ROS and WMS. All Market Segments were present for the vote. On 2/14/19, PRS voted unanimously to recommend approval of NPRR891 as amended by the 2/12/19 ERCOT comments as revised by PRS. All Market Segments were present for the vote. On 3/14/19, PRS voted unanimously to endorse and forward to TAC the 2/14/19 PRS Report and the Impact Analysis for NPRR891. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 9/13/18, participants discussed tabling NPRR891 to provide additional time to review potential clarifications that may be needed regarding duplicative data reporting requirements. On 2/14/19, participants discussed that NPRR891 is responsive to concerns expressed by the Public Utility Commission of Texas (PUCT) and some stakeholders for transparency into the growth of DG. On 3/14/19, there was no discussion. |  |
| TAC Decision |  | On 3/27/19, TAC voted unanimously to recommend approval of NPRR891 as recommended by PRS in the 3/14/19 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 3/27/19, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR891. |  |

| Sponsor |  |
| --- | --- |
| Name | Pete Warnken |
| E-mail Address | Pete.Warnken@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6705 |
| Cell Number | (512) 585-2246 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | (512) 225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 090718 | Proposed a new section of the revised reporting requirement that states that the quarterly capacity reporting shall only include the capacity known to the NOIE at the time that the report is being prepared; shall not require the NOIE to conduct new survey activities to identify currently unknown unregistered DG installations; and allows a NOIE to request a reporting exemption for one calendar year if unregistered DG data is not readily available |
| STEC 090718 | Proposed revisions that would exempt NOIEs below a summer peak Demand of 1,000 MW (non-coincident with ERCOT) from reporting DG that is less than 50 kW in size unless the NOIE has had a program at any time after Nodal go-live that promotes the installation of DG in its service territory |
| GSEC 091118 | Proposed revisions such that a NOIE with less than 5 MW of total estimated DG continue to report only those DGs that exceed 50 kW of installed name plate capacity until the NOIE has an estimated combined installed DG of 5 MW or greater, based on the annual peak demand methodology or if the NOIE has awareness of combined DG in excess of 5 MW within their service territory |
| WMS 101118 | Requested PRS continue to table NPRR891 to allow for review by the Supply Analysis Working Group (SAWG) |
| ROS 101118 | Requested PRS continue to table NPRR891 and noted that ROS would await review by SAWG |
| GSEC 122718 | Proposed revisions based on discussion at the December 12, 2018 SAWG meeting and proposed a 100 MW threshold for annual reporting of DG |
| ERCOT 010419 | Proposed revisions based on discussion at the December 12, 2018 SAWG meeting to modify the threshold to require NOIEs to annually report all unregistered DG in their service territory, and require quarterly reporting to include all unregistered DG once their installed capacity of unregistered DG reaches 5 MW |
| WMS 011019 | Endorsed NPRR891 as amended by the 9/7/18 ERCOT comments as revised by WMS |
| ROS 011419 | Endorsed NPRR891 as amended by the 1/10/19 WMS comments |
| ERCOT 011619 | Requested PRS continue to table NPRR891 to allow for further discussion of the 1/4/19 ERCOT comments at the January 18, 2019 SAWG meeting |
| ERCOT 021219 | Proposed revisions based on discussion at the February 8, 2019 SAWG meeting requiring NOIEs to annually report all unregistered DG in their service territory unless they are reporting all unregistered DG capacity on a quarterly basis; quarterly, each NOIE with aggregate unregistered capacity greater than two MW for sites that are less than 50 kW would report all capacity, and NOIEs with aggregate capacity less than or equal to two MW for sites that are less than 50 kW would continue to report only capacity for sites greater than or equal to 50 kW |
| WMUS 021419 | Requested PRS continue to table NPRR891 for development and discussion of alternative reporting |

Market Rules Notes

None

Revised Proposed Protocol Language

- 3.2.5.1	Unregistered Distributed Generation Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points.

(2)	Within ten Business Days after the end of each quarter, each NOIE shall submit to ERCOT electronically the required data described below as of the last day of the prior quarter by submitting the designated form provided on the ERCOT website.  NOIEs that have an unregistered DG capacity of more than two MW, based upon the aggregate capacity of all sites that are less than 50 kW, shall report the total of all unregistered DG MW capacity, inclusive of systems used to support self-serve Load.  All other NOIEs shall report the aggregate unregistered DG capacity of only those sites greater than or equal to 50 kW, inclusive of systems used to support self-serve Load.   NOIEs shall report their capacity by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(3)	NOIEs not reporting DG MW capacity less than 50 kW on a quarterly basis as described in paragraph (2) above shall submit to ERCOT by March 1 of each year their annual aggregate unregistered DG MW capacity, inclusive of systems used to support self-serve Load, for the preceding calendar year.  NOIEs shall report their capacity by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(4)	Each of the above reports is required to include only the capacity known to the NOIE at the time that its report is being prepared, and shall not require the NOIE to conduct new survey activities for its service territory to identify unknown unregistered DG installations.  Any NOIE may obtain a reporting exemption for the annual report required in 2020 by notifying ERCOT of the exemption claim in writing on or before March 1, 2020.