APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, February 7, 2019 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Ebrahimian, Reza | Austin Energy |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power and Light |  |
| Matt, Kevin | Reliant Energy Retail Services | Alt. Rep. for Bill Barnes |
| Moore, John | South Texas Electric Cooperative |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Smith, Caitlin | Invenergy |  |
| Staples, Boone | Tenaska Power Services |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Ainspan, Malcolm | NRG | Via Teleconference |
| Amahatsion, Aster | AEP SC | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cook, Tim | CTT |  |
| Corpuz, Gene | LCRA |  |
| Danielson, Christian | EPE Consulting | Via Teleconference |
| Davis, Micheal | CenterPoint Energy | Via Teleconference |
| Dietert, Cole | EPE Consulting | Via Teleconference |
| Dumas, John | LCRA |  |
| Egunjobi, Ransome | LCRA | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Fox, Kip | ETT/AEP |  |
| Galliguez, Percy | Brazos | Via Teleconference |
| Giffin, Blair | Lone Star Transmission | Via Teleconference |
| Gillean, Rick | Rayburn Electric |  |
| Gross, Blake | AEP SC |  |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hithersay, Brian | Brazos | Via Teleconference |
| Huber, Grant | Cypress Creek Renewables |  |
| Jackson, Jimmy | CPS Energy |  |
| Jones, Randy | Mountaineer | Via Teleconference |
| Juricek, Michael | Oncor | Via Teleconference |
| Kremling, Barry | GUEC |  |
| Mathew, Biju | LCRA |  |
| Minchew, Christina | WETT | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Nagarajan, Ranya | DNV GL |  |
| Olapurayil, Gimod | Trade Wind Energy | Via Teleconference |
| Oltmanns, Steven | GE | Via Teleconference |
| Phipps, Cody | WETT |  |
| Powell, Christian | PEC |  |
| Preas, Dylan | LCRA | Via Teleconference |
| Rainwater, Kim | Environmental Defense Fund |  |
| Ravulapati, Bharath | CTT |  |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Rutka, Anthony | EPE Consulting | Via Teleconference |
| Sams, Bryan | Lone Star Transmission |  |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Siddiqi, Shams | Crescent Power Inc. |  |
| Smith, Chase | Southern Power | Via Teleconference |
| Somayajulu, Raman | Enel | Via Teleconference |
| Stanfield, Leonard | Invenergy |  |
| Turner, David | Lone Star Transmission | Via Teleconference |
| Van Arkel, Matt | Wind Energy of Texas | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| White, Camden | LCRA | Via Teleconference |
| Whittington, Pam |  | Via Teleconference |
| Whittle, Brandon | Calpine |  |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Woelfel, Eric | Formosa Utiltiy Venture |  |
| Woodruff, Taylor | Oncor |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |
| Younger, Joseph | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Aldridge, Joshua |  | Via Teleconference |
| Bezzam, Joseph |  | Via Teleconference |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Borkar, Sandeep |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  |  |
| Curry, Marshall |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Jones, Dan |  |  |
| Kane, Erika |  | Via Teleconference |
| Lasher, Warren |  |  |
| Manning, Brian |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Sham, Pam |  | Via Teleconference |
| Solis, Stephen |  |  |
| Stewart, Mike |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Thompson, Lori |  | Via Teleconference |
| Wattles, Paul |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the February 7, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

November 8, 2018

January 10, 2019

David DeTullio moved to approve the November 8, 2018 and January 10, 2019 ROS meeting minutes as submitted.  Billy Lee seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Bunch reviewed the disposition of items considered at the January 30, 2019 TAC meeting.  Diana Coleman reminded Market Participants of the Real-Time Co-optimization Workshop on March 6, 2019 following the Wholesale Market Subcommittee (WMS) meeting.

- 2019 ROS Working Group and Task Force Leadership

Ms. Coleman moved to approve the 2019 ROS working group and task force leadership as submitted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Dan Woodfin stated that Freddy Garcia of ERCOT was willing to serve as the Vice Chair of the Black Start Working Group (BSWG) and encouraged Market Participants to consider the Chair position.

- 2019 ROS Goals

Market Participants reviewed 2018 Goals and offered clarifications to develop 2019 Goals, including Real-Time co-optimization and energy storage.  Mr. Bunch requested that Market Participants offer any additional revisions to the 2019 Goals for consideration at the March 7, 2019 ROS meeting.

- ERCOT Updates

Operations Report

Mr. Garcia reviewed the December 2018 Operations Report.

System Planning Report

Jeff Billo presented the December 2018 System Planning Report, reviewed the Panhandle model study, and stated that the study analysis is anticipated to be completed at the end of March 2019 and the results would be presented at the April 16, 2019 Regional Planning Group (RPG) meeting.

Southern Cross Directive 5, Determination of Planning Model Assumptions and Considerations

Mr. Billo reviewed recent clarifications to the ERCOT Determination for Directive 5, Planning Model Assumptions and Considerations.  Market Participants offered additional administrative clarifications.

Clayton Greer moved to endorse the Determination Summary for Southern Cross Directive 5, Planning Model Assumptions and Considerations, as revised by ROS.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Energy Storage Telemetry Requirements and ICCP Handbook Update

Warren Lasher reminded Market Participants of the November 8, 2018 ROS discussion on proposed changes to the ERCOT Nodal ICCP Communication Handbook to include five new telemetry points for battery energy storage devices as reviewed at the Network Data Support Working Group (NDSWG) and the QSE (Qualified Scheduling Entity) Managers Working Group (QMWG) meetings. In response to Market Participants’ questions on specific technical requirements for battery storage, Mr. Lasher stated that the proposed changes to the ERCOT Nodal ICCP Communication Handbook would effectuate increased visibility for control room operators upon implementation and that other issues identified in upcoming energy storage workshops could be considered in long term solutions.

Mr. Greer moved to endorse the changes to the ERCOT Nodal ICCP Communication Handbook as submitted.  Marty Downey seconded the motion.  The motion carried unanimously.

WAN Technology Update

Mike Stewart summarized the benefits and impacts of the future Wide Area Network (WAN) technology upgrade.

CREZ Outage Update

Kip Fox summarized the Outage process in the Competitive Renewable Energy Zone (CREZ), reviewed the tower arm replacement challenges and timeline, and stated that the expected duration of Outages are projected in the Outage Scheduler through 2021.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 913, Generator Interconnection Neutral Project Classification

Walter Reid reviewed NPRR913.  Mr. Billo summarized the history of the issues and previous discussions that yielded no consensus at the Planning Working Group (PLWG).  Some Market Participants expressed concern for the Shift Factor and consistency with other planning studies.  Other Market Participants opposed NPRR913 and stated that it is a fundamental change in philosophy on how development risk and costs are allocated in the ERCOT market.  Market Participants and ERCOT Staff discussed the technical aspects of NPRR913 and noted that policy decisions are not suited for ROS discussion.   Market Participants requested PLWG review the Shift Factor and proposed methodology for consistency with other transmission planning studies and provide recommendations to ROS.

Eithar Nashawati moved to recommend PRS continue to table NPRR913 for additional review by the PLWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs)

Dan Jones summarized NPRR917.  Market Participants and ERCOT Staff discussed the financial and reliability impacts of NPRR917.

Mr. Greer moved to make no recommendation regarding NPRR917 and noted that NPRR917 does not create any reliability impacts that require further consideration by ROS at this time.  Mr. Downey seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process

Mr. Bunch summarized the history of NPRR896, reviewed the 2/7/19 WMS comments and requested the PLWG take up the issues.

Review of Revision Request Language & Impact Analyses

Language Review

Nodal Operating Guide Revision Request (NOGRR) 184, Related to NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

Eric Woelfel summarized NOGRR184, reviewed the scenario for their Resources that resulted in a constant High Sustained Limit (HSL) of zero, and stated that the exclusion is to reduce or eliminate unnecessary Primary Frequency Response model validation testing.  Market Participants requested additional information from the Performance Disturbance Compliance Working Group (PDCWG) regarding the practice of Resources showing an HSL of zero for extended periods of time.

Mr. Greer moved to table NOGRR184 and refer the issue to the PDCWG.  Eric Goff seconded the motion.  The motion carried unanimously.

Mr. Bunch requested the PDCWG consider NOGRR184 and NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks concurrently, and provide clarification on the North American Electric Reliability Corporation (NERC) Rules and Standards.

Resource Registration Glossary Revision Request (RRGRR) 020, Clarify Planning Model Requirements

Mr. Greer moved to recommend approval of RRGRR020 as submitted.  Mr.  Downey seconded the motion.  The motion carried unanimously.

Impact Analyses

There were no Impact Analyses for consideration.

Revision Requests Tabled at ROS

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

Rick Gillean reviewed recent OWG activities, including discussion of OWG and the Outage Coordination Working Group (OCWG) maximizing meeting efficiencies.  Mr. Gillean summarized OWG discussions on NPRR849 and the 1/22/19 ERCOT comments.  Stephen Solis reviewed the history of NPRR849 and reminded Market Participants of the extensive vetting at the ERCOT workshops and OWG meetings. Some Market Participants expressed concern for the compliance issues, tolerance clarifications and preserving grandfathering for repowered Generation Resources and requested additional review of the issues by the OWG.  Mr. Bunch requested OWG develop problem statements for the issues NPRR849 is attempting to resolve and develop options for ROS consideration, provide a recommendation regarding if those issues would be best resolved in one or multiple Revision Requests and identify consensus vs. non consensus items.

Outage Coordination Working Group (OCWG)

Martha Henson reviewed recent OCWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

VPWG Procedure Manual Update

Biju Mathew reviewed recent VPWG activities and stated that revisions to the VPWG Procedure Manual were still being developed and were anticipated to be brought forth for ROS consideration in March or April 2019.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Wes Woitt summarized recent SSWG activities.   The SSWG Procedure Manual was deferred to the March 7, 2019 ROS meeting.

System Protection Working Group (SPWG)

SPWG Procedures Update

Mike Davis summarized recent SPWG activities and reviewed clarifications to the SPWG Procedures.

Mr. Greer moved to approve the SPWG Procedures as submitted.  Mr. Woitt seconded the motion.  The motion carried unanimously.

Other Business (see Key Documents)

Review of Open Action Items

This item was deferred to the March 7, 2019 ROS meeting.

Modeling Task Force Discussion

Mr. Bunch summarized the history of the Dynamic Modeling Task Force (DMTF) that sunset in 2018, noted the current issues with vendor submittals, and stated that ERCOT Staff would provide an update at the March 7, 2019 ROS meeting.

Posted Working Group and Task Force Reports

- PDCWG

- NDSWG

- Operations Training Working Group (OTWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

No Report

- BSWG

- PLWG

Adjournment

Mr. Bunch adjourned the February 7, 2019 ROS meeting at 1:28 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/2/7/165173-ROS