## Slide 1: Sample of Transmission Outage Extension & Auction Timing
What are the reasons for multiple times of extension?
Since these were more than 2 weeks extension, should it be known ahead of time?
Why submitting a new outage in short of time and passing the monthly auction closed deadline?
These transformers are not in High Impact Transmission Element (HITE)
Proposal:
Able to add new transmission elements to the HITE list in current year
TO is working with RE for potential extending outage across month