## Slide 1
Resource Cost Working Group
April 3, 2019
WMS Update
1

## Slide 2: Auxiliary Equipment Power Costs Allocation
<number>
Background
Some Generators currently operate auxiliary equipment utilizing power from third service providers and want to recover the costs of electricity as a variable cost in verifiable costs (VC).
The VC Manual states that Heat Rates should be based on Net Output, implying that auxiliary power is supplied by the plant generator.
VC Manual also states that auxiliary equipment power consumption costs may be recovered with VC, but unclear if this applies to all aux equipment.
ERCOT presented several options at RCWG to include power costs:
  As a variable cost in O&M
  Consumption (KWhs) of auxiliary equipment in heat rates
  Not include in either a) or b) above

## Slide 3: Auxiliary Equipment Power Costs Allocation
<number>
RCWG members discussed the three options presented by ERCOT and seemed to focused discussion on options a) and b):
  As a variable cost in O&M
  Consumption (KWhs) of auxiliary equipment in heat rates
Option | Advantages | Disadvantages
a) | Recovery of actual power costs in O&M. | Power costs subject to negotiated rates. Difficult to set a cap on electricity rates.
b) | Consistent with the Heat Rates based on Net Output. No need to set a cap on power rates. | Resource may not be able to fully recover its power costs.

## Slide 4: Auxiliary Equipment Power Costs Allocation
<number>
  RCWG members asked ERCOT to check with the two entities impacted on whether Option b) was acceptable.
  Both entities impacted stated that they prefer Option a).
  As a variable cost in O&M
  Consumption (KWhs) of auxiliary equipment in heat rates
  RCWG will have to continue discussing options.