DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 7, 2019 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative | Alt. Rep. for John Moore |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Gross, Blake | AEPSC | Alt. Rep. for Dennis Kunkel |
| Hall, Tim | Southern Power Co. |  |
| Haley, Ian | Luminant Generation |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos |  |
| Lee, Billy | Garland Power and Light |  |
| Lona, Robert | TNMP | Alt. Rep. for Tony Hudson |
| Marr, Daniel | LCRA | Alt. Rep. for Kris Koellner |
| Matt, Kevin | Reliant Energy Retail Services | Alt. Rep. for Bill Barnes |
| Mercado, David | CenterPoint Energy | Alt. Rep. for Wes Woitt |
| Nashawati, Eithar | Oncor |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Elia Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Smith, Caitlin | Invenergy |  |
| Staples, Boone | Tenaska Power Services | Via Teleconference |
| Valagura, Bill | Calpine Corporation |  |

| Guests: |  |  |
| --- | --- | --- |
| Abe, Jonathan | Pattern Energy |  |
| Abbott, Kristin | PUCT | Via Teleconference |
| Amahatsion, Aster | AEP SC | Via Teleconference |
| Blakenship, David | CenterPoint Energy | Via Teleconference |
| Brahman, Azade | DNV GL | Via Teleconference |
| Bruce, Mark | Cratylus Advisors | Via Teleconference |
| Carter, Matt | Garland Power and Light |  |
| Checkley, Jim | CTT |  |
| Cook, Tim | CTT |  |
| Egunjobi, Ransome | LCRA | Via Teleconference |
| Floyd, Rickey | Oncor |  |
| Gillean, Rick | Rayburn Electric |  |
| Griffin, Blair | Lone Star Transmision |  |
| Grimshaw, James | CPS Energy |  |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Henson, Martha | Oncor | Via Teleconference |
| Hithersay, Brian | Brazos | Via Teleconference |
| Hughes, Darren | LCRA | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jackson, Jimmy | CPS Energy |  |
| Jones, Randy | Mountaineer | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lange, Clif | South Texas Electric Cooperative | Via Teleconference |
| Mathew, Biju | LCRA |  |
| McCamant, Frank | McCamant Consulting | Via Teleconference |
| Memic, Amir | Lone Star Transmission |  |
| Minchew, Christina | WETT | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Nagarajan, Ranya | DNV GL |  |
| Oberski, Nicholas | LCRA | Via Teleconference |
| Oltmanns, Steven | GE Energy Consulting | Via Teleconference |
| Ottaway, Cindy | CTT | Via Teleconference |
| Powell, Christian | PEC |  |
| Rainwater, Kim | Environmental Defense Fund |  |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Advanced Power Alliance and AWEA |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Ryall, Jean | Advanced Power Alliance |  |
| Sams, Bryan | Lone Star Transmission |  |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Singer, Chad | Trane | Via Teleconference |
| Stanfield, Leonard | Invenergy |  |
| Turner, Lucas | South Texas Electric Cooperative | Via Teleconference |
| Urquidez, Omar | Burns and McDonnell |  |
| Velasquez, Ivan | Oncor |  |
| Warren, John | LCRA |  |
| White, Camden | LCRA | Via Teleconference |
| Whittington, Pam |  | Via Teleconference |
| Whitworth, Dough | Texas Reliability Entity | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Woodruff, Taylor | Oncor |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Connor |  | Via Teleconference |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Chang, Sean |  |  |
| Clifton, Suzy |  |  |
| Curry, Marshall |  |  |
| Day, Betty |  | Via Teleconference |
| Fohn, Douglas |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Huang, Fred |  |  |
| Kane, Erika |  | Via Teleconference |
| Mereness, Matt |  |  |
| Miller, Megan |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the March 7, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

# Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order for which items would be taken up.

# Approval of Meeting Minutes (see Key Documents)

February 7, 2019

David DeTullio moved to approve the February 7, 2019 ROS meeting minutes as submitted.  Tony Hudson seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Bunch reminded Market Participants that TAC did not meet in February 2019.

2019 ROS Goal (see Key Documents)

Market Participants reviewed 2019 ROS Goals and offered clarifications.

Diana Coleman moved to approve the 2019 ROS Goals as revised by ROS.  Blake Gross seconded the motion.  The motion carried unanimously.

# ERCOT Updates (see Key Documents)

Operations Report

Freddy Garcia reviewed the January 2019 Operations Report.

System Planning Report

Jeff Billo presented the January 2019 System Planning Report and summarized the 2019 Regional Transmission Plan case building study process.  Mr. Billo reviewed the Panhandle model study and analysis and stated that it is anticipated to be completed at the end of March 2019, the results would be presented at the April 16, 2019 Regional Planning Group (RPG) meeting and then posted to the MIS.  In response to Market Participant questions on the timeline and resulting impacts to the market, Mr. Billo stated ERCOT continues to focus on developing the analysis and will begin working internally to further consider the issues.  Mr. Billo announced the April 25, 2019 Inverter-Based Resources Workshop.

Defining Solar Regions in ERCOT

Sean Chang presented proposed solar regions based on current and future capacity.  Market Participants noted the difficulty of adding additional zones once established and requested ERCOT provide analysis of the market impacts, data used to determine regions, different number of regions and zone names.

Final GIC Flow Summary for Benchmark GMD Event

Ping Yan presented the Final Geomagnetically Induced Currents (GIC) Flow Summary for benchmark Geomagnetic Disturbance (GMD) events.

# Southern Cross Transmission Update

Southern Cross Transmission Assignment Directive 3, Determination of Ramp Rate Restrictions

Matt Mereness reviewed the history of the Southern Cross Transmission directives, summarized Directive 3 and requested ROS direction.   Market Participants discussed the issues.  Mr. Bunch requested the Performance, Disturbance, Compliance Working Group (PDCWG) review the issues in an open forum.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

Clayton Greer moved to recommend PRS continue to table NPRR919 for additional review by the PDCWG.  Eric Goff seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process

Mr. Greer moved to endorse NPRR896 as submitted.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

NPRR913, Generator Interconnection Neutral Project Classification

ROS took no action on this item.

Review of Revision Request Language & Impact Analyses

Language Review

Planning Guide Revision Request (PGRR) 069, Related to NPRR921, RTF-2 Elimination of the Terms All-Inclusive Generation Resource and All-Inclusive Resource

Marty Downey moved to recommend approval of PGRR069 as submitted.  Mr. Greer seconded the motion.  The motion carried unanimously.

PGRR070, Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments

Kevin Matt moved to table PGRR070 and refer the issue to the Planning Working Group (PLWG) and the Planning Geomagnetic Disturbance Task Force (PGDTF).  Mr. Greer seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 185, Related to NPRR921, RTF-2 Elimination of the Terms All-Inclusive Generation Resource and All-Inclusive Resource

Mr. Goff moved to waive notice for the consideration of NOGRR185.  Mr. Downey seconded the motion.  The motion carried unanimously.

Mr. Downey moved to recommend approval of NOGRR185 as submitted.  Mr. Greer seconded the motion.  The motion carried unanimously.

Impact Analysis

Resource Registration Glossary Revision Request (RRGRR) 020, Clarify Planning Model Requirements

Ms. Coleman moved to endorse and forward to TAC the 2/7/19 ROS Report and Impact Analysis for RRGRR020.  Mr. Greer seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

NOGRR184, Related to NPRR919, Exemption from Governor Primary Frequency Response Control for Certain Resources in Private Use Networks

ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

OWG Scope

Rick Gillean reviewed recent OWG activities and provided an update on NPRR849.  Market Participants provided clarifications to the OWG Scope.

Mr. Gross moved to approve the OWG Scope as revised by ROS.   Ian Haley seconded the motion.  The motion carried unanimously.

Revised HITEs Methodology

Mr. Gross moved to waive notice to consider the revised High Impact Transmission Elements (HITEs) List methodology.  Ms. Coleman seconded the motion.  The motion carried unanimously.

Mr. Gross moved to approve the HITEs List Methodology as submitted.  Ms. Coleman seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Brian Hithersay reviewed recent SSWG activities and summarized clarifications in the SSWG Procedure Manual.

Mr. Greer moved to approve the SSWG Procedure Manual as submitted.  Mr. Gross seconded the motion.  The motion carried unanimously.

Black Start Working Group (BSWG) (see Key Documents)

2019 BSWG Leadership

Mr. Greer moved to approve Tony Kroskey as the 2019 BSWG Chair.  Mr. Downey seconded the motion.  The motion carried unanimously.

Mr. Garcia reviewed recent BSWG activities.

PGDTF see (Key Documents)

PGDTF Scope

Mr. Gross moved to waive notice to consider the PGDTF Scope.  Ms. Coleman seconded the motion.  The motion carried unanimously.

Ms. Coleman moved to approve the PGDTF Scope as submitted.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

GIC System Model Procedure Manual

Mr. Gross moved to waive notice to consider the GIC System Model Procedure Manual.  Mr. Nashawati seconded the motion.  The motion carried unanimously.

Leslie Williams reviewed the clarifications to the GIC System Model Procedure Manual.  Market Participants made administrative clarifications.

Mr. Gross moved to approve the GIC System Model Procedure Manual as revised by ROS.  Mr. Nashawati seconded the motion.  The motion carried unanimously.

PDCWG

Chad Mulholland reviewed recent PDCWG activities.

PLWG

Tim Cook reviewed recent PLWG activities.

Other Business (see Key Documents)

Modeling Task Force Discussion

Fred Huang reviewed the history of the Dynamic Model Task Force (DMTF), presented the dynamic model guidelines and issues in vendor submittals, and summarized ongoing efforts by ERCOT and the Dynamics Working Group (DWG) for solutions.  Mr. Huang stated that ERCOT was challenged in active participation by Resource Entities and requested Market Participants input.  Market Participants discussed the issues and potential forums to address the issues in consideration of future DWG meetings.   ERCOT Staff offered to take up the issues at the March 21, 2019 Resource Integrations Workshop and the April 25, 2019 Inverter-based Resources Workshop.  Mr. Bunch requested the DWG discuss the issues in an open forum at the May 21, 2019, if necessary.

Review of Open Action Items

Market Participants reviewed the Open Action Items.

No Report

- Black Start Working Group (BSWG)

- DWG

- Operations Training Working Group (OTWG)

- Network Data Support Working Group (NDSWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the March 7, 2019 ROS meeting 11:56 a.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/3/7/165177-ROS