| PGRR Number | 070 | PGRR Title | Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments |
| --- | --- | --- | --- |

| Date | April 3, 2019 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Larisa Loyferman |
| E-mail Address | larisa.loyferman@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2499 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

CNP appreciates ERCOT’s and the PGDTF’s efforts and the urgency with which stakeholders have worked together to align the Planning Guide to the Revised Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments as required by newly-approved North American Electric Reliability (NERC) Reliability Standard TPL-007-2.  CNP also appreciates the opportunity to provide input into the associated Planning Guide Revision Request and offers the following comments to PGRR070:

Regarding paragraphs (1) and (1)(a) of Section 3.1.8, Planning Geomagnetic Disturbance (GMD) Activities, CNP supports ERCOT’s approach to keep the current language as was proposed by ERCOT and PGDTF, and was approved by PLWG in their 03/25/2019 PGRR070 submittal. This approach adequately characterizes activities for developing and maintaining the ERCOT Geomagnetically-Induced Current (GIC) system models and for performing simulations to identify maximum effective GIC flow in the high side wye-grounded transformers for the worst case geoelectric field orientation for each transformer for the benchmark and supplemental GMD events.

Regarding paragraph (2) of Section 3.1.8, CNP agrees with ERCOT’s approach to reverse the language in paragraph (2) to the original version to adequately address NRG’s concern in the transformer thermal assessment scope to align language in Planning Guide with TPL-007-2 applicable facilities.  CNP also agrees with ERCOT’s approach to accept NRG’s proposal to extend the transformer thermal assessment deadline from 12 months to 18 months.

Regarding paragraph (2) of Section 6.11, CNP supports ERCOT’s approach to not accept NRG’s proposed revision, which if accepted, would change the approved scope of the GMD Vulnerability Assessment.  CNP agrees that the ERCOT-proposed language in paragraph (2) of Section 6.11 is consistent with the existing language.

To meet a regulatory deadline to have revised Planning Guide language in place by July 1, 2019, the ERCOT proposal should be approved. CNP recommends NRG submit a separate Planning Guide Revision Request (PGRR) to address their concerns.

Revised Cover Page Language

None

Revised Proposed Guide Language

None