## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
04/04/2019

## Slide 2: NPRR 849, Clarification of the range of Voltage Set Points at a Generation Resources' Point of Interconnection (POI)
This Nodal Protocol Revision Request (NPRR) clarifies the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet and clarifies the ability of ERCOT and the TSP or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements.
Problem statements were presented and discussed with options.
It was agreed to allow the options to be reviewed by each entity and try to reach a consensus at the next OWG meeting.

## Slide 3: NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements
This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-012-2 - Remedial Action Schemes.
Documentation describing the system performance resulting from the possible inadvertent operation of the RAS or failure to operate. RAS inadvertent operation or failure to operate must satisfy all of the following:
a. The ERCOT System shall remain stable;
b. Cascading shall not occur;
c. Applicable Transmission Facility Ratings shall not be exceeded;
d. ERCOT System voltages shall be within post-contingency voltage limits and post-contingency voltage deviation limits as established by ERCOT; and
e. Transient voltage responses shall be within acceptable limits as established by ERCOT.
Still tabled pending more discussion with ERCOT