## Slide 1
Approaching the RTC Elements
Dave Maggio
April 4, 2019

## Slide 2: Acronyms
Ancillary Services (AS)
Current Operating Plan (COP)
Day-Ahead Market (DAM)
Energy Offer Curve (EOC)
ERCOT Contingency Reserve Service (ECRS)
High Ancillary Service Limit (HASL)
High Sustained Limit (HSL)
Load Frequency Control (LFC)
Locational Marginal Price (LMP)
Low Ancillary Service Limit (LASL)
Low Sustained Limit (LSL)
Market Clearing Price for Capacity (MCPC)
Nodal Protocol Revision Request (NPRR)
Non-Spinning Reserve (Non-Spin)
Operating Reserve Demand Curve (ORDC)
Qualified Scheduling Entity (QSE)
Real-Time Co-optimization (RTC)
Real-Time Market (RTM)
Regulation Down (Reg-Down)
Regulation Up (Reg-Up)
Reliability Unit Commitment (RUC)
Resource Limit Calculator (RLC)
Responsive Reserve Service (RRS)
Security-Constrained Economic Dispatch (SCED)
Supplemental Ancillary Service Market (SASM)
System-Wide Offer Cap (SWOC)
Under-Frequency Relay (UFR)
Value of Lost Load (VOLL)

## Slide 3: What are the High-Level Elements of RTC?
RTM and AS deployment
RUC
SASM (removal of the process)
DAM
Reporting, both internal and external
Performance monitoring

## Slide 4: How Should Each of These Elements be Approached?
Need sufficient understanding to develop Protocol language and requirements
For each of the elements, need to address the following questions:
  Does this element need to change?
  If so, how do the current processes or functions need to be modified?
  To accommodate those modifications:
    How do the Market Participant → ERCOT data flows need to change (i.e., element inputs)?
    How do the ERCOT → Market Participant data flows need to change (i.e., element outputs)?
    Does settlement need to change, and if so, how?
This will be a useful tool for guiding task force discussions on each of the elements
Expect iterations with the task force to go over these questions and develop “chapters” for the elements

## Slide 5: How Should Each of These Elements be Approached?
DAM
RUC
RTM and AS Deployment
Reporting
Performance Monitoring
SASM
Inputs
Inputs
Inputs
Inputs
Inputs
Outputs
Outputs
Outputs
Outputs
Outputs
Settlement
Settlement
Settlement

## Slide 6: RTM and AS Deployment
This element needs to change; high-level discussions have occurred on what some of the process and function changes should be.
  This area includes the AS manager and LFC
  There are several details that will drive the answers to the questions below (i.e., participation rules).
Market Participant → ERCOT and other input changes
  Telemetry (i.e., ability or inability to provide AS)
  RLC
    Currently used to condense information for SCED, such as calculating dispatch limits
    How that info is condensed will need to change
  AS demand curves
  AS offers
  AS award limitations
    Amount of UFR RRS unable to arm/disarm
    Interface for operator to address AS infeasibility concerns (i.e., where deployment of Reg-Up is leading to a constraint violation)

## Slide 7: RTM and AS Deployment
ERCOT → Market Participant changes
  Telemetry
  AS awards
  AS prices
  Removing the current ORDC price adders
Settlement changes
  Removal of current AS imbalance process
  Addition of new AS imbalance process that will be AS product specific
  Rules for managing case where AS on a resource has been deemed infeasible (i.e., where deployment of Reg-Up is leading to constraint violations)
  Discussion on energy/award weighting for Load Resources pricing

## Slide 8: RUC
RUC will be modified to co-optimize energy and AS, although base points and AS assignments are not binding
  Will answer the question: “Given the resources planned to be on-line, can power balance and minimum AS requirements be met, and can congestion be resolved?”
Market Participant → ERCOT and other input changes
  COPs
    What changes are required to the COP data fields?
  May need a separate mode for indicating an inability to provide AS
  AS qualification, including MW qualification for validation
  AS offers
  Minimum AS requirements that could potentially be increased, similar to the capability under SASM
  Discussion on use of ramp rate curves to determine AS capability

## Slide 9: RUC
ERCOT → Market Participant changes
  Qualified AS capability excess or shortages relative to the minimum AS requirements
Settlement changes
  Updated method to determine capacity shortages for allocation of RUC make-whole costs
  Updated method for determining claw-back amounts

## Slide 10: SASM
SASM goes away
  Includes the removal of all associated procedures, Protocols, reporting and settlement

## Slide 11: DAM
DAM doesn’t inherently need to change under RTC; however, changes are under discussion that may require some of the following:
Market Participant → ERCOT changes
  AS offers that aren’t tied to a specific resource
  AS bids
  AS demand curves
  Impacts to self-arrangement, especially in the presence of AS bids
ERCOT → Market Participant changes
  Cleared AS offers that aren’t tied to a specific resource
  Cleared AS bids
Settlement changes?
  Changes to the existing allocation of AS costs, if AS bids are created

## Slide 12: Reporting
At a minimum, new reports will be needed for the awarding (MW and price information)
Would also retire some of the existing reporting (i.e., reports related to SASM and ORDC price adders)
Expect to identify other reports that will be needed as process, input and output changes become more clear

## Slide 13: Performance Monitoring
At a minimum, some of the methods that are currently used to monitor performance will become obsolete (i.e., the change of RRS schedule telemetry within 1 minute to update HASLs)
Like reporting, this is an important element of RTC, but the necessary modifications will likely become more clear as other process, input and output changes become more clear