## Slide 1
Discussion on Prioritization for Future Task Force Meetings
Dave Maggio
April 4, 2019

## Slide 2: Acronyms
Ancillary Services (AS)
Current Operating Plan (COP)
Day-Ahead Market (DAM)
Energy Offer Curve (EOC)
ERCOT Contingency Reserve Service (ECRS)
High Ancillary Service Limit (HASL)
High Sustained Limit (HSL)
Load Frequency Control (LFC)
Locational Marginal Price (LMP)
Low Ancillary Service Limit (LASL)
Low Sustained Limit (LSL)
Market Clearing Price for Capacity (MCPC)
Nodal Protocol Revision Request (NPRR)
Non-Spinning Reserve (Non-Spin)
Operating Reserve Demand Curve (ORDC)
Qualified Scheduling Entity (QSE)
Real-Time Co-optimization (RTC)
Real-Time Market (RTM)
Regulation Down (Reg-Down)
Regulation Up (Reg-Up)
Reliability Unit Commitment (RUC)
Resource Limit Calculator (RLC)
Responsive Reserve Service (RRS)
Security-Constrained Economic Dispatch (SCED)
Supplemental Ancillary Service Market (SASM)
System-Wide Offer Cap (SWOC)
Under-Frequency Relay (UFR)
Value of Lost Load (VOLL)

## Slide 3: What are the High-Level Elements of RTC?
RTM and AS deployment
RUC
SASM (removal of the process)
DAM
Reporting, both internal and external
Performance monitoring

## Slide 4: Discussion on Prioritization of the RTC Elements
How ERCOT has been thinking about prioritization:
  In the near-term, focusing on items that are less dependent on the discussion under Project No. 48540 at the PUCT
    i.e., Changes associated with RUC, removal of SASM, methodology for calculating AS imbalance, management of AS deliverability concerns, etc.
  Will eventually need to develop principles/deliverables for the items at the PUCT
  Generally moving in the order of: RTM and AS deployments, RUC, SASM, DAM, reporting and performance monitoring
  Looking at items where there is already a significant level of consensus

## Slide 5: High-Level View of 2/28/19 Questions at the PUCT Under Project No. 48540 *
Values of and processes for establishing SWOC and VOLL
Set of AS products under RTC (i.e., those approved under NPRR 863)
Basis for development of the AS demand curves
Rules for AS participation, including:
  The current physical binding nature of DAM AS awards
  Existing or new market rules that should apply to the offering of AS in real time
  Requirement of qualified capacity to offer AS
Other market rules specific to AS
Monitoring of AS performance
Other policy issues
* http://interchange.puc.texas.gov/Documents/48540_33_1009831.PDF

## Slide 6: Items for Near-Term Focus
In the near-term, plan is to focus on RTM and AS deployment items that aren’t directly dependent on questions being considered at the PUCT:
  RLC
  Real-time AS imbalance
  LFC
  AS manager
  AS offer structure
Discussion on these items will drive answers to others questions, like changes in the data flows between Market Participants and ERCOT.
In our first iterations, expect to start with background and context that will drive toward future iterations and consensus.

## Slide 7: Feedback for Future Task Force Meetings
In preparation for the RTC Task Force meeting, ERCOT is looking for feedback on prioritizing the RTC elements and discussion.
Provide that feedback to ERCOT for consideration by close of business on April 11 via email (David.Maggio@ercot.com).