## Slide 1
Calculation of RRS Limits for NPRR 863
ERCOT
Operations Planning
PDCWG | April 10, 2019

## Slide 2: Concerns with RRS Limit Calculations
Number of large frequency events is limited
  Improved unit performance improves B and C points for events
  Smaller events show higher RRS Limits
Alternatives to BAL-TRE-001
  Delta Frequency > 100 mHz
  Evaluation at 12s-20s. Analysis shows data latency degrades calculations
  Unit Primary Frequency Response vs Unit Ramping
  Consider Dynamic Models for Analysis.
Combined Cycle Plants
  Configuration at time of Event impacts the RRS MW Limit for the CC
Other
  RRS % Limit should be capped at 20%
  Suggested to use Median of performance
Notes: Do we need different criteria for events?
If Dynamic models show 15% but Performance shows 20% which value is used?
Should Evaluation of events remain at 8 as BAL-TRE-001 does?
No Ramp Magnitude included in calculations
CCs are not evaluated in BAL-TRE when near HSL

## Slide 3: Questions?
Thank you!