## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for March 2019

## Slide 2: Non-IRR GREDP < 85% – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 228 | 227 | 269 | 1.25 | 84.39
Unit 256 | 36 | 44 | 1.45 | 81.82
Unit 279 | 4 | 5 | 0.59 | 80.00
Unit 284 | 0 | 2 | 1.87 | 0.00

## Slide 3: IRR Summary – March 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.06 | 66.48 | 82.69
GREDP Median (%) | 95.27 | 82.59 | 86.40
Average MW Error | 3.48 | 3.54 | 3.96
Median MW Error | 3.26 | 3.38 | 3.71
Total Intervals Scored | 66,893 | 27,492 | 26,728
100+ Intervals Scored | 86 | 104 | 40
Total Intervals Scored Average | 348.40 | 387.21 | 668.20

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,861 | 2,899 | 3.01 | 98.69
Unit 3 | 2,356 | 2,471 | 5.63 | 95.35
Unit 4 | 1,932 | 1,960 | 2.92 | 98.57
Unit 5 | 1,926 | 1,956 | 3.02 | 98.47
Unit 6 | 1,777 | 1,867 | 4.04 | 95.18
Unit 7 | 1,578 | 1,598 | 3.77 | 98.75
Unit 12 | 1,397 | 1,409 | 1.13 | 99.15
Unit 14 | 1,338 | 1,394 | 3.95 | 95.98
Unit 15 | 1,332 | 1,385 | 3.52 | 96.17
Unit 16 | 1,294 | 1,303 | 3.39 | 99.31
Unit 17 | 1,241 | 1,301 | 3.64 | 95.39
Unit 19 | 1,149 | 1,161 | 7.85 | 98.97
Unit 21 | 1,032 | 1,078 | 2.68 | 95.73

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 22 | 965 | 980 | 1.55 | 98.47
Unit 23 | 952 | 958 | 1.54 | 99.37
Unit 26 | 904 | 906 | 3.23 | 99.78
Unit 27 | 887 | 900 | 2.21 | 98.56
Unit 28 | 898 | 898 | 6.10 | 100.00
Unit 30 | 866 | 866 | 5.02 | 100.00
Unit 32 | 743 | 766 | 2.84 | 97.00
Unit 33 | 728 | 759 | 2.63 | 95.92
Unit 34 | 703 | 725 | 2.95 | 96.97
Unit 40 | 619 | 644 | 3.49 | 96.12
Unit 41 | 616 | 637 | 1.91 | 96.70
Unit 42 | 616 | 633 | 2.74 | 97.31
Unit 43 | 627 | 627 | 4.05 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 521 | 541 | 2.65 | 96.30
Unit 46 | 512 | 529 | 3.48 | 96.79
Unit 47 | 510 | 515 | 3.45 | 99.03
Unit 48 | 499 | 511 | 3.28 | 97.65
Unit 49 | 497 | 504 | 4.19 | 98.61
Unit 53 | 438 | 443 | 2.67 | 98.87
Unit 54 | 425 | 443 | 2.62 | 95.94
Unit 55 | 406 | 406 | 3.12 | 100.00
Unit 56 | 380 | 399 | 0.88 | 95.24
Unit 61 | 345 | 362 | 9.11 | 95.30
Unit 64 | 328 | 343 | 4.85 | 95.63
Unit 67 | 320 | 322 | 3.02 | 99.38
Unit 70 | 290 | 293 | 2.74 | 98.98

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 73 | 239 | 250 | 2.86 | 95.30
Unit 79 | 175 | 175 | 3.57 | 100.00
Unit 82 | 133 | 137 | 4.48 | 97.08
Unit 83 | 124 | 124 | 4.96 | 100.00
Unit 84 | 117 | 120 | 2.53 | 97.50
Unit 86 | 108 | 108 | 1.70 | 100.00

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,650 | 2,850 | 3.46 | 92.98
Unit 8 | 1,420 | 1,525 | 2.78 | 93.11
Unit 9 | 1,326 | 1,482 | 4.59 | 89.47
Unit 10 | 1,249 | 1,447 | 4.98 | 86.32
Unit 11 | 1,182 | 1,442 | 5.42 | 81.97
Unit 13 | 1,178 | 1,408 | 2.14 | 83.66
Unit 18 | 1,099 | 1,222 | 2.50 | 89.93
Unit 20 | 1,023 | 1,097 | 3.23 | 93.25
Unit 24 | 814 | 931 | 4.04 | 87.43
Unit 25 | 812 | 918 | 3.63 | 88.45
Unit 29 | 775 | 895 | 4.31 | 86.59
Unit 31 | 407 | 826 | 5.62 | 49.27
Unit 35 | 654 | 705 | 5.34 | 92.77

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 615 | 702 | 4.99 | 87.61
Unit 37 | 593 | 699 | 6.71 | 84.84
Unit 38 | 597 | 691 | 2.73 | 86.40
Unit 39 | 647 | 683 | 4.39 | 94.73
Unit 44 | 380 | 588 | 2.92 | 64.63
Unit 50 | 439 | 497 | 3.39 | 88.33
Unit 51 | 415 | 481 | 4.34 | 86.28
Unit 52 | 317 | 464 | 3.71 | 68.32
Unit 57 | 318 | 384 | 3.70 | 82.81
Unit 58 | 313 | 380 | 7.99 | 82.37
Unit 59 | 278 | 369 | 3.36 | 75.34
Unit 60 | 325 | 363 | 1.68 | 89.53
Unit 62 | 318 | 359 | 7.32 | 88.58

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 65 | 308 | 328 | 5.45 | 93.90
Unit 66 | 285 | 324 | 4.17 | 87.96
Unit 68 | 279 | 303 | 3.80 | 92.08
Unit 69 | 253 | 298 | 1.72 | 84.90
Unit 71 | 121 | 268 | 1.67 | 45.15
Unit 72 | 187 | 262 | 1.52 | 71.37
Unit 74 | 197 | 242 | 1.94 | 81.40
Unit 75 | 210 | 237 | 3.56 | 88.61
Unit 76 | 220 | 233 | 1.74 | 94.42
Unit 77 | 190 | 222 | 4.36 | 85.58
Unit 78 | 116 | 177 | 5.62 | 65.54
Unit 80 | 160 | 169 | 2.79 | 94.67
Unit 81 | 104 | 143 | 4.52 | 72.73

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – March 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 85 | 62 | 114 | 6.45 | 54.38