Emergency Communication Procedures and Processes

- Timing of release

- Meaning on an OCN

- What is definition of extreme forecast

- Order of actions

- Define planning horizon

- Review established outage process for delays/reschedule/withdraw

- ERCOT’s process of distributing planning information/data

Visibility and Communication of forecasts

- Forecast change of wind

- Icing

- DC tie forecast

- Communication process changes – less than 12 hours in this event

- Impacts of communication process to DAM.

- Ensuring the market has symmetrical data

Process for the delay or withdrawal of outages

- Define process

- Timeframe of notification

- How to notify generators

- When to notify market

- OCN process management – extreme vs. expected; communication during both situations

- Changes so ERCOT has authority to post info needed

- “Recall” provision for outages – last in first out

Consider the need for cost recovery

- Verifiable Cost Manual

- Dispute Resolution Process

Review the use of Emergency Response Service (ERS)

Demand Response

- Look at Demand Response high price events as well as these issues.

Cost recovery mechanism

- Pricing signals for ERCOT action – impact to long term reliability

- Out of market actions may need price formation corrections and or make whole provisions

Clean up language Protocols and EEA actions with OC

- Codify “planning horizon” for reliability standards

- Clarify reliability standard to maintain and what is timeframe and what other potential out of market actions that could be taken, what ERCOT sees can be taken given NERC rules and protocols if another situation like this, no plan established what is general guideline to follow and establish process in protocols or procedures would help market plan for.

- Better defining Emergencies