## Slide 1
Proposed Changes to ERS Standard Contract Terms
April 26, 2019 DSWG Meeting

## Slide 2: ERCOT Protocols
3.14.3.1 Emergency Response Service Procurement
ERCOT shall issue Requests for Proposals to procure ERS for each Standard Contract Term. The ERS Standard Contract Terms are as follows:
    (a) February through May;
    (b) June through September; and
    (c) October through January.

## Slide 3: Current ERS Standard Contract Terms (SCT)
Both February-May SCT and October-January SCT include:
Months at risk of both cold and hot weather events
Shoulder months with mild temperatures, significant Resource outages for planned maintenance, and steep load ramp periods.
Issue: Assignment of risk factors to these SCTs do not properly reflect the risk of an EEA for all months in the
SCT.

## Slide 4: ERS Standard Contract Terms
§25.507. Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS).
(b) ERS procurement. ERCOT shall procure ERS, a special emergency response service that is intended to be deployed by ERCOT in an Energy Emergency Alert (EEA) event.
(1) ERCOT shall determine the ERS contract periods during which ERS resources shall be obligated to provide ERS, including any additional ERS contract periods ERCOT deems necessary due to the depletion of available ERS.

## Slide 5: Proposed Changes to the Standard Contract Terms
Two 2 month SCTs and two 4 month SCTs
  December through March
  April through May
  June through September (remain the same)
  October through November
Things to consider:
  NPRR is required to make the change
  Budget year would need to shift from Dec-Nov
  Implementation date?