## Slide 1
Analysis of Load Reductions Associated with 4-CP Transmission Charges and Price Responsive Load/Retail DR
Carl L Raish
Principal Load Profiling and Modeling
Demand Side Working Group – April 26, 2018

## Slide 2: Overview
  4CP Analysis
    Competitive and NOIE Areas
  Price Response and Retail DR
    Block and Index Pricing (BI)
    Other Load Control (OLC)
    Other Voluntary DR (OTH)
    Peak Rebate (PR)
    Real Time Pricing (RTP)
    Time-of-Use Pricing (TOU)
      Analysis not available
    DG Price Response
  NOIE Price Response
  Interaction of 4CP and price response

## Slide 3: Competitive 4 CP Days - 2018

## Slide 4: NOIE 4 CP Days - 2018

## Slide 5: Competitive + NOIE 4 CP Days - 2018

## Slide 6: Competitive 4CP Reductions – 2010 - 2018

## Slide 7: NOIE 4CP Reductions – 2010 - 2018

## Slide 8: Total 4CP Reductions – 2014 - 2018
2014
2015
2016
2017

## Slide 9: 2013 – 2018 Pricing Events
For this analysis a High Price Event has been defined as a day with a Load zone price > $200 for 4 or more consecutive 15-minute intervals
Real Time Price Events
99 days had RT high price events in only 1 load zone (17 days in 2018)
50 days had RT high price events in all 8 load zones (20 days in 2018)
122 4CP/NearCP days from 2013 – 2018
  21 had RT high price events in one or more load zones
  9 had RT high price events in all 8 load zones
1 4CP day (July 19,2018) and 2 NearCP days (July 18,2018, August 15,2018) with RT high price events

## Slide 10: 2013 – 2018 Pricing Events
Day-Ahead and Real Time Price Events
6 days had DA and RT high price events in only 1 load zone (9 days in 2018)
10 days had DA and RT high price events in all 8 load zones (6 days in 2018)
122 4CP/NearCP days from 2013 – 2018
  6 had DA and RT high price events in one or more load zones
  4 had DA and RT high price events in all 8 load zones
1 4CP day (July 19,2018) and 1 NearCP day (July 18,2018) with DA and RT high price events

## Slide 11: 2013 – 2018 Pricing Events
Day-Ahead Only Events
18 days had DA only high price events in only 1 load zone (1 day in 2018)
12 days had DA only high price events in all 8 load zone (5 days in 2018)
122 4CP/NearCP days from 2013 – 2018
  14 had DA only high price events in one or more load zones
  4 had DA only high price events in all 8 load zones
2 NearCP days, July 17,2018 and July 23,2018 with DA only high price events

## Slide 12: 2018 Block & Index Analysis
22 Reps; 20,597 Bus customers; 406.1 MW (352.8 MW excluding 4CP); 30 event days

## Slide 13: 2018 OLC Analysis
2 Reps reported 9 deployments in 2018 affecting 3,458 customers
1.9 MW combined maximum reduction
1 Additional Rep only reported events for TDSP SOP program … not included

## Slide 14: 2018 Other Voluntary DR Analysis
4 Reps reported 26 deployments in 2018 affecting 220,274 customers
Reductions ranged from 0 – 23.4 MW

## Slide 15: 2018 Peak Rebate Analysis
6 Reps reported 17 deployments in 2018 affecting 203,418 customers
101 MW combined reduction

## Slide 16: 2018 Real Time Pricing Analysis
19 Reps; 19,560 customers; 57.1 MW (54.1 excluding 4CP); 30 event days

## Slide 17: 2018 NOIE Price Response Analysis
21 NOIEs identified as responding to high prices; 1,093.5 MW; 24 event days

## Slide 18: 2018 NOIE Price Response Analysis
15 NOIEs identified as responding to both 4CP and high prices
903.4 MW; 24 event days

## Slide 19: 2018 NOIE Price Response Analysis
6 NOIEs identified as responding only to high prices; 190.1 MW; 24 event days

## Slide 20: 2018 DG Price Response Analysis
116 Registered and Unregistered DGs; 285.7 MW; 30 event days
Renewable fuel DG not included

## Slide 21: Interaction of 4CP and Price Response
4CP days for ESIIDs and NOIEs that respond both to 4CP events and high price events

## Slide 22: Interaction of 4CP and Price Response – 4CP Response

## Slide 23: Interaction of 4CP and Price Response – Price Response

## Slide 24: Interaction of 4CP and Price Response
4CP/NearCP Days in 2018 with high price events in all 8 load zones
Previous occurrences (2012-2018):
  Jul 30, 2015 – 4CP
  Aug 5, 2016 – NearCP
  Aug 11, 2016 – NearCP
  Aug 13, 2016 – NearCP
  Aug 3, 2016 – NearCP
  Sep 3, 2013 – 4CP
Jul 23, 2018 – NearCP highest response day 1,869 MW

## Slide 25: Questions?
ON
OFF
craish@ercot.com 512/248-3876