## Slide 1
Calculation of Net Margin for Irresolvable Constraint SWCSBOO8:BARL_FTSW1_1
Market Analysis and Validation
CMWG
May 5th, 2019

## Slide 2: Constraint SWCSBOO8:BARL_FTSW1_1
The constraint SWCSBOO8:BARL_FTSW1_1 was deemed as irresolvable constraint by ERCOT on Jan.30, 2017, and its max shadow price was calculated as $2,000.
On Sept. 23, 2017, the Net Margin for this irresolvable constraint reached $95,000. This triggered another calculation of max shadow price, which was again set as $2,000.
At the end of year 2017, this constraint was reviewed and kept as irresolvable, and its max shadow price was recalculated as $2,800.
Again, at the end of year 2018, this constraint was kept as irresolvable and the max shadow price was recalculated as $2,800.

## Slide 3: Calculation of Constraint Net Margin
The Settlement Point Price at the Resource Node for Generation Resource D ( determined when the constraint met the trigger condition) is designated as constraint net margin reference SPP.
The constraint net margin equal to the sum of ¼ * Max(0, reference SPP - POC) for all Real Time Settlement Intervals in the current calendar year during which the constraint is binding (shadow price >0).
The Proxy Operating Cost (POC) in $/MWh equals 10 times the FIP, for the Business Day previous to the current Operating Day.

## Slide 4: Calculation of Constraint Net Margin (cont.)
The constraint net margin calculation starts with the first operating day in the current calendar year during which the constraint meets the trigger conditions.
All constraint net margin values for the irresolvable constraints that will be carried to the next calendar year will be reset to zero at the start of the next calendar year and a new running sum will be calculated daily

## Slide 5: For the Constraint SWCSBOO8:BARL_FTSW1_1
Resource D: HOVEY_UNIT1 (HOVEY_GEN)
Starting Date: Jan. 28, 2017 (The day when the constraint met the trigger condition)
Chart: Constraint Net Margin $/MWh
| 42763 | 42764 | 42765 | 42766
Net Margin | 35502.71 | 14180.44 | 8860.52 | 4474.81
Chart: Constraint Net Margin $/MWh
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Net Margin | 63018.48 | 6296.45 | 0 | 0 | 0 | 0 | 0 | 243.79 | 25737.4625 | 6683.48 | 162.0025 | 302.17
Accumlated | 63018.48 | 69314.93 | 69314.93 | 69314.93 | 69314.93 | 69314.93 | 69314.93 | 69558.72 | 95296.1825 | 101979.6625 | 102141.665 | 102443.835
95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000