## Slide 1
Resource Limit Calculator Under RTC
Nitika Mago
ERCOT Operations
April 30, 2019

## Slide 2
Problem Statement
Identify changes, if any, required to Resource Limit Calculator (RLC) under RTC.
Discussion Outline
RLC functional overview
Summary of changes identified and rationale
Discussion and next steps

## Slide 3: RLC Overview
Nodal Protocol Section 6.5.7.2 drives the calculations and monitoring built into RLC today.
RLC uses telemetry from QSEs to compute limits such as HDL, LDL, HASL and LASL. These limits are then sent to MMS/SCED.
RLC receives dispatch data from MMS and sends the same to QSEs.
RLC also hosts calculations related to Generation To Be Dispatched (GTBD), including Predicted Load Ramp Rate (PLDRR) and Predicted Wind Ramp Rate (PWRR).
Resource Limit Calculator
Ancillary Service Calcs.
ex. HASL, LASL
Resource Limit Calcs.
ex. SURAMP, SDRAMP, HDL, LDL
GTBD Calculation
Includes PLDRR, PWRR
Telemetry from QSE via SCADA/ICCP
Dispatch Data from MMS
Operator Initiated Data
SCED BP/LMP Data To QSE via SCADA/ICCP
Calculated and telemetered Data To MMS/SCED
Data For Settlements
Data For Reports and Compliance
Other Calcs./Stuff
Ex. SCED Trigger following RRS release

## Slide 4: Ramp Share Logic Changes
One change identified so far...
Distribute ramp between SCED and Regulation-Up/Down economically
Current HDL and LDL calculated as follows:
      RegUpResp/7
      RegDnResp/7
      )
  The system currently has ramp share logic to provide the optimization with additional flexibility for dispatch in real-time. This is particularly beneficial today given that there is limited ability to move Regulation-Up/Down responsibilities between Resources.
RTC HDL and LDL calculated as follows:
      )
  Under RTC, AS will be awarded to individual Resources every 5 minutes based on the Resource’s telemetered actual generation and ramp rates, economics and system conditions. This makes ramp sharing less relevant.

## Slide 5
Questions