| NPRR Number |  | NPRR Title | Changes to EPS Meter Communications Path |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal or Urgent, and justification for Urgent status |  |
| Nodal Protocol Sections Requiring Revision |  | 10.12 Communications |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | Remove the use of standard voice telephone circuits as a defined option for ERCOT to retrieve EPS Meter data. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Infrastructure used in support of standard voice telephone circuits is aging and has become a failure point for communications to many EPS Metering points. It is also becoming problematic, in some cases, for telecom companies to provide timely repair of this aging infrastructure. This NPRR recognizes the investment and time required by the TDSPs to implement technology that replaces the existing communications paths to EPS meters and proposes an effective date of January 1, 2023 for the completion of this transition. Transition away from the use of standard voice telephone circuits will help to eliminate many of the communications failures currently being experience during the EPS Meter data collection process. An increase in the reliability of EPS Meter communications means less trips required by the TDSP to facilitate repairs and/or retrieve EPS Meter data in support of settlements. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Protocol Language Revision

- 10.12	Communications

- 10.12.1	ERCOT Acquisition of ERCOT Polled Settlment (EPS) Meter Data

(1)	ERCOT shall acquire EPS Meter data via the following communication links:

(a)	ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; or

(b)	Standard voice telephone circuit or other ERCOT approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).

Effective January 1, 2023 (b) Other ERCOT approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP).