## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
May 02, 2019
Aster Amahatsion
2019 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on April 12th , 2019
Discussed Federal and State activities regarding GMD
  On March 26, President Donald Trump signed an executive order aimed at preparing the US to withstand an electromagnetic pulse (EMP) attack. The two types of EMPs refereed in the order are the high-altitude nuclear explosions and geomagnetic disturbances (GMDs) resulting from solar flares.
2022 SSWG summer peak/min case building
  ERCOT presented on the 2019 GIC model building status
  Pass 1 GIC Model building, updating the bus and substation data of the GIC modeling data has been concluded on 4/5/19.
  Went through data issues from pass 1 including buses without stations, duplicating stations and buses whose stations don’t exist.
  Pass 2 GIC Model building ,updating the transformer table started on 4/15/19 and the template and supporting documents has been posted on MIS
<number>
05/02/2019 ROS Meeting
Notes: <number>

## Slide 3: PGDTF Meeting
  Discussed NERC TPL-007-3, R9 Due in 01/01/2020
  ERCOT will calculate the GIC flow for the supplemental GMD after the GIC model is built and will post the result in MIS before the end of the year
  Discuss Vulnerability Assessment Event Descriptions
  Discussed approval of the PGRR070 by ROS, graying of the section 6.11 (2) and drafting the “Assessing GMD Effects on Power Systems” reference document
    Next PGDTF meeting is postponed from May 7 to May 16, at LCRA (WebEx available)
      The address is:
    LCRA Redbud Center, Room 108
    3601 Lake Austin Blvd
    Austin, Texas 78703
05/02/2019 ROS Meeting
<number>
Notes: <number>

## Slide 4: Questions
<number>
05/02/2019 ROS Meeting
Notes: <number>