## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
May 1, 2019
From April 22 WMWG Meeting

## Slide 2: Real-Time On-Line Reliability Deployment Price Adder
ERCOT presented results of additional analysis on changes to system wide RTORDPA
  4 approaches to relaxation
  2 triggers
Conclusions of analysis
  Changes to trigger provides little benefit and thus not worth the complexity
  The “Conditional 1” solution of relaxing Low Dispatch Limit (LDL) of non-ERCOT-direct capacity (“EDC”) resources not at LDL and relaxing High Dispatch Limit (HDL) of non-EDC resources not at HDL provides the most appropriate RTORDPA outcomes
Conditional 1 solution to be added to NPRR904
Next step - locational RTORDPA (CMWG)
Future work – incorporate RTORDPA in RTC

## Slide 3: NPRR904, Revisions to Real-Time On-Line Reliability Deployment Price Adder for ERCOT-Directed Actions Related to DC Ties
Rainbow Energy Marketing Corporation (REMC) submitted comments on 4/23
  Incorporates Conditional 1 solution to system wide RTORDPA
  Makes changes to DC Tie language to incorporate the 1,250 MW limit
CMWG will work on issue of DC Ties should be treated as load
NPRR904 is ready for WMS vote
Should WMS not endorse NPRR904, an alternative is to request ERCOT issue an NPRR for the Conditional 1 solution to system wide RTORDPA

## Slide 4: Houston Ship Channel and Katy Hub
ERCOT showed analysis of the price spreads and volume differences between Houston Ship Channel and Katy gas trading hubs.
Katy consistently has trades and largest volume of any trading hub in Texas.
Katy Hub may be the only index needed for ERCOT.
Action at the PUC has to occur before ERCOT can take any action on this.
WMWG will continue to monitor as needed.

## Slide 5: Open RMR NPRR’s
NPRR826, Mitigated Offer Caps for RMR Resources
  Last comments were by Crescent Power on 11/30/2018 mainly to also apply mitigated offer caps language to RUC resources
  Noted that PUC action is complete
  ERCOT working on comments that clarify language and address technical issue with the latest proposal
  WMWG recommends that WMS endorse only the automated method of NPRR826 (Phase 2)
NPRR838, Updated O&M Cost for RMR Resources
  Last comments were submitted July 9, 2018 by ERCOT
  Unresolved questions about O&M applicable to RMR units
  MOC language not needed if NPRR826 passes
  Recommend to leave NPRR838 tabled until NPRR826 is finalized, then RCWG can take this up again

## Slide 6: Next meeting
May 20th
Any questions?
Next topics include:
  Review a comprehensive analysis of the impacts of NPRR864 from ERCOT and review the information in the RUC report and provide recommendations to WMS
  Market Issues related to compensation for Reliability Unit Commitment (RUC) Switchable Generation Resources
  Review NPRR850 and the restart mechanics and pricing impacts