## Slide 1
Meter Working Group
May 8, 2019

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief introduction of those participating via WebEx

## Slide 4: Agenda Items 3 and 4 see other Key Documents
  Agenda item 3:
  Draft NPRR language EPS meter communications
  Agenda item 4:
  Draft NPRR language on Instrument Transformers Testing
  Draft SMOGRR language on removal of fiber optic instrument transformer references

## Slide 5: Discussion on POI as applied to EPS Metering and Line Loss Compensation
  Action Item from March 13 MWG:
  All TDSPs and ERCOT to work within their respective organizations to define POI and how line loss compensation should be applied for various scenarios to be reviewed and discussed at the next MWG meeting.

## Slide 6: Protocol Definitions Related to POI Discussion
ERCOT Protocols: August 1, 2010
Section 2: Definitions and Acronyms
Point of Interconnection (POI)
The location(s) where a Generation Entity’s interconnection Facilities connect to the Transmission Facilities as reflected in the Standard Generation Interconnection Agreement (SGIA) between a Generation Entity and a TDSP.
ERCOT Nodal Protocols: March 1, 2019
Section 2: Definitions and Acronyms
Point of Interconnection (POI)
The voltage level and substation where a Generation Entity’s interconnection Facilities connect to the Transmission Facilities as reflected in the Standard Generation Interconnection Agreement (SGIA) between a Generation Entity and a Transmission Service Provider (TSP) or the voltage level and substation where Load interconnects to the TSP Facilities.
Facilities
Equipment situated for the purpose of conducting service and/or business through use of the ERCOT System
Generation Entity
The owner of an All-Inclusive Generation Resource and, unless otherwise specified in these Protocols, is registered as a Resource Entity.
Transmission Facilities
(1) Power lines, substations, and associated facilities, operated at 60 kV or above, including radial lines operated at or above 60 kV;
(2) Substation facilities on the high voltage side of the transformer, in a substation where power is transformed from a voltage higher than 60 kV to a voltage lower than 60 kV or is transformed from a voltage lower than 60 kV to a voltage higher than 60 kV; and
(3) The direct current interconnections between ERCOT and the Southwest Power Pool or Comision Federal de Electricidad (CFE).
[NPRR857: Replace paragraph (3) above with the following upon system implementation:]
(3) The direct current interconnections between ERCOT and non-ERCOT Control Areas.
Transmission Service Provider (TSP)
An Entity under the jurisdiction of the PUCT that owns or operates Transmission Facilities used for the transmission of electricity and provides Transmission Service in the ERCOT Transmission Grid.

## Slide 7: Scenario 1: 1 or 2 POI(s)?

## Slide 8: Scenario 2: 1 or 2 POI(s) and Where?

## Slide 9: Scenario 3: 1 or 2 POI(s) and Where?

## Slide 10: Scenario 4: 1 or 2 POIs?

## Slide 11: Scenario 5: Where is the POI?

## Slide 12: Scenario 6: Where is the POI?

## Slide 13: Scenario 7: 1 or 2 POI(s) and Where?

## Slide 14: New or Other Business Items
  Request for any new or other business items

## Slide 15: Meeting Summary and Closing Remarks
  Thank you for your attendance
  Notes from this meeting will be posted to this meeting on the ERCOT website
    http://www.ercot.com/calendar/2019/5/8/179609-MWG