## Slide 1: LCRA TSC Development of GMD Events
Nicholas Oberski
5/17/2019

## Slide 2: Starting Point
PGDTF
EPRI Assessment Guide: GMD Harmonic Impacts and Asset Withstand Capacities

## Slide 3: Event Development
System Protection Subject Matter Experts
  Equipment List
  Contact Manufacturers
  Future Relay Replacement
ERCOT Category A or Category B
  All Category A Events
Benchmark versus Supplemental
  No difference based on present information

## Slide 4: Event Submission
Electromechanical and older Solid State
Events
  14 Transmission Lines
  10 Buses
  1 Capacitor Bank
  1 Auto Transformer