## Slide 1
Item 6: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
May 22, 2019

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process [ERCOT]*
NPRR924, Addition of Form to Section 23 - IMRE Application for Registration [ERCOT]*
NPRR926, Removal of 90-Day Period Between SSR Study Approval and Synchronization [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service [ERCOT]
  IA: Between $500k and $700k Priority 2019; Rank 220
NPRR923, Revision to Weather Responsiveness Determination Process [PWG]
  IA: Less than $5k O&M Priority n/a; Rank n/a
NPRR929, PTP Obligations with Links to an Option DAM Award Eligibility [LCRA, Reliant, STEC, Direct Energy, Austin Energy, CPS Energy]
  IA: Between $125k and $175k Priority 2019; Rank 2655

## Slide 4: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
SCR799, ERCOT Outage Study Cases in the System Operations Test Environment (SOTE) [Oncor]
  IA: Between $150k and $250k Priority 2019; Rank 2710
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs) [ERCOT]
  IA: Between $300k and $400k Priority 2019; Rank 2700

## Slide 5: Summary of PRS Update (continued)
Revision Requests Rejected:
NPRR913, Generator Interconnection Neutral Project Classification [Wind Coalition]
Annual Review of Other Binding Documents (OBDs) (Vote)
Pursuant to paragraph (3) of Section 1.1, Summary of the ERCOT Protocols Document, PRS reviewed and unanimously approved the current list of OBDs.

## Slide 6: Appendix

## Slide 7: NPRR885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 220
ERCOT Impact Analysis: Between $500k and $700k; impacts to Market Operations Support (0.1 FTE Effort) absorbed by current staff; impacts to Market Settlements (S&B), BI & Data Analytics, Market Management System (MMS), Integration, Energy Management System (EMS), Data and Information Products (DAIP), CRM & Registration System (REG), Data Access & Transparency, and External Public; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR incorporates a number of revisions to address changes by the Public Utility Commission of Texas (PUCT) to P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, in PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service. More specifically, this NPRR proposes new Protocol language to address numerous issues related to the solicitation and operation of Must-Run Alternative (MRA) Service.
PRS Decision: On 3/14/19, PRS unanimously voted to recommend approval of NPRR885 as amended by the 1/22/19 ERCOT comments. On 4/11/19, PRS unanimously voted to endorse and forward to TAC the 3/14/19 PRS Report and Impact Analysis for NPRR885 with a recommended priority of 2019 and rank of 220.

## Slide 8: NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process [ERCOT]
Proposed Effective Date: July 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR outlines the process ERCOT will use to evaluate the cost-effectiveness of procuring Reliability Must-Run (RMR) Service or one or more MRAs.
PRS Decision: On 3/14/19, PRS unanimously voted to recommend approval of NPRR896 as submitted. On 4/11/19, PRS unanimously voted to endorse and forward to TAC the 3/14/19 PRS Report and Impact Analysis for NPRR896.

## Slide 9: NPRR913, Generator Interconnection Neutral Project Classification [Wind Coalition]
Proposed Effective Date: Not applicable
ERCOT Impact Analysis: Not applicable
Revision Description: This NPRR addresses the neutrality of projects required to interconnect generation to the ERCOT Transmission Grid, and projects for the reliable operation of the generation under particular conditions described in North American Electric Reliability Corporation (NERC) Standard TPL-001-4, Transmission System Planning Performance Requirements.
PRS Decision: On 4/11/19, the PRS motion to recommend approval of NPRR913 as amended by the 4/5/19 ROS comments failed via roll-call vote. There were 11 opposing votes from the Consumer (2)(OPUC, Occidental), Cooperative (3)(Brazos, LCRA, STEC), Independent Generator (3)(Luminant, Exelon, Calpine), and IREP (3)(Reliant, Electranet, Just Energy) Market Segments. Due to the lack of a subsequent successful motion, NPRR913 was deemed rejected by PRS pursuant to paragraph (4) of Section 21.4.4, Protocol Revision Subcommittee Review and Action.

## Slide 10: NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs) [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2700
ERCOT Impact Analysis: Between $300k and $400k; no impacts to ERCOT staffing; impacts to S&B, Integration, MMS, DAIP, Network Model Management System (NMMS), Credit Monitoring and Management (CMM), REG, Data Access & Transparency, External Public, and BI & Data Analytics; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR implements nodal energy pricing, instead of the current Load Zone energy pricing, for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs). For an SODG, the energy price used as the basis for the 15-minute Real-Time price calculation is the time-weighted price at the Electrical Bus associated with the mapped Load of the SODG in the Network Operations Model. For an SOTG, the energy price used as the basis for the 15-minute Real-Time price calculation is the time-weighted price at the Electrical Bus as determined by ERCOT in review of the meter location of the SOTG in the Network Operations Model. This NPRR also allows existing SODGs and SOTGs to apply to ERCOT to continue to receive Load Zone energy pricing until such time as they proactively opt in for nodal pricing, or January 1, 2030, whichever is earlier.
PRS Decision: On 4/11/19, PRS voted via roll call vote to recommend approval of NPRR917 as amended by the 4/4/19 ERCOT comments. There were two opposing votes from the Independent Generator (Calpine) and Independent Power Marketer (IPM) (Morgan Stanley) Market Segments and two abstentions from the Independent Generator (Luminant) and Independent Retail Electric Provider (IREP) (Just Energy) Market Segments. On 5/9/19, PRS voted to endorse and forward to TAC the 4/11/19 PRS Report as amended by the 5/8/19 ERCOT Steel Mills comments as revised by PRS and the Impact Analysis for NPRR917 with an effective date of July 1, 2019 for Section 23, Form N, and a recommended priority of 2019 and rank of 2700. There were six opposing votes from the Cooperative (2) (LCRA, STEC), Independent Generator (2) (Engie, Invenergy), and IPM (2) (Tenaska, Citigroup) Market Segments and one abstention from the IREP Market Segment.

## Slide 11: NPRR923, Revision to Weather Responsiveness Determination Process [PWG]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR updates the weather sensitivity process by allowing Transmission and/or Distribution Service Providers (TDSPs) an additional 30 days to complete investigation and execution of the request to revise the Load Profile for a BUSIDRRQ Electric Service Identifier (ESI ID).
PRS Decision: On 3/14/19, PRS unanimously voted to recommend approval of NPRR923 as submitted. On 4/11/19, PRS unanimously voted to endorse and forward to TAC the 3/14/19 PRS Report and the Impact Analysis for NPRR923.

## Slide 12: NPRR924, Addition of Form to Section 23 – Independent Market Information System Registered Entity (IMRE) Application for Registration [ERCOT]
Proposed Effective Date: July 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR moves the Independent Market Information System Registered Entity (IMRE) Application for Registration form into Nodal Protocol Section 23, Forms, which houses similar forms.
PRS Decision: On 3/14/19, PRS unanimously voted to recommend approval of NPRR924 as submitted. On 4/11/19, PRS unanimously voted to endorse and forward to TAC the 3/14/19 PRS Report and Impact Analysis for NPRR924.

## Slide 13: NPRR926, Removal of 90-Day Period Between SSR Study Approval and Synchronization [ERCOT]
Proposed Effective Date: July 1, 2019
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes the 90-day period between Subsynchronous Resonance (SSR) study approval and Initial Synchronization specified in paragraph (4) of Section 16.5, Registration of a Resource Entity, clarifies that the SSR Mitigation plan is part of the SSR study, and adds an ERCOT review process for the SSR study (with any required Mitigation Plan) including 30 days for the study to be approved by ERCOT. This NPRR also adds a 45 day time period from SSR study approval for ERCOT to implement any required SSR monitoring.
PRS Decision: On 4/11/19, PRS unanimously voted to recommend approval of NPRR926 as amended by the 4/8/19 Oncor comments. On 5/9/19, PRS unanimously voted to endorse and forward to TAC the 4/11/19 PRS Report and Impact Analysis for NPRR926.

## Slide 14: NPRR929, PTP Obligations with Links to an Option DAM Award Eligibility [LCRA, Reliant, STEC, Direct Energy, Austin Energy, CPS Energy]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2655
ERCOT Impact Analysis: Between $125k and $175k; no impacts to ERCOT staffing; impacts to MMS and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR proposes new criteria for determining whether a Point-to-Point (PTP) Obligation with Links to an Option bid is eligible to be awarded based on the Current Operating Plan (COP) Resource Status of the Resource at the Resource Node where the bid sources. Such a bid will not be eligible for award if it sources at a Resource with a COP Resource Status of OUT, or a COP Resource Status of OFF and the Resource is not offered into the Day-Ahead Market (DAM).
PRS Decision: On 4/11/19, PRS voted to recommend approval of NPRR929 as amended by the 4/9/19 Luminant Generation comments. There was one abstention from the IPM (Morgan Stanley) Market Segment. On 5/9/19, PRS unanimously voted to endorse and forward to TAC the 4/11/19 PRS Report, as revised by PRS, and the Impact Analysis for NPRR929 with a recommended priority of 2019 and a rank of 2655.

## Slide 15: SCR799, ERCOT Outage Study Cases in the System Operations Test Environment (SOTE) [Oncor]
Proposed Effective Date: Upon system implementation – Priority 2019; Rank 2710
ERCOT Impact Analysis: Between $150k and $250k ($150k - $180k annual recurring O&M budget); impacts to EMMS Production Support (0.25 FTE effort); impacts to System Operations Test Environment (SOTE); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This SCR enables ERCOT to provide its current month, 60 day, and 90 day Outage study cases in the SOTE on a monthly basis for Transmission Service Providers (TSPs).
PRS Decision: On 3/14/19, PRS unanimously voted to recommend approval of SCR799 as submitted. On 5/9/19, PRS unanimously voted to endorse and forward to TAC the 4/11/19 PRS Report and the Impact Analysis for SCR799, with a recommended priority of 2019 and rank of 2710.

## Slide 16: 2019 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/5 – 2/7 | April 4/2 – 4/4 | May 5/28 – 5/30 | August 8/6 – 8/8 | October 10/15 – 10/17 | December 12/10 – 12/12
NPRR842 NPRR858 NPRR878 SCR794 PGRR057(b) OBDRR011 RMGRR156 PGRR062 NPRR916(a) | NPRR809(b) NPRR817 NPRR833(a/b) NPRR845 NPRR847 NPRR865 NPRR866 NPRR880 VCMRR021 RRGRR017 VCMRR022 NPRR877 Ph1 NPRR833(c) NPRR749 | NPRR889 NPRR901 NPRR910 NPRR912 NPRR916(b) NOGRR174 OBDRR010 RMGRR155 RRGRR018/019 NPRR519 NPRR620 NPRR741 NPRR755 NOGRR154 | NPRR873 NPRR899 NPRR925 RRGRR016 SCR793 SCR796 SCR797 SCR798 OBDRR003 NPRR821 | NPRR887 PGRR061 | NPRR877 Ph2 NPRR895 NPRR911 NPRR920 OBDRR007 SCR781(a) RRGRR016
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
NPRR809(b) – Reporting/posting system changes
NPRR833(a/b) – DAM/SCED system changes
NPRR833(c) – CRR system changes
NPRR916(a) – Mitigated Offer Floor to $0/MWh
NPRR916(b) – Mitigated Offer Floor to -$20/MWh
PGRR057(b) – List of GMD event contingencies
SCR781(a) – View / Edit capability
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
E
E
E
E
E
NS
NS
NS
NS
NS
E
E
7/1
6/2
E
E
E
E
E
E
E
E
E
E
E
CMM Release 1b
5/1
P
E
E
E
E
E
E
P
E
1/22
3/26
ü
ü
ü
ü
ü
ü
ü
TBD Items | 2014 | 2017 | 2018
 | NPRR664 | NPRR702 P, NPRR829 | NOGRR154, NPRR825(b), NPRR867, NPRR884, PGRR066, NPRR856, NPRR841
I
E
3/1
3/5
5/6 – 5/7
Q4
Date TBD
ü
R1
R2
R3
R4
R5
R6
ü
4/10
ü
ü
6/15