## Slide 1
Battery Energy Storage Integration Issues and Assignments
Draft for Review at TAC
May 22, 2019

## Slide 2: Background
ERCOT stakeholders discussed issues associated with the integration of Battery Energy Storage during a workshop held on April 23, 2019.
These issues have been consolidated and summarized in this document, and are presented along with potential working group assignments for review by the Technical Advisory Committee (TAC).
ERCOT is requesting comments on these issues and proposed assignments prior to the May 22, 2019 TAC meeting.

## Slide 3: Issue 1: Resource Definition
Summary: Develop appropriate terminology for protocol definitions of registered and unregistered battery energy storage devices
Assignment: Resource Definition Task Force (RTF)
Notes:
Prerequisite for establishing technology-specific requirements in protocols
Stakeholders have reviewed a proposed delineation of battery energy storage at RTF.

## Slide 4: Issue 2: Battery Energy Storage Operational Requirements
Summary: Establish technology-specific operational requirements for battery storage devices as part of an effort encompassing a review of all inverter-based resources
Assignment: Reliability and Operations Subcommittee (ROS)
Notes:
Technology-specific requirements will be needed when new resource definitions are implemented
Operational requirements will need to be specified for the devices when they are charging, discharging, and in transition
Specific topics:
  Voltage support and coordination
  Voltage/frequency ride through
  Frequency Support
  Dynamic model submittal requirements
  Measurement and monitoring
  Dynamic performance requirements
  A/S performance requirements and limitations
  A/S Testing requirements
  Repowering considerations for interconnection studies

## Slide 5: Issue 3: Wholesale Storage Load Treatment
Summary: Review process for approval of wholesale storage load (WSL) requests
Assignment: Wholesale Market Subcommittee (WMS)/Metering Working Group
Notes:
WSL requests for battery devices co-located with other resources
WSL for batteries at Private Use Networks (PUNs)
WSL for batteries connected to a DSP System (SODG with only aux load and SODG co-located with customer load)

## Slide 6: Issue 4: Market System Design Changes
Summary: Review design and requirement changes that allow ERCOT to better model battery energy storage devices in its Market Management System (MMS)
Assignment: WMS
Notes:
Battery devices are currently modeled as two independent resources – a generation device and a Controllable Load Resources. MMS revisions will be required to model a battery device as one device that can extract and generate electricity.
Review device-specific assumptions and bidding requirements

## Slide 7: Issue 5: Operations System Design Changes
Summary: Review design and requirement changes that allow ERCOT to better model battery energy storage devices in its Energy Management System (EMS)
Assignment: ROS
Notes:
Battery devices are currently modeled as two independent resources – a generation device and a Controllable Load Resources. EMS revisions (consistent with revisions made to MMS) will be required to model a battery device as one device that can extract and generate electricity.
  Review modeling requirements for downstream models used for operations reliability studies
  Revisions to Resource Integration and Ongoing Operations (RIOO) system and Network Model Management Systems (NMMS)
  Develop procedures for incorporating battery energy storage devices in operations and transmission planning studies and models

## Slide 8: Issue 6: State of Charge/Limited Duration Considerations
Summary: Develop protocol revisions to account for consideration of state of charge of battery devices in day-ahead and real-time markets
Assignment: WMS and ROS
Notes:
Develop appropriate battery state of charge requirements/procedures for:
  Reliability-Unit Commitment (RUC)
  Day-Ahead Market awards
  Real-time dispatch
  ORDC and PRC
  Energy Emergency Alert (EEA) Procedures
  COPS submittals
  Communication and Implementation of Operational Limitations
  How to maximize value of battery energy devices to resource owners and to grid operations
  Use of limited duration devices to resolve transmission constraints
  Transmission planning study assumptions

## Slide 9: Issue 7: Alternate Device Modeling Options
Summary: Assess potential alternate approaches to integrating coupled devices
Assignment: WMS and ROS
Notes:
AC-coupled devices with jointly controlled operations or non-physical device limitations
DC-coupled devices (multiple devices sharing inverters)