## Slide 1
Resource Integration Workshop
ERCOT
Jay Teixeira
May 23, 2019

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.9
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.9, Quarterly Stability Assessment
Issue’s seen in the QSA that had May 1, 2018 deadline
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic data validation
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline

## Slide 4: RIOO-IS Application Go-Live

## Slide 5: Resource Integration and Ongoing Operations – Interconnection Services (RIOO-IS)
Next Release – May - June, 2019
Email to external entities should be fixed

## Slide 6: PGRR Language Review This Workshop

## Slide 7: Miscellaneous Updates
Not Submitted awaiting PGRR066 decision
The decision has been made that PGRR066 will not be implemented until RIOO-RS is complete

## Slide 8: Miscellaneous Updates
5.7.5 Interconnection Process Timetables
(3) The following timetable complies with P.U.C. SUBST. R. 25.198. It is intended to serve as a guideline only and the times stated are not requirements unless stated elsewhere in this section. If the number of days shown is less than 30, these are Business Days; if the number of days shown is 30 days or more, these are calendar days.
Task | Responsible Entity | Time Required to Complete
SSR | TSP(s) or IE | 30 to 90 days prior to Initial Synchronization

## Slide 9: Under Discussion This Workshop

## Slide 10: Dynamic Case Dispatch in PG 5.4.5 (2)
  Planning Guide 5.4.5 (2) requires “all existing or publicly committed Generation Resources in the area of the study will normally be represented at full net output” for Dynamic studies but not for Steady State studies
  Should the steady state and dynamic studies use the same dispatch?
  Is a 100% Solar & 100% Wind dispatch in the study area realistic?
  An alternative is for the TSPs to start their stability study with a 100% dispatch as required
    If the case doesn’t solve/flat start, report as an N-0 violation
    Lower the dispatch, and then perform the rest of the stability study. This is already being done for the N-1 and N-1-1 violations, where the dispatch is curtailed until the case becomes stable

## Slide 11: VRT Studies for Conventional Units
A TSP identified a need for better clarification of the type of stability study needed to verify VRT performance of a conventional unit
IE should provide attestation that it is in compliance with Operating guide 2.9. IE may not know.
Should a requirement to simulate a fault on the high side of the MPT for some period of time in which the generation must remain in service be added to section 2.9?

## Slide 12: VRT and Reactive Power Requirements for Storage
No documentation exists in a binding document for expected VRT and reactive power requirements for storage systems such as batteries during discharging and charging.
  No explicit language, for now using similar requirements for wind and solar for discharging
  No explicit language for charging
  Workshops to determine
Do not design for minimum requirements
Report actual capability

## Slide 13: Up Next Discussion next Workshop

## Slide 14: Active PGRR’s

## Slide 15: Active PGRR’s
PGRR062 - Updates to Generation Interconnection or Change Request (GINR) Process – Implemented
PGRR066 - Interconnection Request Cancellation and Creation of Inactive Status – BOD approved December 11, 2018. Will not be implemented until completion of RIOO-RS project.

## Slide 16: Active NPRR’s
NPRR926 - Removal of 90-Day Period Between SSR Study Approval and Synchronization – TAC May 22, 2019.

## Slide 17: Back Log

## Slide 18: Possible Changes to Interconnection Process Propose Fee Increase for Project Determination
Screening Study Advanced. This option consists of:
  appropriate case(s)
  one POI will be studied
  a set of transmission projects to allow full output will be determined
  current fee schedule price + $4,000
  completed in 90 days
  Normal Tracking and Coordination
Need ERCOT advice on how to proceed

## Slide 19: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department

## Slide 20: Questions?
Thank you!