| NPRR Number | 929 | NPRR Title | PTP Obligations with Links to an Option DAM Award Eligibility |
| --- | --- | --- | --- |
| Date of Decision |  | May 22, 2019 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2019; Rank – 2655 |  |
| Nodal Protocol Sections Requiring Revision |  | 4.4.6.3, PTP Obligations with Links to an Option DAM Award Eligibility (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes new criteria for determining whether a Point-to-Point (PTP) Obligation with Links to an Option bid is eligible to be awarded based on the Current Operating Plan (COP) Resource Status of the Resource at the Resource Node where the bid sources. Such a bid will not be eligible for award if it sources at a Resource with a COP Resource Status of OUT, or a COP Resource Status of OFF and the Resource is not offered into the Day-Ahead Market (DAM). |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Following stakeholder review of a case in January 2018 during which the treatment of certain PTP Obligations with Links to Options contributed to significant Real-Time Revenue Neutrality Allocation (RENA) imbalances, the Congestion Management Working Group (CMWG) solicited recommendations to mitigate the impact going forward. The joint stakeholder proposal presented in this NPRR will prevent similar RENA imbalances caused by PTP Obligations with Links to Options by declaring ineligible bids that source at a Resource Node where the Resource is Off-Line and unavailable (i.e., has a COP Resource Status of OUT). In addition, bids will also be deemed ineligible if the source Resource is Off-Line but available for commitment in the DAM and Reliability Unit Commitment (RUC) (i.e., has a COP Resource Status of OFF) and the Resource is not offered into the DAM. These criteria will be applied to each Non-Opt-In Entity (NOIE) or Qualified Scheduling Entity (QSE) representing NOIEs for a Resource that the NOIE owns, controls, or has a contractual association with, per the existing requirements in paragraph (6) of Section 4.4.6.1, PTP Obligation Bid Criteria. |  |
| Credit Work Group |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR929 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 4/11/19, PRS voted to recommend approval of NPRR929 as amended by the 4/9/19 Luminant Generation comments. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. All Market Segments were present for the vote. On 5/9/19, PRS voted unanimously to endorse and forward to TAC the 4/11/19 PRS Report, as revised by PRS, and the Impact Analysis for NPRR929 with a recommended priority of 2019 and a rank of 2655. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 4/11/19, participants discussed the 4/9/19 Luminant comments. In response to questions, ERCOT Staff noted that NPRR929 would require a system change for implementation. On 5/9/19, participants reviewed the Business Case for NPRR929, discussed potential priorities and ranks for NPRR929 and expressed a preference that NPRR929 be implemented before January 2020. Additional clarifying edits were discussed. |  |
| TAC Decision |  | On 5/22/19, TAC voted unanimously to recommend approval of NPRR929 as recommended by PRS in the 5/9/19 PRS Report as amended by the 5/15/19 ERCOT comments as revised by TAC. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 5/22/19, participants offered clarifications to the proposed language. |  |
| ERCOT Opinion |  | ERCOT supports Market Participants’ decision regarding NPRR929 as it will reduce RENA imbalances caused by PTP Obligations with Links to Options. |  |

| Sponsor |  |
| --- | --- |
| Name | John Dumas, Bill Barnes, Clif Lange, Sandra Morris, Erika Bierschbach, David Kee |
| E-mail Address | john.dumas@lcra.org, bill.barnes@nrg.com, clif@stec.org, sandra.morris@directenergy.com, erika.bierschbach@austinenergy.com, dekee@cpsenergy.com |
| Company | Lower Colorado River Authority (LCRA), Reliant Energy Retail Services LLC (Reliant Energy), South Texas Electric Cooperative (STEC), Direct Energy, Austin Energy, CPS Energy |
| Phone Number | (512) 730-6847, (512) 691-6137, (361) 485-6206, (512) 320-7915, (512) 322-6476, (210) 353-6912 |
| Market Segment | Cooperative, Independent Retail Electric Provider (IREP), Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | (512) 225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 040919 | Proposed removing the ability of a NOIE to “self-clear” PTP Obligations with Links to an Option through virtual trades at Resource Nodes for units that they do not represent in their QSE |
| ERCOT 051519 | Proposed additional language to ensure the evaluation of a DAM Energy-Only Offer at all Resource Nodes associated with a Combined Cycle Generation Resource configuration |

Market Rules Notes

Please note non-substantive revisions to the language have been made, authored as “ERCOT Market Rules”.

Revised Proposed Protocol Language

4.4.6.3	PTP Obligations with Links to an Option DAM Award Eligibility

(1)	A bid for a PTP Obligation with Links to an Option will not be considered eligible for award for an Operating Hour if it sources at a Resource Node where the Generation Resource has a COP Resource Status of:

(a)	OUT for an Operating Hour; or

(b)	OFF for an Operating Hour; and

(i)	The QSE representing the Resources has not submitted a valid Three-Part Supply Offer or Ancillary Service Offer to be considered by the DAM; or

(ii)	The QSE representing the Resource has not submitted a valid Energy Only Offer at any Resource Node associated with the Resource.

(2)	Where more than one Generation Resource is associated with a Resource Node, ERCOT will consider a PTP Obligation with Links to an Option bid eligible for award unless all Generation Resources associated with the Resource Node do not satisfy the COP Resource Status requirements in paragraph (1) above during the Operating Hour.

(3)	In order for ERCOT to award a bid for a PTP Obligation with Links to an Option under this section for an upcoming year, by October 1 of the prior year a NOIE must have provided ERCOT with an attestation that the Generation Resource for the Resource Node where the bid is sourced is owned or controlled by the NOIE, or has a contractual commitment for capacity and/or energy with the NOIE.  The attestation must be executed by an officer or executive with authority to bind the NOIE, and submitted to ERCOT.  ERCOT shall rely exclusively on the attestation provided by a NOIE in determining eligibility for bid awards under this section.