## Slide 1
<number>
Profiling Working Group
Update to RMS
June 4th, 2019
Sheri Wiegand (TXU) – Chair
Sam Pak (Oncor) – Vice-Chair
Notes: <number>

## Slide 2: 2019 Annual Validation Task List – NO CHANGE
<number>
TDSPs provided the following status on sending 814_20s to change profiles:
CNP – 65% complete
Oncor & AEP – sending 814_20s on meter cycles
TNMP- sent ~2700 on cycle (94% complete)

## Slide 3
2018 UFE Analysis
Randy Roberts
May 2019 RMS Meeting
Notes: <number>

## Slide 4: UFE Basics 1
UFE (Unaccounted For Energy) is computed as follows:
UFE = Generation – (Load + Losses)
Negative UFE indicates load/losses are overestimated
Sources of UFE include:
■ Generation Measurement Errors
■ DC Tie Inadvertent Energy
■ Load - Missing/Erroneous Usage Data
- Backcast Profile Error
- Load Profile ID Assignment Error
- Theft
■ Losses - Model Error
- Loss Calculation Error
- Loss Code Assignment Error
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 5: Average Daily % UFE (sorted low to high)
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 6: Historical Yearly Values
 | MWH | COST | % of LOAD | AVG PRICE
2003 | 1,672,727 | $156,733,428 | 0.40% | $41.31
2004 | 1,344,289 | $102,693,690 | 0.40% | $42.00
2005 | 1,082,561 | $174,154,088 | 0.30% | $65.91
2006 | 2,304,458 | $187,975,534 | 0.70% | $51.26
2007 | 2,914,297 | $206,949,832 | 0.90% | $52.77
2008 | 1,541,086 | $134,692,211 | 0.40% | $68.04
2009 | 1,351,187 | $44,857,873 | 0.40% | $30.89
2010 | 1,756,344 | $85,406,714 | 0.55% | $35.74
2011 | 1,453,256 | $31,666,952 | 0.43% | $43.30
2012 | 1,002,761 | $25,945,816 | 0.31% | $26.60
2013 | -395,393 | -$17,061,127 | -0.12% | $31.71
2014 | 298,578 | $2,286,431 | 0.09% | $38.02
2015 | 240,091 | $1,441,929 | 0.07% | $24.80
2016 | 644,293 | $11,037,155 | 0.18% | $22.60
2017 | -452,775 | -$20,469,613 | -0.13% | $26.53
2018 | 657,974 | $7,209,457 | 0.17% | $32.28
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 7: Historical UFE Cost, MWH, and Average MCPE
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 8: Historical UFE as Percent of Load
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 9: 2018 Transmission Loss vs. UFE
May 2019 PWG Meeting
<number>
Notes: <number>

## Slide 10: 2019/2020 Transmission Losses (Actual & Forecasted)
May 2019 PWG Meeting
<number>

## Slide 11
<number>
Next PWG meeting date:
Friday, November 8th
9:30 am
WebEx only
AGENDA
Annual Validation Business Update
Discussion on BUSIDRRQ and daily settlement data – grey box language from NPRR 877
2019 Accomplishments/ 2020 Goals
Weather Sensitivity Report
http://www.ercot.com/committees/board/tac/cops/pwg/

## Slide 12
<number>