| Principle Number | 3 | Principle Title | Reliability Unit Commitment |
| --- | --- | --- | --- |
| Date Posted | May 31, 2019 |
| Executive Summary of the Issue | The Reliability Unit Commitment (RUC) process is designed to study forecasted conditions on the grid and determine whether there is sufficient Resource capability planned to be available to reliably meet those conditions in Real-Time. If there is not sufficient Resource capability planned to be available, RUC may recommend the commitment of additional Resources. With the implementation Real-Time Co-optimization (RTC) this objective remains the same. However, to better project Real-Time conditions on the grid and determine the potential need for Resource commitments, RUC will be modified to be consistent with how energy and Ancillary Services (AS) will be awarded in Real-Time. In the same way that there will be flexibility in Real-Time to move AS among qualified Resources, the RUC optimization engine will also look at moving AS among qualified Resources to meet the forecasted conditions on the grid to align with Real-Time and deliver more effective reliability solutions. |
| Principle Description | To facilitate this change to the Real-Time Market (RTM), Reliability Unit Commitment (RUC) will also be modified to co-optimize energy and Ancillary Services (AS). RUC will look at the Resources planned to be available to determine whether additional Resource commitments are needed to meet the load forecast and minimum AS requirements, as well as resolve transmission congestion. |
| RTCTF Discussion | Summary of Items Considered (Consensus / Non-Consensus): RUC Concept 1- RUC Concept 2- |
| TAC Action Requested | Request that TAC approve items listed. |
| TAC Action Summary | Record of vote and any supporting discussion. |
| ERCOT Opinion | ERCOT opinion |
| Board Action Requested |  |
| Board Action Summary |  |

Proposed Principle Langauge

# Principle Concepts for Voting

- RUC will have the same objectives as currently: to ensure there is enough capacity projected to be online in Real-Time, and in the right locations, to meet energy and AS needs, as well as resolve transmission constraints.  By allowing the RUC engine to decide on how to distribute AS across available Resources, co-optimization will give RUC additional flexibility to resolve transmission constraints in certain cases with the Resources already projected by the QSEs to be offering energy and AS.

- The RUC optimization will not use the Ancillary Service Demand Curves (ASDCs) that will be put into place for the RTM. Instead, RUC will attempt to solve for the AS Plan at a defined constant penalty value.    This is similar to the current implementation except the aggregate AS Plan capacity is currently contained within the Resources’ COPs.

- Modifications will be made to the existing set of data elements provided by Qualified Scheduling Entities (QSEs) in Resource Current Operating Plans (COPs) to accommodate the changes to the RUC optimization.

- Within the COPs, QSEs will have a mechanism through which to indicate the ability or inability of a Resource to provide AS (e.g., a Resource Status).

- The amount of AS that can be provided by a Resource will be validated against that Resource’s qualifications and capabilities.

- Proxy AS Offers will be used in RUC in determining a co-optimized solution that will meet the AS Plan.

- The RUC engine will consider OFFQS Resources that are qualified for ECRS as being able to provide ECRS.

- The RUC engine will consider OFF Resources that are qualified for Non-Spin when offline as being able to provide Non-Spin.

- The current process under which ERCOT Operators review recommendations from the RUC optimization and make commitment instruction decisions will remain in place.

# Previously Approved Principle Concepts

None

# Future Decision Points and Issues for Developing Principle Concepts

Functionality and Process Concepts

- Details on changes to COP or alternative source of Resource information

- Potential floors for AS Offers on Resources committed through the RUC process

- Process for determining the amount of individual AS products that can be provided by a Resource (e.g., consideration of Resource ramp rates)

Settlement Concepts

- Capacity short calculation and allocation of RUC make-whole

- Changes to RUC claw-back and make-whole

| Applicable Protocol Section to consider | 4.1 Example |
| --- | --- |
| Impacted System/Application Summary | ERCOT systems: Reliability Unit Commitment Market systems: Current Operating Plan |