## Slide 1
Resource Definition Task Force
Energy Storage Terminology Proposal
June 13, 2019

## Slide 2: Previously Proposed Energy Storage Definition
“Energy storage assets are capable of receiving electric
energy and storing it for later injection back into the
transmission or distribution system.”
It is acknowledged that, similar to the way different technologies are accommodated as Generation Resources, specific registration, qualification and requirements will be developed for the various technologies that would be registered as Energy Storage Resources by the appropriate working groups.

## Slide 3: Proposed Energy Storage Framework
Primarily Grid scale batteries providing A/S
Primarily Grid scale batteries not in A/S market
Primarily Residential/ Commercial Energy Storage “BTM”
**Service includes load reduction, 4CP response, exported energy, etc.

## Slide 4: Proposed Energy Storage Resource Definitions
Energy Storage Resource (ESR)
An Energy Storage asset capable of providing energy or Ancillary Service to the ERCOT System and is registered with ERCOT as an Energy Storage Resource (ESR).
Distribution Energy Storage Resource (DESR)
  An Energy Storage Resource (ESR) connected to the Distribution System that is either:
  (1) Greater than ten MW and not registered with the Public Utility Commission of Texas (PUCT) as a self-generator; or
  (2) Ten MW or less that chooses to register as an ESR to participate in the ERCOT markets.
Transmission Energy Storage Resource (TESR)
  An Energy Storage Resource (ERS) connected to the ERCOT transmission system that is either:
  (1) Greater than ten MW and not registered with the Public Utility Commission of Texas (PUCT) as a self-generator; or
  (2) Ten MW or less that chooses to register as a Generation Resource to participate in the ERCOT markets.

## Slide 5: Proposed Energy Storage Resource Definitions
Settlement Only Energy Storage (SOES)
An Energy Storage asset that is settled for imported/exported energy only, but may not participate in the Ancillary Service markets, Reliability Unit Commitment (RUC), Security-Constrained Economic Dispatch (SCED), or make energy offers. These units are comprised of:
Settlement Only Distribution Energy Storage (SODES)
  An Energy Storage asset that is connected to the Distribution System with a rating of:
  (1) One MW or less that chooses to register as an SODES; or
  (2) Greater than one and up to ten MW that is capable of providing a net export to the ERCOT System and does not register as a Distribution Energy Storage Resource (DESR).
Settlement Only Transmission Energy Storage (SOTES)
  An Energy Storage asset that is connected to the ERCOT transmission system with a rating of ten MW or less.
Settlement Only Transmission Self-Energy Storage (SOTSES)
  An Energy Storage asset that is connected to the ERCOT transmission system with a rating of one MW or more and does not export energy to the ERCOT System.

## Slide 6: Proposed “Unregistered Energy Storage” Definitions
Term “Unregistered” carried over from existing ERCOT protocol terminology for “Unregistered DG”
  Concerns have been raised that this implies that systems aren’t registered at all
  Systems *should* be registered with DSP.+
  Self Generators * should* be registered with the PUC.+
Proposed term is “Non-ERCOT Registered Systems”
  ERCOT registration not required for systems:
    Equal to or Less than 1 MW
    Greater than 1 MW but registered with the PUC as a Self Generator and does not export.
+ Not an ERCOT requirement

## Slide 7: Existing Generation Nomenclature – should be similar to Energy Storage
Transmission Generation Resource (TGR) Transmission-connected Registered with ERCOT as GR Participates in the market SCED A/S Modeled in ERCOT systems Telemetry, etc. I |  | Settlement Only Transmission Generator (SOTG) Transmission-connected less than 10 MW Registered with ERCOT as SOG Settled for exported energy only Intermittent sources will typically export based on fuel availability. Self-dispatched may choose to export based on prices Modeled in ERCOT systems Reliability systems only Not scheduled/dispatchable II | Settlement Only Transmission Self-Generator (TSG) Transmission-connected Registered with PUC as a Self-Generator and registered with ERCOT as SOG May occasionally export, but does not generate with the intent to sell at wholesale If it exports, then settled for exported energy only Continuous exports will be re-evaluated for TGR Modeled in ERCOT systems Reliability systems only Not scheduled/dispatchable III |  | 
Distribution Generation Resource (DGR) Distribution connected Registered with ERCOT as GR >10 MW require to register as GR Participates in the market SCED A/S Pseudo-Modeled in ERCOT systems Future--Modeling light? Telemetry, etc. IV |  | Settlement Only Distribution Generator (SODG) Distribution connected but less than 10 MW Registered with ERCOT as SOG Settled for exported energy only Intermittent sources will typically export based on fuel availability. Self-dispatched may choose to export based on prices Mapped in ERCOT systems Not scheduled/dispatchable Telemetry not required V | Unregistered Distribution Self-Generator (UDSG) Distributed generation greater than 1 MW co-located with larger load, but smaller than minimum facility load. Registered with PUC as a Self-Generator but not registered with ERCOT May not export—otherwise must register with ERCOT as SODG. Neither Mapped nor modeled in ERCOT systems (future mapping?) VI | Unregistered Distributed Generator (UDG) Distribution connected less than 1 MW No requirement for registration Reported by DSP per PUCT 25.211(n) (competitive choice) Reported by NOIEs per ERCOT protocol 10.2.2.1.b(ii) for 50kW -1 MW Not reported by NOIEs for <50kW Neither Mapped nor modeled in ERCOT systems ERCOT settles as negative load in competitive choice areas once meter configuration updated to DG . VII |