| NPRR Number | 918 | NPRR Title | Validation for PTP Obligations with Links to an Option |
| --- | --- | --- | --- |
| Date |  | April 23, 2019 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bill Barnes |  |
| E-mail Address |  | bill.barnes@nrg.com |  |
| Company |  | Reliant Energy Retail Services LLC (Reliant Energy) |  |
| Phone Number |  | 512-691-6137 |  |
| Cell Number |  | 315-885-5925 |  |
| Market Segment |  | Independent Retail Electric Provider |  |

Comments

Reliant Energy appreciates the detail added by ERCOT in their 4/19/19 comments to specify a process for validating Non-Opt-in Entity (NOIE) Load Forecasts used to determine eligible MW quantities of Point-to-Point (PTP) Obligations with Links to Options.  Reliant Energy believes the validation process proposed by ERCOT is fair and reasonable.  Using the most recent ERCOT Load Forecast and Load Ratio Share (LRS) data will accommodate changes in seasonal trends and load patterns that gave NOIEs concern during stakeholder discussion.

The comments below include a minor language clarification in the grey-boxed portion of Section 4.4.6., PTP Obligation Bid Criteria, paragraph (5)(a) to align with the intent of the language.  The comments also update the Nodal Protocol Revision Request (NPRR) title, Revision Description, and Business Case to reflect the updated purpose of the NPRR.

Revised Cover Page Language

| NPRR Number | 918 | NPRR Title | Validation for PTP Obligations with Links to an Option |
| --- | --- | --- | --- |
| Date Posted |  | January 11, 2019 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 4.4.6.1, PTP Obligation Bid Criteria |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) contains clarifications and validation rules regarding the Non-Opt-In Entity (NOIE) Load forecast related to the submission of Point-to-Point (PTP) Obligations with Links to an Option: - NOIE peak Load forecast is a required field for PTP Obligations with Links to an Option. - NOIE peak and hourly Load forecasts are referring to the Operating Day in question. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | NPRR322, Real-Time PTP Option Modeling, inadvertently removed the requirement to submit a NOIE peak Load forecast from Section 4.4.6.1. It always has been and remains a required field for successfully submitting a PTP Obligation with Links to an Option in the market system, and has consistently been referred to as such in the Market Submission Validation Rules document on the Market Information System (MIS). Also, the current Protocols are silent as to what forecast is being referred to when the PTP Obligation with Links to an Option’s limits are expressed as percentages of NOIE Load forecasts. This NPRR clarifies that the forecasts should be for the Operating Day for which the PTP Obligation with Links to an Option is submitted and provides guidance on how validation will be performed. |  |

Revised Proposed Protocol Language

4.4.6.1	PTP Obligation Bid Criteria

(1)	A PTP Obligation bid must be submitted by a QSE and must include the following:

(a)	The name of the QSE submitting the PTP Obligation bid;

(b)	The source Settlement Point and the sink Settlement Point for the PTP Obligation or block of PTP Obligations being bid;

(c)	NOIE peak Load forecast for the Operating Day, if the PTP Obligation bid is a PTP Obligation with Links to an Option.

(d)	The first hour and the last hour for which the PTP Obligation or block of PTP Obligations is being bid;

(e)	The quantity of PTP Obligations in MW for which the Not-to-Exceed Price is effective; and

(f)	A dollars per MW per hour for the Not-to-Exceed Price.

(2)	If the PTP Obligation bid is for more than one PTP Obligation (which is one MW for one hour), the block bid must:

(a) 	Include the same number of PTP Obligations in each hour of the block;

(b) 	Be for PTP Obligations that have the same source and sink Settlement Points; and

(c) 	Be for contiguous hours.

(3)	A PTP Obligation bid shall not contain a source Settlement Point and a sink Settlement Point that are Electrically Similar Settlement Points.

(4)	PTP Obligation bids shall not be submitted in combination with PTP Obligation bids or with DAM Energy-Only Offer Curves and DAM Energy Bids to create the net effect of a single PTP Obligation bid containing a source Settlement Point and a sink Settlement Point that are Electrically Similar Settlement Points for the QSE or for any combination of QSEs within the same Counter-Party.

(5)	For each NOIE or QSE representing NOIEs that designated PTP Obligations with Links to an Option, the total of each hourly MW quantity designated to be settled in Real-Time as a PTP Option may not exceed the lesser of:

(a)	110% of that NOIE’s peak Load forecast for the Operating Day; or

(b)	125% of the NOIE’s hourly Load forecast for the Operating Day.

[NPRR918: Replace paragraph (5) above with the following upon system implementation:] (5) For each QSE representing NOIEs that designated PTP Obligations with Links to an Option, the total of each hourly MW quantity designated to be settled in Real-Time as a PTP Option may not exceed the lesser of: (a) 110% of the total peak Load forecast for all NOIEs represented by the QSE for the Operating Day, as validated by ERCOT based on the peak hour in the Seven-Day Load Forecast, as defined in Section 3.12, Load Forecasting, as of 0700 in the Day-Ahead, the Load Serving Entity (LSE) Load Ratio Shares (LRSs) from RTM data used for Initial Settlement for the same hour and day of the week for the most recent day for which Initial Settlement data is available, and the QSE to LSE relationships for the Operating Day; or (b) 125% of the total hourly Load forecast for all NOIEs represented by the QSE for the Operating Day, as validated by ERCOT based on the hourly Seven-Day Load Forecast as of 0700 in the Day-Ahead, the LSE LRSs from the RTM data used for Initial Settlement for the same hour and day of the week for the most recent day for which Initial Settlement data is available, and the QSE to LSE relationships for the Operating Day.

(6)	PTP Obligations with Links to an Option shall be used for delivery of energy to a NOIE Load or a valid combination of Settlement Points that physically or contractually mitigates risk in supplying the NOIE Load.  This applies to each NOIE or QSE representing NOIEs.

(7)	In addition to the criteria above for other PTP Obligations, PTP Obligations with Links to an Option must further include the following:

(a)	The name of the CRR Account Holder that owns the CRRs being offered; and

(b)	The unique identifier for each CRR being offered.

(8)	For PTP Obligations with Links to an Option, the CRR Account Holder for whom the PTP Obligations with Links to an Option are being submitted must be shown in the ERCOT CRR registration system as the owner of the CRRs being linked to the PTP Obligation.

(9)	The minimum amount for each PTP Obligation bid and PTP Obligation with Links to an Option is one-tenth of one MW.