## Slide 1: CONE Methodology
  Screen for candidate reference technologies
      Reliably able to help meet system load when supply is scarce
      Cost effective as a part of the long-term market equilibrium
  Develop detailed specification of reference plants for ERCOT market
      Primarily rely on “revealed preference” of recently developed and proposed plants
      Review environmental regulations, fuel supply options, etc.
  Estimate costs to build and operate the specified reference plants
      Plant proper capital costs (equipment, materials, labor, EPC contracting costs)
      Owner capital costs (interconnection, startup, land, inventories, financing fees)
      Fixed O&M (labor, materials, property tax, insurance, asset management, working capital)
  Develop ERCOT-specific financial assumptions used to translate costs into CONE
      Identify sample of representative companies and estimate their cost of capital
      Consider additional reference points and qualitative risk adjustments
      Select appropriate discount rate for merchant generation
  Compute CONE for ERCOT market
      Translate costs into the net revenues a plant would need in its first year to earn an adequate return on capital and be willing to enter
      Considers likely trajectory of future revenues, tax rates, and depreciation