## Slide 1
DSWG Meeting – ERCOT Update
ERCOT Staff
June 21, 2019

## Slide 2
Load Resource Framework
Work product from the Resource Definition Task Force (RTF)
Three types of Load Resources
  Controllable Load Resource
  Rapid Response Load Resource
  Basic Load Resource
NPRR, NOGRR, and other documents should be ready for review at next RTF meeting. Docs to be filed for subsequent PRS consideration

## Slide 3: NPRR 939 Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions
NPRR to allow ERCOT to create more than 2 deployment stacks for Load Resources providing RRS with under frequency relays (“non-controllable load resources)
Currently load resources can provide up to 1790 MWs of the responsive reserve service capacity
Only having the ability to manually deploy in 2 stacks could be problematic under certain conditions

## Slide 4
Upcoming Changes for Oct19 – Jan20 SCT

## Slide 5: Upcoming Changes for Oct19 – Jan20 SCT
New Holiday MLK day effective Oct19-Jan20 SCT
  January 20, 2020
New Submissions forms which reflect the new time-periods – version 19.1
  ERID submissions
  Offers
  Substitutions

## Slide 6: ERS Contract Period Changes
Time Period | Time Period Hours
Time Period 1* | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Monday through Friday except ERCOT Holidays.
Time Period 2* | Hours Ending 1000 - 1300 (9:00:00 a.m. to 1:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 3* | Hours Ending 1400 - 1600 (1:00:00 p.m. to 4:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 4* | Hours Ending 1700 - 1900 (4:00:00 p.m. to 7:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 5* | Hours Ending 2000 - 2200 (7:00:00 p.m. to 10:00:00 p.m.) Monday through Friday except ERCOT Holidays.
Time Period 6* | Hours Ending 0600 - 0900 (5:00:00 a.m. to 9:00:00 a.m.) Weekend and ERCOT Holidays.
Time Period 7* | Hours Ending 1600 - 2100 (3:00:00 p.m. to 9:00:00 p.m.) Weekend and ERCOT Holidays.
Time Period 8* | All other hours
Note: To take effect for the October 2019 – January 2020 SCT

## Slide 7: TRSOW
To avoid conflicting language between Protocols and the TRSOW, ERCOT is removing language from the TRSOW that is the same or similar in Protocols
To remove language from the TRSOW that is also in another existing document ;
  ERS Submission Form Instructions
  Unavailability Submission Form Instructions
  Demand Response Baseline Methodologies
  Preliminary Baseline Review Document