## Slide 1
Resource Integration Workshop
Resource Integration Topics
ERCOT
Jay Teixeira
June 20, 2019

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.9
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.9, Quarterly Stability Assessment
Issue’s seen in the QSA that had May 1, 2018 deadline
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic data validation
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline

## Slide 4: Resource Integration and Ongoing Operations – Interconnection Services (RIOO-IS) – Email Notifications
Next Release – May - June, 2019
Email to external entities should be fixed
Payment Card Industry Data Security Standard (PCIDSS)
Monthly Testing – June 21, 2019
Due to payment system
Half day to whole day outage starting at 10:00 a.m.
28 day cycle except Jan and Oct (3 week)
2019 and 2010 release calendar

## Slide 5: Resource Integration and Ongoing Operations – Interconnection Services (RIOO-IS) – FIS Requests
Issue: IEs try to change MW amount at the same time as FIS Request – resulting in mismatch in FIS fee as MW change not approved yet
Proposed Solution
Do not include any other change in FIS Request change request
Make MW change request prior to FIS Request
New INR needed if MW change after FIS Request

## Slide 6: Dynamic Case Dispatch in PG 5.4.5 (2) Comment from 5/23 WS not able to set all units to full net output
(2) If the TSP(s) in charge of these stability studies decides not to conduct the studies, the TSP(s) must provide a written justification in lieu of the study report. When performing such studies, all existing or publicly committed Generation Resource in the area of the study will normally be represented at full net output if possible, although some Combined Cycle Generation Resources or coal plants might be modeled at full gross output (including auxiliary load). Any resulting increase in generation will be balanced as addressed in the FIS scope agreement.

## Slide 7: FIS Studies - Running N-1-1 on Summer Peak Case
Comment from TSP: Should TSP’s run N-1-1 contingencies on summer peak cases since outages are not planned on these cases.
TPL-001-4 – R1.1.2 – Model Known outages(s) of generation or Transmission Facilities with duration of at least six months
TPL-001-4 – R2.1.3 – Assess outages modeled under System peak or Off-Peak condition when known outages are scheduled
ERCOT Opinion – FIS studies should include NERC P1-P7 contingencies in the study area. If not included, include an explanation in report.

## Slide 8: Active PGRR’s
PGRR062 - Updates to Generation Interconnection or Change Request (GINR) Process – Implemented
PGRR066 - Interconnection Request Cancellation and Creation of Inactive Status – BOD approved December 11, 2018. Will not be implemented in RIOO-IS until completion of RIOO-RS project. ERCOT working on manual process for the interim.
  Possible temporary fix in place by 8/1/2019 to allow limited implementation of greyboxed PG 5.7.6.

## Slide 9: Active NPRR’s
NPRR926 - Removal of 90-Day Period Between SSR Study Approval and Synchronization – Board Approved June 11, 2019. Effective July 1, 2019.

## Slide 10: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department

## Slide 11: Questions?
Thank you!