## Slide 1
Review of Commercial Impacts of DC Tie Curtailments in April 2019
CMWG
June 24, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – April 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
04/08/2019 | DC-R | HE15 | 1 | XNED258, loss of N Edinburg 345/138 kV transformer overloads RIOHONDO – MV_BURNS 138kV | Local Congestion
04/09/2019 | DC-R | HE21-22 | 5 | XNED258, loss of N Edinburg 345/138 kV transformer overloads RIOHONDO – MV_BURNS 138kV | Local Congestion

## Slide 3: 4/8/2019 Curtailment of DC-R
Chart: DC Tie Export (MW)
XNED258:BURNS_RIOHONDO_1 Shadow Price | 1430.7554 | 3500 | 3500 | 1242.4923 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 2082.2212 | 3500 | 3500 | 0

## Slide 4: 4/8/2019 LMPs Related to DC-R Curtailment
Chart: Price ($/MWh)

## Slide 5: 4/9/2019 Curtailment of DC-R
Chart: DC Tie Export (MW)

## Slide 6: 4/9/2019 LMPs Related to DC-R Curtailment
Chart: Price ($/MWh)