## Slide 1
Review of Commercial Impacts of DC Tie Curtailments in March 2019
CMWG
June 24, 2019
Market Analysis

## Slide 2: DC Tie Tag Curtailments – March 2019
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
03/13/2019 | DC-R | HE18 | 1 | XNED258, loss of N Edinburg 345/138 kV transformer #2 overloads N Edinburg 345/138 kV transformer #1 | Local Congestion
03/14/2019 | DC-L | HE13 | 1 | Unknown reason | DC Tie Forced Outage

## Slide 3: 3/13/2019 Curtailment of DC-R
Chart: DC Tie Export (MW)

## Slide 4: 3/13/2019 LMPs Related to DC-R Curtailment
Chart: Price ($/MWh)