## Slide 1: Congestion Management Working Group
June 24, 2019 Meeting

## Slide 2: CRR Account Holder Limits
NPRR936 CRR Account Holder Limits (possible vote)
Changes the Congestion Revenue Right (CRR) Auction transaction limit to the Counter-Party level, rather than that of the CRR Account Holder
Discussed at CMWG – ERCOT says it may be trickier to figure out limits for heavier users
Not coming back to CMWG
Luminant Comments filed since the meeting

## Slide 3: Create Lower Rio Grande Valley Hub
NPRR941 Create a Lower Rio Grande Valley Hub
Discussion around limitation that you can only have a hub bus in one hub
Should systems change or should the NPRR change to include fewer points in the Hub definition?
Will be back at CMWG to revisit the issue

## Slide 4: DC Tie Congestion Mitigation Plan
Discussion relating to curtailment of DC Ties and treatment of DC Ties as equivalent load to ERCOT “native” load
ERCOT’s position:
  ERCOT retail load and DC Tie Exports are not equivalent
  A CMP to accommodate DC Tie Exports will not be approved if the CMP increases the risk of interruption of ERCOT retail load (e.g., a Mitigation Plan to curtail DC Tie Exports post-contingency when ERCOT retail load may also be affected)
  There may be circumstances where an acceptable CMP can be developed to mitigate the need to curtail DC Tie Exports (e.g., a RAP)
Next step is for ERCOT to compile ROS reports on frequency of and reason for curtailments of DC Tie Exports

## Slide 5: CREZ Outages
AEP/ETT provided an update on the CREZ outages
They will present here at WMS
Updates can be found at the following website: http://ettexas.com/Regulatory and go to Nondiscriminatory Access to Products and Services