## Slide 1
Resource Cost Working Group
July 10, 2019
WMS Update
1

## Slide 2: Auxiliary Equipment Power Costs Allocation
<number>
Background
Some Generators currently operate auxiliary equipment utilizing power from third service providers and want to recover the costs of electricity as a variable cost in verifiable costs (VC).
The VC Manual states that Heat Rates should be based on Net Output, implying that auxiliary power is supplied by the plant generator.
VC Manual also states that auxiliary equipment power consumption costs may be recovered with VC, but unclear if this applies to all aux equipment.
The discussions at RCWG centered around including power costs as a variable cost in O&M.
VCMRR024, Allocation of Auxiliary Power Equipment Power Costs in Variable O&M will be on the August 7, 2019 WMS agenda.