## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
July 10, 2019
From June 24 WMWG Meeting

## Slide 2: May 30th Market Pricing Event
WMWG reviewed the event and the causes
Presentation given that expressed the level of seriousness that should be given
  Stated that markets were impacted
  The telemetry issues at the root of the issue occur frequently
  Proposed high level market redesigns
Resource Limit Calculator Logic presented by ERCOT
ERCOT action items
  Determine changes required in the Resource Limit Calculator Logic
  Provide responses to the issues raised in the presentation
  Determine other methods of improving telemetry standards and enforcement

## Slide 3: ERCOT Outage Capacity Reports
Market participants questioned differences in the various reports and displays that include resource outages
ERCOT presented on the 4 different places to either monitor or derive outaged capacity
  Data is sourced from either the Outage Schedule, COP or telemetry
  Derated capacity and some QSE’s telemeter an HSL of zero for resources on outage
ERCOT to review if changes should be made
  Further explanation for inclusion of certain capacity in each report
  Possibly clarification on what HSL should be telemetered for resources on outage
No other recommendations from WMWG

## Slide 4: Review of Protocols in relation to use of "Emergency Condition"
List of protocol references to Emergency Condition presented
Scope of request clarified
ERCOT to review and provide feedback
  Start with section 6.5.9
  Also EEA
WMWG to take up again after the summer

## Slide 5: Market Suspension and Restart – Gaps and other issues that NPRR 850 did not address
ERCOT presentation on Long SCED intervals
  NPRR696 was approved in September 2016, which requires ERCOT holds prices from last good SCED run prior to a failure for 15-minute after the SCED.
  The average duration of long SCED intervals has decreased over the last few years
WMWG requests ERCOT to select a couple of the events for deeper review
  What prices should be used after the 15 minutes is up?
  Other potential changes

## Slide 6: Next meeting
Other business – ERCOT ready to review the Locational Price Adder
  To be on the next CMWG agenda
WMWG meets July 22nd
  Mitigated Offer Caps for Reliability Unit Commitment
  Review ERCOT action items
Any questions?