## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
July 11th, 2019

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    1 FME in the month of May
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 6/12/19
  NPRR 919 / NOGRR 184 - Exemption from Governor PFR Control for Certain Resources in PUNs
  Southern Cross DC Tie, Directive #3 – DC Tie Ramping, ERCOT data collection review
  Establishing generator bid/offer limits for RRS under NPRR 863 – Updated outline from ERCOT
  Resetting BAL-001-TRE-1, R9 / R10 Rolling Averages – Discussion of process for approval, based on section C.2 (p.7) of the regional Standard
  Regulation & Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in May
  5/18/2019 15:24:54
    Loss of 729 MW
    Interconnection Frequency Response: 1,204 MW/0.1 Hz
    13 of 54 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    12 of 54 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 949.35 MW/0.1Hz
Frequency Response Obligation (FRO): 381 MW/0.1 Hz

## Slide 7: Frequency Control Report
May 2019

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?